## UKPN
Question No. | Date | Criteria (if relevant) | Sub-criteria (if relevant) | Submission Section | Question | Answer (please type here for short response or reference to a Q&A template word document (limit of 600 words) | Where possible, please can you link your answer to the relevant part(s) of your submission.
UKPN-01 | 2016-04-07 | Understanding of Losses | Demonstrating understanding | 1 | Is the network-wide model for UKPN network only or are process steps being considered to enable it to be applied to the wider network? | The network modelling tool will provide a holistic view of UK Power Networks' three licence areas. We anticipate using the model initially to further assess each of the technical loss activities that are detailed in our losses strategy. This will provide a greater understanding of exactly where on the network our opportunistic activities detailed in the losses strategy can be applied for maximum impact. Learning from this stage of the model’s development will help us to understand specific types of networks that benefit most from each of our loss reduction activities. These lessons will be shared with other network operators. Having established this understanding of our existing network we then propose to develop the model further to understand how the anticipated future network usage will impact losses. These changes reflect the transition from DNO to DSO and will capture the increasing use of Low Carbon Technologies (LCT) and the corresponding changes in load profiles and energy usage. Through increased use of embedded generation, ground source heat pumps, electric vehicle charging, and similar, we expect to see load profiles change considerably from typical historical profiles. This enhanced understanding will assist us to identify which innovative solutions are best utilised to manage losses in the DSO environment and, based on this, will help us to quickly prioritise our future areas of focus. Within the work proposed in our tranche 1 scope we don’t intend to develop the model to consider a holistic view of the GB network. However, there is no reason that this can't be done at a later stage if the benefits realised justify that level of development. This would require collaboration with our stakeholders and we expect that they would want to see the realised benefits from the tranche 1-work before committing to a GB holistic model. (298 words) | Where appropriate we have provided the cross references in the answer to thw question | Status
UKPN-02 | 2016-04-07 | Understanding of Losses | Demonstrating understanding | 1 | Is the model already part of the losses strategy? How does it shift expectations of what the DNO is capable of doing to reduce losses? Where possible, please can you link this to the relevant part(s) of your submission. | UK Power Networks’ losses strategy is based on an opportunistic approach; that is, to realise improvements in network losses through the existing programmes of work that we intend delivering through our RIIO-ED1 allowances. The advantage of an opportunistic approach is that it is a cost effective method to improve losses as the work is already proposed; for this reason, no further funding related to losses was sought in our RIIO-ED1 submission. Taking an opportunistic approach results in the location of the work being determined by the work programme that it relates to rather than where network losses are more prevalent. Our losses strategy contains a comprehensive approach to activities that reduce losses. It highlights the activities that we will undertake through our opportunistic approach but doesn’t suggest where on the network these activities will take place. The concept of modelling our networks holistically was not included within the strategy document and we expect this activity will enhance the proposals within our strategy significantly. By developing a holistic view of our network, and establishing a better understanding of which network types are susceptible to particular types of network losses, we expect to improve our ability to manage those losses. By aligning that understanding with our proposed work programmes we anticipate our revised approach will deliver enhanced benefits to those achieved simply through an opportunistic approach. As a result of this work we may reorder the sequence of work programmes to focus on areas of network that realise maximum reductions of losses first. We may also reprioritise work programmes given that the losses reductions achieved can be valued financially; this shift in value may also justify an alternative programme of work to that previously proposed. In section 4 of our LDR submission we outline proposals with our partners at the Power Network Development Centre (PNDC). This work will highlight which technologies are best suited to tackling a particular type of network loss, such as network imbalance, relative to our network topologies. By combining our work to identify the optimal technology types with the outputs of our holistic model we anticipate optimising not only the areas of network where we tackle losses but also the technologies that we implement to do so. (369 words) | Where appropriate we have provided the cross references in the answer to thw question | Awaiting response
UKPN-03 | 2016-04-07 | Understanding of Losses | Demonstrating understanding | 1 | In UKPN's KASM project, how will the algorithm within the system software provide the data needed to improve understanding of losses (including how network configuration and associated power flows affect losses). How is this process different to those processes already funded under the LCNF? | The KASM project has been established to understand how to maximise utilisation of existing assets and release network capacity that is latent due to the variability of distributed generation. KASM offers what we consider to be a unique opportunity to observe the interactions of a number of stakeholders. Through the KASM project the network will be configured to optimise load flows based on near real-time information taken from the networks of UK Power Networks, National Grid, DC Interconnectors to mainland Europe and a number of our generators. The activities detailed in the LDR differ to the KASM activities as they intend to utilise this holistic view to better understand how the interactions of a number of stakeholders affect network losses. From this, key lesson learnt will be tested, modelled at lower voltages and shared with our stakeholders where appropriate. These activities are outside the scope of the KASM project and can’t be calculated without the algorithm proposed in the LDR. The proposed algorithm will calculate network losses, in near real-time, by utilising the load flow information taken from KASM in conjunction with the network impedance information stored in the control systems. The availability of this level of detail related to network losses will provide us with insight that hasn’t been available previously. We expect to gain an understanding of how this innovative use of the network will impact losses which, in turn, will help us to consider the management of losses as we develop our networks in the transition from Distribution Network Operator to Distribution System Operator. Data from the KASM software will be stored and subsequently used to provide an indication of: - Network configuration at the time of measurement - Generation export levels - Network power flows in the networks of National Grid, UK Power Networks and the DC interconnectors - Network losses in all assets at the monitored voltage levels Analysis of this data will enable key lessons to be developed which can be further validated through implementation in our holistic network modelling tool. Further to this, lessons learnt will be based on actual network data; rather than assumed values that losses calculations so often are. The assessment of this data will also enable us to refine some of the assumed values that are used in those losses calculations which should improve the accuracy of calculations where assumed values have to be used. Learning points that we intend to develop include: - How different network configurations affect network losses - How activities on the EHV network of UK Power Networks affect losses on National Grid’s networks - The optimal balance of matching local generation to load - How future use of network may affect losses, and hence, how use of network can be developed with management of losses as a key focus (465 words) | Where appropriate we have provided the cross references in the answer to thw question | Response received
UKPN-04 | 2016-04-07 | Understanding of Losses | Consider network in holistic manner | appendix 2.1 | (i) What role has UKPN played in the interconnected networks best practice principles process with respect to losses management? (ii)At what stage in the process are UKPN now? (iii) How will this engagement lead to DNOs considering the network in a holistic manner and making efforts to have a better understanding of how losses on their network affect others? | (i) UK Power Networks have actively participated in establishing the scope of the activities that we expect may play a part in interconnected network loss reduction activities. These activities include: - Identification of convenience customers which, from a losses perspective, are inefficiently connected - Identification of normal open point locations that are determined based on DNO boundaries rather than optimal network configuration - A review of shared sites where enhanced visibility of the neighbour’s circuits with the aim of improving overall site efficiency - Visibility of each other’s best practice and design policies to help aid improved network efficiency Through a review of our systems and records we have identified where suitable boundaries exist and the extent of the opportunities that may exist at each. Through discussion with SSEPD we agreed how the initial scope should be altered based on knowledge gained to that stage. The next step will be to meet to agree the activities that we intend to investigate, to share the required data and to complete subsequent network studies. (ii) The process is in its relative infancy and the concepts initially highlighted now need to be proven and validated. We expect the analysis to conclude in 2016 subject to all relevant data being available. (iii) Each of the activities defined in the revised scope will be investigated to determine whether economic improvements in losses can realistically be made. Where benefits are proven these will be documented and shared with other DNOs. An example of a proposed activity is the case of a ‘convenience customer’. In such an instance a customer may be supplied from a DNO network remote to their geographic location. As a result network losses in the circuit that connects them to that DNO will be higher than if they connected to the DNO supplying their local geographic area. The exercise would involve identifying a local PoC on the second DNO’s network, calculating the difference in network losses by transferring their POC to the second DNO and determining the costs associated in doing so. Through CBA it will be possible to determine whether this work is economically justified. Further investigation should identify the number of such opportunities that exist for each of the neighbouring DNOs. (370 words) | Where appropriate we have provided the cross references in the answer to thw question | Closed
UKPN-05 | 2016-04-14 | Effective engagement and sharing of best practice with stakeholders on losses |  |  | Do you plan to collaborate with other DNOs to initiate projects/work together to achieve the best outcome and to ensure best practice? Why is this collaboration beyond business as usual processes? | Through the outputs of the holistic network model and the key learning points of the KASM project UK Power Networks will populate an assessment framework which will describe a methodology to calculate network losses. This framework will be revised as the outputs of further activities undertaken through both our LDR and Losses Strategy become known. The aim of this framework is to develop a consistent, and transferrable, method of calculating network losses. We anticipate that this will enable DNOs to compare the benefits of a range of solutions; more accurately assessing their potential benefits before implementing them on the network. The framework will also enable DNOs to benchmark their activities with those of other DNOs; both nationally and internationally. Once developed our intention is to share the framework with other DNOs, via the ENA Losses working group, to enable the continued validation and refinement of the values and assumptions contained within it. We expect that this collaborative approach will not only help to accelerate the development of the framework, but also to improve the accuracy and completeness of it. Input from a multitude of DNOs will also ensure that it is suitable for use on a wider range of network types than could be achieved by UK Power Networks in isolation. We believe that this approach is above and beyond business as usual practice as it will allow the development of the framework to ultimately consider DNO’s networks in a holistic manner. It will provide DNOs with an opportunity to develop a consistent approach to, and understanding of, losses and by working together we believe will accelerate the understanding gained of managing British network losses. | Our approach (Page 3), first statement regarding Understanding Losses describes this approach - Identify source and volume of losses. In order to provide best value for money we must first understand the source and volume of losses, before choosing and prioritising loss management solutions. To build this understanding we will expand our capability to model solutions and their impact on our network. This will align with our standard method to assess and quantify losses and we will consult with other DNOs on the development of this assessment framework to ensure that it is suitable for wider adoption.
UKPN-06 | 2016-04-14 | Effective engagement and sharing of best practice with stakeholders on losses |  | 2 | It has been noted that UKPN intend to be part of working group through the ENA. What outcomes do you hope to achieve from being part of this group? How will it push your work forward on losses? | Through the collaborative approach that a working group encourages we expect to see more consistency in how network losses are measured, calculated and reported. We anticipate that through sharing knowledge and best practice the group will be able to accelerate the understanding that DNOs have of losses in comparison to the speed that progress would otherwise be made working in isolation. As detailed in our answer above we intend to circulate learning from our work related to the development of a standard losses framework at the group and expect the benefits of this to be twofold. Firstly, we expect that the results will be more accurate with input from a working group than would be the case if we worked in isolation. Secondly, we expect that all group members will benefit from the work that we're proposing as it will encourage discussion, shared visibility of approaches taken to network losses and a common platform that promotes consistency in assessment and calculation of network losses. Further to this we intend utilising the working group to discuss all relevant concepts related to the understanding and management of losses that we develop where we feel that: - Such discussions would benefit the wider group, and - Where discussion is likely to enhance the subject in which learning is being undertaken
UKPN-07 | 2016-04-14 | Effective engagement and sharing of best practice with stakeholders on losses |  | 2 | UKPN have stated that they have organised large events to disseminate the learning from the LCNF projects. How does UKPN intend to use the results of this going forward, and drive your work forward on losses ? What stakeholder engagement actions are already required under the LCNF framework? | UK Power Networks have extensive experience in delivering engagement events. Through our flagship LCNF projects (Low Carbon London, Flexible Plug and Play, Smarter Network Storage), we have delivered a series of full day learning sessions (approx. 100 participants per session) to a wide audience of interested parties ranging from customers to manufacturers, government and the regulator. We have also used other engagement methods such as focus groups, surveys and consultations to gain stakeholder's views and input. Finally, UK Power Networks hold regular fora with our customers where specific interest topics are discussed. We analyse the feedback we receive from events and continuously improve them. For example, in December 2015 we ran a topic specific workshop on storage connections with 40 storage customers and developers which split the time between dissemination of information and discussion round tables. As these have been proven effective we plan to use similar engagement methods in order to raise awareness around losses, inform the LDR work and present results.
UKPN-08 | 2016-04-14 | Effective engagement and sharing of best practice with stakeholders on losses |  | 2 | UKPN have said they will include a specific area on their website. Why do you consider that this is above and beyond business as usual processes? How do you see this shifting expectations of what you are capable of doing to reduce losses? | UK Power Networks’ ambition is to develop comprehensive communication channels with our stakeholders in relation to network losses. In order to do this we started by considering the outputs that we anticipate the losses working group will achieve and have subsequently tried to identify gaps in those benefits offered. One potential limitation of the working group is that it is predominantly DNO-focussed, and hence, has a bias to that stakeholder base. The activities listed in our LDR submission attempt to close these gaps and our proposal related to an interactive webpage represents one such activity. Our proposal is to develop a comprehensive webpage that will tie the subject of network losses together for all of our stakeholders who have an interest in the subject. Starting with the concepts contained in the losses strategy we intend to develop an interactive section that describes these concepts to an audience who may not be technical in nature. As the underlying topics relate to fairly basic engineering principles these interactive demonstrations may, as an example, be useful in developing an understanding of the principals of electricity distribution as well as the associated network losses. Developing this understanding in an audience who are interested in network losses but don’t fully understand the principles behind them may then allow them to develop an angle to the problem that we otherwise wouldn’t have considered. The webpage will also have a repository which will enable us to publish our material related to network losses in a single location. Whilst this will hold material such as our losses strategy and LDR documentation it will also enable us to publish updates outside of the timescales associated with these documents. Updates will be published more quickly than we’re currently able to and, if we’re able to establish a base of regular users, to an audience who will anticipate regular updates from the site. Given that we intend to engage a wide audience through a variety of media we wanted to ensure that these communications were available to all stakeholders. Therefore, by providing visibility of all activities that we undertake, and the corresponding dialogues that we engage in, we expect that this will be useful to all parties whilst potentially promoting further discussion. Developing this concept further, and given that we intend to reach out to an international audience on the subject of losses, we intend to develop a forum within the losses webpage that will enable our stakeholders to discuss losses between each other. We anticipate that this unmoderated dialogue may identify topics of interest that may not be highlighted in a more structured event; typically organised to discuss a set agenda. Whilst the exact nature and extent of the webpage isn’t yet finalised, as we expect it to evolve as further understanding is gained, we believe that this approach is beyond what could be considered as business as usual activities. Through this approach we expect to achieve comprehensive stakeholder engagement on an international scale with parties that may never previously have been consulted on network losses.
UKPN-09 | 2016-04-21 | Processes to manage losses | Have companies looked at best practice, both nationally and internationally, when considering processes and methods to manage losses on their networks? | 3 | What processes do you have (or expect to have) in place to ensure best practice in relation to losses management is continuously considered and incorporated? | "To date, UK Power Networks’ main focus in relation to network losses has been to develop and begin the implementation of our losses strategy. This implementation has established processes that previously didn’t exist. For example, in order to calculate the benefits realised through our secondary transformer work programmes, we need to understand which assets have been installed and which assets have been replaced. This data has always been available but a process to compare the two hasn’t. By establishing this visibility we are now able to more accurately estimate the transformer loss improvements that we report through RIGs. As our knowledge increases our intention is to further refine these processes to allow us to more accurately estimate these associated losses values. We also intend to develop processes for each of the areas of focus of our losses strategy. We expect that this approach will enable us to: - More accurately target where we implement activities related to network losses - More accurately estimate the impact that the work we undertake has on network losses We also expect to make significant progress through sharing of best practice. Work has already begun following the inaugural meeting of the losses working group and dialogue related to each DNO’s practices has been started. We expect that the losses working group, and other proposed stakeholder engagement, will help us to identify processes that enable us to optimally manage network losses. Through the International Utilities Working Group (IUWG) we have already looked to the international community to understand how the approach taken through our losses strategy benchmarks to the efforts being undertaken by these key international stakeholders. Where stakeholders have estimated that their network losses are significantly different to those on the British networks we are particularly keen to understand why these differences exist and will liaise with these parties to explore these differences. This dialogue will include consideration of the processes that each party undertakes to manage their network losses. We anticipate that this dialogue will enable us to identify any alternative approaches that may realise benefits that haven’t yet been considered within Britain. We also intend to expand the dialogue outside of the IUWG members by including other members of the CKI organisation. Whilst we have started to establish processes within the business which focus on losses we expect most progress to be made through our LDR activities. These activities will focus on our end-to-end existing business applications and will establish processes which ensure that the consideration of losses is included as a driver in the majority of work that we undertake on the network. (431 words) "
UKPN-10 | 2016-04-21 | Innovative approaches to losses management and actions taken to incorporate these approachs into business as usual activitie |  |  | Was losses management an original aim of the LCNF KASM project or is the losses management work you propose an addition, building on this project? | Losses management was not an original aim of the KASM project and has subsequently been included within its scope as an additional item. At inception, the main objective of the KASM project was to trial Contingency Analysis in coordination with the transmission network so as to optimise the efficient utilisation of the 132kV and 33kV distribution networks and potentially release capacity to connect Distributed Generation (DG) onto constrained parts of the network. UK Power Networks identified that the network configuration that the KASM project intends to monitor aligns perfectly with our ambitions to better understand network losses. By establishing visibility of the networks operated by UK Power Networks, National Grid and the DC interconnectors to Europe the project will establish a holistic view of a representative area of network. As the main KASM network area is relatively small (comprising two 400/132kV GSPs at Canterbury North and Sellindge) establishing this visibility won’t be too time intensive; meaning that the results will be available sooner than they would be if a) we hadn’t yet initiated the project, or b) if the network area was too large In addition the project will be able to monitor the export of numerous generators whilst also looking at the coincident load demand in the area. Therefore the project offers visibility of parameters that align with our loss management ambitions. In order to gain a useful insight into the network losses that are incurred under each configuration, and each coincident load and generation profile, it will be necessary to build consideration of network impedance into the project’s algorithms. The data related to network losses will be extracted independently of the KASM project and will be interpreted in conjunction with our LRE holistic network model. Through this work we expect to gain significant new learning which we will test on network models of lower voltage network to validate whether these lessons translate to different network types. Having established these lessons we then intend to disseminate them to our stakeholders. All of this work, including the stakeholder dissemination, will be completed independently of the KASM project. The funding for this work will also be independent of the KASM project funding. (361 words)
UKPN-11 | 2016-04-21 | Innovative approaches to losses management and actions taken to incorporate these approachs into business as usual activitie |  | 4 | The NIA project MAAV that UKPN are preparing says that it will help detect losses - was losses management an initial aim of this project? If this is an expected output from the NIA project (and funded under this scheme) why should it attract additional money from the LDR? | The detection of losses through the use of the Mobile Asset Assessment Vehicle was not highlighted in the original scope for that project and funding for this work is not sought through the NIA project submission. The focus of the NIA-funded project is to improve network safety and reliability. It achieves this through detection of potential touch voltages, a safety concern, and the breakdown of cable insulation and cable joints; which may indicate that a fault is developing. This enables potential safety issues to be identified before they become problematic and also enables faults to be predicted before they happen. Following the development of the NIA-project scope additional work, funded by UK Power Networks, identified that where a current discharge can be identified it will have an associated loss. To identify the magnitude of this loss it was necessary to excavate the area of interest and take measurements. This work sits outside of the NIA-scope as it doesn’t relate to safety or reliability but it does represent a development of significant interest. Therefore the proposal in the LDR is that the NIA project will identify where current discharge exists and, where justified, these will be tackled to improve the reliability of UK Power Networks’ assets. However, developing that understanding further to explore the magnitude of the leakage, and the associated losses, will be funded independently of the NIA-project. This work will establish an understanding of how much energy is lost in this manner across the network. It will also develop suitable Cost Benefit Analysis to justify whether this leakage should be tackled from a losses perspective; where intervention from a reliability perspective isn’t justified. Conventional methods to tackle technical losses are governed by the laws of physics – meaning that the losses can be minimised but never eradicated entirely. Non-technical losses offer an opportunity to remove ‘true’ losses from the network but are limited in terms of the volumes that exist. Based on the 2013 values that Ofgem used in their Energy Efficiency Paper last year the split between technical and non-technical losses was over 96% of losses were attributed to technical losses. Based on these figures UK Power Networks believes that this is an exciting opportunity to explore an avenue of technical losses that hasn’t previously been considered and offers opportunities to remove ‘true’ losses from the network; in addition to the focus on non-technical losses that DNOs may have. (399 words)
UKPN-12 | 2016-04-21 | Innovative approaches to losses management and actions taken to incorporate these approachs into business as usual activitie |  | 4 | In page 18 of your submission, you have stated 'At the moment we can only speculate about which approaches will be chosen, therefore committing to a set of specific innovations and innovative approaches would be premature.' Is the decision regarding which approaches should be funded driven by the funding option ie is this an internal decision for UKPN to make or are they projects you intend to/have put forward to Ofgem for funding outside the LDR (eg NIC/NIA)? | The section in which the highlighted statement is made is UK Power Networks’ commitment to incorporating the consideration of losses in to our future business processes. Before we are able to do this we require the learning from the other activities that are proposed in both our Losses Strategy as well as our LDR submission to have concluded. Once this learning is available, and the most efficient approaches are understood, we commit to incorporate this knowledge in to our future business processes; thus attempting to establish network losses as a key driver in the work that we undertake. Given that the development of the network, and the transition from DNO to DSO, isn’t yet fully understood it’s too premature to speculate what these approaches may involve. This statement doesn’t refer to the funding of those approaches; rather, it relates to the pre-requisite learning that is required before these decisions can be made. (152 words)