## SSE
Question No. | Date | Criteria (if relevant) | Sub-criteria (if relevant) | Submission Section | Question | Answer (please type here for short response or reference to a Q&A template word document (limit of 600 words) | Where possible, please can you link your answer to the relevant part(s) of your submission.
SSE-01 | 2016-04-07 | Understanding of Losses | Demonstrating understanding | 4 | Is the losses modelling by your Losses Teams for SSE network only or are process steps being considered to enable it to be applied to the wider network? | see attached response to Q1 The Losses Teams project is being funded by SSEPD directly as part of our commitment to reducing losses and is intended to provide a focus for our actions to reduce network losses. The vision for the Losses Teams is to establish a systematic mechanism for applying the right solution, in the right place, at the right time to bring about a sustained reduction in losses. The initial analysis work is based on data which has been collected as part of the New Thames Valley Vision (NTVV) project and will provide a detailed study of the losses characteristics of a section of the SEPD network. This will allow us to characterise our network using a simple traffic light system, which will provide the basis of for further investigation and allow us to target appropriate interventions. We will also continue to ensure that network visibility is a key element of our underlying innovation portfolio. The availability of reliable network information is fundamental to the Losses Teams approach and we will continue to pursue cost effective monitoring solutions which will help us to further refine our analysis. Based on an analysis of the potential benefits and costs we will then extend this philosophy to other sections of the SSEPD network. The networks studied in the NTVV project are typical of much of the SSEPD urban network and will have a great deal in common with networks operated by the other DNOs. Therefore, we believe that the analysis work underway can be readily applied to the majority of the wider GB network. The application of this approach to other network types will need to be based upon an assessment of the potential benefits and the cost of data collection or any intervention planned. Developing an understanding of what to measure and how to intervene are key elements of the Losses Teams projects. The Losses Teams project is an internally funded SSEPD project and as such its primary focus is our networks. However, if successful we will endeavour, where commercially appropriate, to share the main outputs and learnings with other licensees.
SSE-02 | 2016-04-07 | Understanding of Losses | Demonstrating understanding | 4 | Is the modelling by your Losses Team already part of the losses strategy and how is it different to those processes already funded under the LCNF? How does it shift expectations of what the DNO is capable of doing to reduce losses? Where possible, please can you link this to the relevant part(s) of your submission. | see attached response to Q2 In our Losses Strategy we outlined our intention to consider the implementation of dedicated losses teams. At that time we believed that the project would commence as a Network Innovation Allowance (NIA) project to carryout the network modelling and analysis required to develop the approach to a level where it could be implemented as business as usual. However, since publishing our Losses Strategy we have refined our approach to the analysis and the mechanisms for deployment and have concluded that this is best implemented if it is funded directly by SSEPD. The Losses Team project will not be funded through any innovation mechanism or other RIIO-ED1 financial activity. The project has approval from SSEPD Investment Board and funding has been committed for the first stage of the project. This initial phase of the project is due to be concluded later in 2016 and, if successful will see the implementation of dedicated teams whose focus is on improving the efficiency of the network. Underlying, this change in approach is our belief that by intervening in a systematic manner we will be able to identify and deliver other benefits to the network and customers. This will draw on the synergies between loss reduction, CI/CML reduction, low carbon technology integration and asset condition. These wider benefits are outlined on page 4 of our submission. This is an area which will be explored in more detail in the Losses Teams project – see Appendix 1 of submission. The concept of Losses Teams is broadly modelled on leakage teams in the water industry and for the first time will see the creation of a dedicated resource specifically focussed on loss reduction. As identified in Section 2 of our submission, our plan is based on: • Understanding where to intervene; • Understanding how to intervene ; and • Intervening effectively. The approach to systematic analysis and having a dedicated resource with a clear and unambiguous responsibility for managing losses will result in a step change to how losses are viewed and managed in our organisation. For the first time this will see the establishment of a dedicated resource to focus on loss reduction and bring about a sustained improvement in network efficiency. If it is more widely adopted by other DNOs, the Losses Teams approach will result in a shift in expectation of what a DNO can achieve to reduce losses. This is described in more detail in section 2 of our submission. | Section 2 and Appendix 1
SSE-03 | 2016-04-07 | Understanding of Losses | Demonstrating understanding | 4 | How will SSE's internal losses steering group significantly shift expectations of what DNOs are capable of doing to better understand and reduce losses? | see attached response to Q3 Whilst the Losses Teams discussed previously will provide a focus for our loss reduction activities, this needs to be supported and complemented by change across all aspects of our operations. This has been reinforced by the experience gained in the implementation of our Losses Strategy. For examples changing the minimum size of cable has implications for Policy, Design, Procurement, Operations and these changes need to be communicated both internally and to external stakeholders such as ICPs. Similarly, it is our belief that there are synergies between loss reduction and asset performance and reliability as outlined on page 4 of our submission. The Internal Steering Board, chaired by our Director of Engineering and Investment, will have the correct membership to ensure that these policy changes are implemented within the business in a timely manner. As identified in Appendix 3 of our submission, the objectives and responsibilities of the steering board also include: • Ensuring that additional losses reduction measures are implemented on time and on budget; and • Deciding whether any loss reduction interventions or initiatives are adopted as business as usual. The ongoing involvement and support from senior management will ensure that any new interventions are trialled, assessed and implemented quickly within the business. The creation of a Steering Group chaired by a Director will help put Loss Reduction and network efficiency on an equal footing with other activities such as supply restoration, tree cutting etc. This focus will be crucial to ensuring that SSEPD will be recognised for leading the way in proactively targeting and reducing losses. If successful the learning from these projects and interventions will be shared with other licensees via key stakeholder groups such as the ENA Technical Losses Task Group. | Appendix 3
SSE-04 | 2016-04-07 | Understanding of Losses | Consider network in holistic manner | 4.1 | (i) What role has SSE played in the interconnected networks best practice principles process with respect to losses management? (ii)At what stage in the process are SSE now? (iii) How will this engagement lead to DNOs considering the network in a holistic manner and making efforts to have a better understanding of how losses on their network affect others? | see attached response to Q4 i) What role has SSE played in the interconnected networks best practice principles process with respect to losses management? As identified in section 4.1 of our submission, SSEPD initiated dialogue with our boundary neighbours beginning with UKPN in October 2015 and then with WPD and SPEN shortly afterwards. In setting up these meetings we identified the key areas for discussion, these included: • Identifying interfaces and convenience customers; and • Shared sites The meetings were led by SSEPD with the decisions on the areas to focus further work or analysis jointly agreed with each of the boundary DNOs. The subsequent discussions with WPD and SPEN built on the learning from the first meeting with UKPN. ii) At what stage in the process are SSE now? The technical analysis work is in the initial stages, we have identified a number of substations / feeders that interface with each of our boundary DNOs to ensure that they are properly configured and to establish if network performance is being optimised. Consideration is also being given to ensure that any new connections on or near network boundaries are designed for the most efficient connection. The work is expected to be completed over the course of 2016 and will be shared with other DNOs at the ENA Losses Task Group. It is expected that the outputs of the work will lead to discussions relating to potential policy changes and inform future analysis requirements. Additionally, we are already engaging with NGETSO on a number of issues which have the potential to reduce network losses. For example refining the current Statement of Works arrnagments to include Automatic Network Management to provide reactive power control. We also intend to engage with other networks including gas network owners and heat network owners to identify synergies and oppurtunities to improve network operation. (iii) How will this engagement lead to DNOs considering the network in a holistic manner and making efforts to have a better understanding of how losses on their network affect others? Generally the boundaries between DNOs were set many years ago and have remained unchanged since their creation. Each DNO has continued to design, build and operate their networks up to the original boundaries. The requirements for networks have changed significantly since they were established and in some cases it is possible that these original arrangements are no longer the most efficient. For example the rise in distributed generation has led to a step change in power flows across the network. Therefore, DNOs and other licensees must cooperate to ensure that the GB network is designed and operated in the most efficient manner to reflect the current network requirements. | Section 4.1
SSE-05 | 2016-04-14 | Effective engagement of best practice with stakeholders on losses |  |  | Do you plan to collaborate with other DNOs to initiate projects/work together to achieve the best outcome and to ensure best practice? Why is this collaboration beyond business as usual processes? | As specified in our submission in section 4.1 we have taken the lead to initiate collaborative work with our boundary bordering DNOs and TOs. In SEPD and SHEPD this includes: • Western Power Distribution; • UK Power Networks; • Scottish Power Energy Networks; • National Grid; and • SHE Transmission. The aim of the work is to better understand the implications of inter DNO and TO connection points and will focus on: • Determining the most efficient Point of Connection (PoC) for future customers even if this crosses geographical network boundaries; • Considering the benefits of transfer capacity between DNO areas to meet P2/6 compliance under N-1 conditions; • Analysing the most appropriate PoC for future connection applications close to network boundaries, to ensure most efficient connection; • Assessing the most suitable location for network open points without the traditional geographical boundary constraints; and • Reviewing existing voltage settings at shared locations to ensure combined network operation is operating efficiently. Although there are historical policies and procedures relating to some of the areas of potential collaboration work, what has been proposed goes beyond anything previously completed. These boundaries were established during a period where power flows between networks were well understood, stable and predictable but we are now moving toward a more dynamic situation with much greater variability. The growth in distributed generation and the projected increase in demand from the electrification of heat and transport could lead to a significant change in power flows across these inter DNO boundaries. The work proposed is considering the efficiency of existing inter DNO links to make recommendations on how these can be improved or modified specifically to better manage losses. It is for this reason that this collaboration work is beyond what would be considered business as usual practices.
SSE-06 | 2016-04-14 | Effective engagement of best practice with stakeholders on losses |  | 5.1 | SSE have identified their stakeholders in their submission (page 11). Do SSE intend to engage will all persons noted and how are they going to go about doing this? How will this engagement develop relevant partnerships to help manage losses? | As part of the work to build upon our Losses Strategy one of the first requirements was to take a holistic approach to identifying stakeholders with an interest in losses. As is defined in the table 5.1, we then started to define the level of influence these stakeholders have in conjunction with their perceived interest in the area of losses. This mapping will be used over the ED1 period to best target our engagement efforts in order to achieve the maximum benefits in the most cost effective manner. It is likely that the mapping will change over the course of ED1 as we learn and develop our engagement strategy. Our intention is to begin the engagement work with the high influence stakeholders and this work is already underway. We have had strong enjoyment with other DNOs and TOs through our inter DNO project work and the Losses Technical Task Group. We have had direct engagement with IDNOs / ICPs with regard to the implementation of our losses strategy and the impact this will have on their operations. In the next 12 months we plan to have direct engagement with: • Supply chain – equipment manufacturers • Innovation community • Smart Grid community • GB consumers domestic and industrial • Suppliers • Meter operators • Academia This engagement will be completed through different mediums / channels led by the dissemination work to publicise our losses strategy. Where appropriate we will add Losses and network efficiency to our existing portfolio of stakeholder engagement activities such as Connections workshops and surgeries. In addition to the core dissemination of our losses strategy we plan to run a number of further activities to help key stakeholders understand the requirement and benefits from reducing losses. These activities could include some of the following • Face to face meetings; • Webinars; • Presentations; • Social media groups ie Linkedin and Twitter; • Newsletters; and • Losses Competition. This will ensure that they are presented with the appropriate information to allowany sysnergies and oppurtunities to be identified and appropriate measures to be taken.. Based on the experience we have gained in developing our innovation portfolio, engaging with OEMS and others give an opportunity to understand new technological developments and gain insight to international best practise. The Losses work planned with equipment manufacturers and the innovation community will build and add to our existing approach and will to lead to a closer working relationship on the specific topic of losses reduction and drive new ideas and innovation in this space. In addition we will seek to identify further providers and suppliers with specific knowledge in loss reduction or with particular skills such as data analytics which will be particularly relevant to loss reduction. By taking a holistic approach we will be able to identify oppurtunities which can be mutually beneficial for both the DNO and the stakeholder for example by identifying and working with larger I+C customers to improve power factor. This will not only reduce the consumers energy costs but will also reduce network losses. It is hoped that the engagement will lead to sustainable partnerships with each of the stakeholders. At present we do not plan to develop any formal partnerships, however we predict that the inter DNO work will lead to revised working practices and closer working relationships akin to an informal partnership.
SSE-07 | 2016-04-14 | Effective engagement of best practice with stakeholders on losses |  | 5.2 | SSE have noted their intention to work with gas and water companies. How will this help drive SSE's work forward on losses and shift expectations of what you are capable of doing to reduce losses? | Our approach to losses management draws on learning from our core industry in the UK and seeks to learn from best practice across other utility sectors. A key example of this is the learning we have drawn from the Water industry to consider the benefits of having a dedicated ‘losses teams’, with the core purpose of reducing network losses. This idea stemmed from the Water industry where they utilise leakage teams to reduce ‘losses’ on the water network. These teams of staff have leakage reduction targets and use metering data to highlight the parts of the network to target. We have committed to a analysing a similar approach with electrical losses through our losses teams project. This work is nearing completion with a commitment made to making a decision on mass rollout by the end of 2016. Gas network owners operate in a similar geographic area and serve the same group of consumers as the DNO. Similarly, these customers are also likely to be provided with a smart meter for gas at the same time as they get one for electricity. Therefore, there is the potential for both network operators to share information and cooperate to identify areas to target interventions potentially in relation to non technical losses or illegal abstraction. We already share ideas and knowledge with the gas network owner on potential innovation projects and we believe that this has the potential to be extended to cover loss reduction and network efficiency. We will also continue to engage with heat network owners to identify any synergies or opportunities that may arise from the predicted growth in district heating. There already existing examples in Aberdeen1 and Lerwick2 where significant numbers of customers have had electric heating replaced by district heating systems. This has fundamentally changed the demand patterns on the electrical network and potentially gives the DNO an opportunity to reconfigure the network and reduce losses. The above examples demonstrate that in order to manage losses effectively an approach that goes beyond the basic electrical modelling work is required. We need to work with other utility and energy network owners to identify opportunities and synergies and share best practise. We intend to build further over the course of ED1 to draw in learning from outside of our core industry to shift expectations of what is possible to reduce network losses. 1- http://www.aberdeenheatandpower.co.uk/ 2- http://www.sheap-ltd.co.uk/
SSE-08 | 2016-04-14 | Effective engagement of best practice with stakeholders on losses |  | 5.3 | SSE's losses competition - who is the competition open to? How might the competition ensure best pratice? Is this expected to be funded through any LDR or shareholders? | The losses competition will largely be run via the Energy Innovation Centre (EIC) and will be a new category at there awards ceremony. EIC with over 1600 subscribers have a well established process for running a ‘call’ on specific topics. It will be issued to their existing list of suppliers; however, will be open to a wide range of participants including equipment manufacturer, developers, consultants and academics. The aim of the competition is to generate new ideas that go beyond the traditional losses reduction methods such as increases in conductor area or transformer efficiency. The competition is looking to generate interest in the area of loss management and reduction; this could include monitoring, analysis, design as well as new plant and equipment. The competition will accept innovations in the areas of equipment deployment and process management relating to both technical and non technical losses. The Losses Competition will provide a very clear signal to the supply chain and innovation community that SSEPD have a clear focus and interest in this area and are committed to reducing losses on the network. To ensure best practice we intend to engage directly with potential suppliers in order to articulate our requirements relating to losses management. As the project will be run through the Energy Innovation Centre this allows other DNOs to feed into the requirements process and to understand the challenges or areas of focus for each of the member DNOs. This will be funded directly by SSEPD and the learning from all competition entries will be shared with other DNOs and interested stakeholder groups. It is our intention to present the learning from the competition to members of the ENA led Technical Losses Task Group.
SSE-09 | 2016-04-21 | Processes to manage losses | Have companies looked at best practice, both nationally and internationally, when considering processes and methods to manage losses on their networks? | 6.1 | What processes do you have (or expect to have) in place to ensure best practice in relation to losses management is continuously considered and incorporated? | The management of losses is one of the factors which we considered as an integral part of the the Asset Management processes we follow in accordance with ISO55001 (Asset Risk Management). This ensures that the management of losses are considered at key decision point including in our design choices, procurement decisions and operational practises. We are committed to ensuring that we adopt best practise in the management of network losses. Our overall approach is described in Section 2 of our submission where we outline our overall plan for losses management, this is based around the following key principles of • Understanding where to intervene; • Understanding how to intervene; and • Intervening effectively. This philosophy underpins our Losses Teams project which is looking to target potential interventions to achieve the most efficient and effective reduction in network losses. We will also continue to develop other solutions and interventions which may prove beneficial; these will be identified from our stakeholder engagement activities, innovation portfolio or from interaction with suppliers. If these are proven to be successful in the Losses Teams project, then they will be adopted into the business and included as we update our Losses Strategy – as identified in Figure 1 of our submission. We will continue to refine this process throughout ED1 to ensure that we maintain best practise. In section 3.1 of our submission we describe our approach to ensuring that our Losses Strategy is kept relevant and up to date with a robust CBA based approach to the assessment of potential interventions. Please see attached procedure with associated process map SSEPD use to ensure our Losses Strategy is updated regularly to ensure best practice is considered over the ED1 period. This document is controlled through our document library to ensure a consistent update process is followed each year. In summary we have committed to an annual update of the strategy to complete a review of our CBAs against current prices or developments. We have also committed to a full scale review of the content of the strategy at the mid point of ED1 to consider any significant changes that may alter existing measures or require the creation of new loss reduction measures. We believe this attached process comprehensively guarantees our strategy is up to date and facilitates the adoption of new measures that may become cost effective during the ED1 period. | see attachd documents
SSE-10 | 2016-04-28 | Understanding of Losses | Demonstrating understanding | 4 | What are the interactions between the network modelling tools you set out in your LDR submission and any network modelling tools funded through innovation projects (eg NIC/NIA)? It is the responsibility of each DNO to verify that any processes or actions listed in their submissions are not funded under the RIIO-ED1 price control or other innovation stimulation mechanisms. | The Losses Teams project is being funded entirely by SSEPD directly as part of our commitment to reducing losses and is intended to provide a focus for our actions to reduce network losses. The vision for the Losses Teams is to establish a systematic mechanism for applying the right solution, in the right place, at the right time to bring about a sustained reduction in losses. The network modelling detailed in the LDR submission is a completely new piece of work, it simply utilises the substation monitoring data from the NTVV project. It is entirely independent of any modelling or analysis work completed as part of any of our portfolio of innovation projects funded via the RIIO-ED1 price control or any other innovation stimulation mechanisms. The Losses Teams project exploits data gathered during the NTVV project as a basis for our initial analysis to better understand losses on our network. NTVV is a five year project is focussed on the Low Voltage (LV) network and aims to demonstrate how electricity distribution networks can better serve their customers by understanding, anticipating and supporting their energy use as they move towards low carbon technologies. The project explores a mixture of analytic, technological and commercial solutions. In order to achieve this, the NTVV project developed and installed monitoring equipment to gather data from approximately 300 individual substations and approximately 250 homes using pseudo smart meters. Whilst the data was specifically gathered to assist the DNO in understanding the impact of low carbon technologies it obviously can be utilised for a much wider range of network analysis , therefore, SSEPD have made an anonymised version of the date available on the project website (www.thamesvalleyvision.co.uk) to all interested parties to support knowledge transport and research activities. It is this data set which has been utilised by SSEPD and TNEI for the initial analysis work in the Losses Team project. This additional analysis work in the Losses Teams is outwith the scope of any of the work planned for NTVV. As outlined in Section 7 of our submission we will continue to include loss reduction as one of the key considerations in the future development of our innovation portfolio. Projects will be developed and trialled to give the business confidence that they can be successfully deployed and will deliver the anticipated benefits. Developing and deploying projects with the primary objective of losses reduction into BaU will be exclusively funded by SSEPD. The Losses Steering Board have overall responsibility for sanctioning both the initiation of new trial projects and if appropriate the implementation to business as usual.
SSE-11 | 2016-04-28 | Innovative approaches to losses management and actions taken to incorporate these approachs into business as usual activities |  | 7.1 | The Work Packs noted in page 18 for SSE - are these in addition to what the LTVV project set out to do? If you are using the outcome of a previously funded project, should this be further funded by the LDR? | The Losses Teams approach is based on ensuring that the responsibility for managing network losses is clearly and unambiguously assigned within our organisation. For the first time in a GB DNO this will see the creation of a dedicated resource directly funded by the DNO with a specific focus on loss reduction and network efficiency. The work packs set out on page 18 describe the structured approach to the initial stages of the project. The initial stages of the project will utilise data which has been collected for other purposes during the delivery of the NTVV project. However, it was recognised by the NTVV project team that this data set could be used for a much wider range of network analysis. Therefore, as indicated in the NTVV Six Monthly progress report published in June 2015 - an anonymised version of the data has been made available on the project website (www.thamesvalleyvision.co.uk) to all interested parties. It should be stressed that we are not using any of the learning outcomes from the NTVV project but are simply using network data which has been collected as part of the NTVV project. The primary aim of the NTVV projects is to understand the impact of low carbon technologies on the LV network and there are no learning outcomes which are directly relevant to loss reduction. Hence the work planned in the Losses Teams project is additional analysis which will lead to new learning. The data set from NTVV has been collated over a number of years and its accuracy has been validated and verified in detail during the delivery of the various NTVV project stages. By utilising this data set we are able to commence the Losses Teams project based upon a robust and validated set of network information. This not only allows us to deliver the Losses Teams project in a very short timescale but also using validated data gives greater confidence in the project outcomes. Without the use of the publically available NTVV data, the Losses Teams project and any subsequent deployments would have been significantly delayed with a corresponding delay in the realisation of any network benefits. The time and effort required to collate a fresh set of data for the Losses Teams project would have added significantly to the time and cost of the project and would have delayed the realisation of any benefits for customers. Ultimately, this may even have made it unfeasible for SSEPD to progress the project. In addition to the NTVV data to support the analysis, the Losses Teams project has utilised learning from a number of sources. The domestic customer demand profiles used are based on models from NPG’s Customer Led Network Revolution project and WPD’s LV Templates project. The use of this learning allows us to have greater confidence in the outcomes from the Losses Teams project and reinforces our belief that this approach can be applied to a wide cross section of network types. The data from these LCNF projects has allowed us to commence the Losses Teams project in an efficient and timely manner which will allow us to deliver customer benefits earlier. However, the Losses Teams project will use this data for an entirely new purpose and will produce new learning which was never included within the scope of any LCNF projects identified above. The Losses Teams project and any subsequent interventions will be funded entirely by SSEPD outwith any other RIIO ED1 funding mechanism; therefore we believe that this work is eligible for the LDR.
7