## Master Sheet
RIIO-T2 TCU Appendix A - Responsible Operator Option
Site Name | Transport Cost (£) | Transport Description | Mux Cost (£) | Data Cost (£) | Management Cost (£) | Site Infrastructure Cost (£) | Total Cost Per Site (£) | Aditional Comments
ABERNETHY GRID | 688000 | 16km OPGW to Burghmuir | 30000 | 32400 | 6000 | 6600 | 763000
AIGAS GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
ALNESS GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
AN SUIDHE GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
ARBROATH GRID | 50000 | Cost assosiated with transport from tower to substation | 30000 | 32400 | 6000 | 6600 | 125000
ARDKINGLAS GRID | 270000 | 7.5km ADSS to Inveraray | 30000 | 32400 | 6000 | 6600 | 345000
ARDMORE GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
BEAULY GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
BEINNEUN | 3000 | IRU cost added 5 year term. 3km to Millenium WF | 0 | 0 | 0 |  | 3000
BERRYBURN | 0 |  | 0 | 0 | 0 |  | 0
BHLARAIDH | 0 |  | 0 | 32400 | 0 |  | 32400
BLACKHILLOCK GRID | 0 |  | 0 | 0 | 0 |  | 0
BOAT OF GARTEN GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
BRACO GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
BRACO WEST GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
BRECHIN GRID | 35000 | IRU cost added 5 year term. 35km to Tealing | 30000 | 32400 | 6000 | 6600 | 110000
BRIDGE OF DUN GRID | 100000 | Cost assosiated with transport from tower to substation | 30000 | 32400 | 6000 | 6600 | 175000
BROADFORD GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
BRORA GRID | 1204000 | 28km OPGW to Loch Buidhe | 30000 | 32400 | 6000 | 6600 | 1279000
BURGHMUIR GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
CLUNIE DAM GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
CAIRNFORD GRID | 0 |  | 30000 | 0 | 6000 | 6600 | 42600
CARRADALE GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
CASSLEY GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
CEANNACROC GRID | 1000 | IRU cost added 5 year term. 1km to Beinnuin | 30000 | 32400 | 6000 | 6600 | 76000
CHARLESTON GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
CLACHAN GRID | 14500 | IRU cost added 5 year term. 14.5km to sloy | 30000 | 32400 | 6000 | 6600 | 89500
CLAYHILLS GRID | 6000 | IRU cost added 5 year term. 6km to Redmoss | 30000 | 32400 | 6000 | 6600 | 81000
CONNAGILL | 0 |  | 30000 | 0 | 0 |  | 30000
CORRIEGARTH GRID | 0 |  | 30000 | 0 | 0 |  | 30000
CORRIEMOILLIE GRID | 430000 | 10km OPGW to Luichart | 30000 | 32400 | 6000 | 6600 | 505000
COUPAR ANGUS GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
CRAIGIEBUCKLER GRID | 100000 | IRU cost added 5 year term. 100km to Tealing | 30000 | 32400 | 6000 | 6600 | 175000
CRARAE GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
CROSSAIG GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
CULLIGRAN GRID | 0 |  | 0 | 0 | 0 |  | 0
DALLAS GRID | 0 |  | 0 | 0 | 0 |  | 0
DEANIE GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
DORENELL GRID | 0 |  | 0 | 0 | 0 |  | 0
DOUNREAY 275/132 SUPERGRID(ACT | 0 |  | 0 | 0 | 0 |  | 0
DUDHOPE GRID | 10000 | Cost assosiated with termination of existing fibre | 0 | 0 | 0 |  | 10000
DUNBEATH GRID | 903000 | 21km OPGW to Mybster | 30000 | 32400 | 6000 | 6600 | 978000
DUNMAGLASS GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
DUNMORE CABLE COMPOUND | 0 |  | 0 | 0 | 0 |  | 0
DUNOON GRID | 0 | No Transport Solution - Islanded | 30000 | 32400 | 6000 | 6600 | 75000
DUNVEGAN GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
DYCE GRID | 0 |  | 0 | 0 | 0 |  | 0
EDINBANE | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
ELGIN GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
ERROCHTY GRID | 0 |  | 0 | 0 | 0 |  | 0
FARIGAIG GRID | 0 |  | 0 | 0 | 0 |  | 0
FARR GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
FASNAKYLE GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
FERNOCH GRID | 258000 | 6km OPGW to Nant | 30000 | 32400 | 6000 | 6600 | 333000
FETTERESSO GRID | 0 |  | 0 | 0 | 0 |  | 0
FIDDES GRID | 61000 | IRU cost added 5 year term. 61km to Brechin/Redmoss | 30000 | 32400 | 6000 | 6600 | 136000
FINLARIG GRID | 2500 | IRU cost added 5 year term. 2.5km to Killin | 30000 | 32400 | 6000 | 6600 | 77500
FORT AUGUSTUS GRID | 0 | LT91 | 30000 | 32400 | 6000 | 6600 | 75000
FORT WILLIAM GRID | 0 |  | 0 | 0 | 0 |  | 0
FOYERS GRID | 0 |  | 0 | 0 | 0 |  | 0
FRASERBURGH GRID | 709500 | 16.5km OPGW to St Fergus SW Ctr | 30000 | 32400 | 6000 | 6600 | 784500
FYRISH | 0 |  | 0 | 0 | 0 |  | 0
GLENAGNES GRID | 170000 | 1.5km Dig to Charleston | 0 | 0 | 0 |  | 170000
GLENDOE | 0 |  | 0 | 0 | 0 |  | 0
GLENFARCLAS GRID | 738000 | 16km OPGW to tower 79 - 500m dig from tower 79 to tower 85 on Dorenell route | 30000 | 32400 | 6000 | 6600 | 813000
GLENMORISTON GRID | 0 | IRU added 5 year term. 12km to Fort Augustus | 30000 | 32400 | 6000 | 6600 | 75000
GORDONBUSH WIND GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
GRIFFIN GRID | 68000 | IRU cost added 5 year term. 68km to Perth and Errochty | 30000 | 32400 | 6000 | 6600 | 143000
GRUDIE BRIDGE GRID | 129000 | 3km OPGW to Mossord | 30000 | 32400 | 6000 | 6600 | 204000
HARRIS GRID | 162000 | 2x new IP radio links to Scoval then on to Ardmore, pick up mainland fibre at Ardmore | 30000 | 32400 | 6000 | 6600 | 237000
INVERARAY GRID | 9000 | IRU added 5 year term. 9km to Clachan | 30000 | 32400 | 6000 | 6600 | 84000
INVERARNAN GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
INVERGARRY GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
INVERNESS GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
KEITH GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
KILLIN GRID | 1591000 | 37km OPGW to Errochty | 30000 | 32400 | 6000 | 6600 | 1666000
KILMORACK GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
KINLOCHLEVEN GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
KINTORE GRID | 0 |  | 0 | 0 | 0 | 6600 | 6600
KNOCKNAGAEL | 0 |  | 0 | 0 | 0 | 6600 | 6600
LAIRG GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
LOCHAY GRID | 2500 | IRU added 5 year term. 2.5km to Killin | 30000 | 32400 | 6000 | 6600 | 77500
LOCH BUIDHE | 0 |  | 0 | 0 | 0 | 6600 | 6600
LUICHART GRID | 215000 | 5km OPGW to Orin | 30000 | 32400 | 6000 | 6600 | 290000
LUNANHEAD GRID | 774000 | 18km to Tealing | 30000 | 32400 | 6000 | 6600 | 849000
LYNDHURST GRID | 18000 | 18km IRU to Charelston/Tealing | 30000 | 32400 | 6000 | 6600 | 93000 | 2km - check with Mark as o/h
MACDUFF GRID | 1591000 | 37km OPGW to Keith | 30000 | 32400 | 6000 | 6600 | 1666000 | 37km route Keith - MacDuff
MELGARVE | 0 |  | 0 | 0 | 0 |  | 0
MILLENNIUM WIND GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
MILTON OF CRAIGIE GRID | 9500 | 9.5km IRU to Tealing | 30000 | 32400 | 6000 | 6600 | 84500
MOSSFORD GRID | 107500 | 2.5km to Corriemollie | 30000 | 32400 | 6000 | 6600 | 182500
MYBSTER GRID | 0 |  | 0 | 0 | 0 |  | 0
NAIRN GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
NANT GRID | 860000 | 20km OPGW to Inveraray | 30000 | 32400 | 6000 | 6600 | 935000
NEW DEER | 0 |  | 0 | 0 | 0 |  | 0
ORRIN GRID | 602000 | 14km OPGW to Beauly | 30000 | 32400 | 6000 | 6600 | 677000
PERSLEY GRID | 560000 | 4km dig to Stonewood | 30000 | 32400 | 6000 | 6600 | 635000
PETERHEAD GRANGE GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
PETERHEAD GRID | 60000 | IRU cost added 5 year term. 60km to Dyce | 0 | 0 | 0 |  | 60000
PETERHEAD POWER STATION GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
PETERHEAD SHELL GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
PORT ANN GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
QUOICH GRID | 0 | [5 empty] | 0
QUOICH TEE GRID | 0 |  | 0 | 0 | 0 |  | 0
RANNOCH GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
REDMOSS GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
ROTHIENORMAN |  |  | 0 | 0 | 0 |  | 0
SHIN GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
SLOY GRID SWITCHING STN | 12000 | IRU cost added 5 year term. 12km to Inverarnan | 30000 | 32400 | 6000 | 6600 | 87000
SPITTAL | 0 |  | 0 | 0 | 0 |  | 0
ST FERGUS GAS TERMINAL GRID | 0 |  | 0 | 0 | 0 |  | 0
ST FERGUS MOBIL GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
ST FERGUS SWITCHING STN GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
ST FERGUS VSD GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
ST FILLANS GRID | 22000 | 22km 5 year IRU to Killin | 30000 | 32400 | 6000 | 6600 | 97000
STONEYWOOD | 0 |  | 0 | 0 | 0 |  | 0
STRATHY WIND | 0 |  | 0 | 0 | 0 |  | 0
STRONELAIRG | 0 |  | 0 | 0 | 0 |  | 0
STORNOWAY GRID | 300000 | Fibre IRU over 5 years between S-Way and Harris | 30000 | 32400 | 6000 | 6600 | 375000
STRATHBRORA WINDFARM | 0 |  | 0 | 0 | 0 |  | 0
STRICHEN GRID | 344000 | 8km OPGW to Tee point | 30000 | 32400 | 6000 | 6600 | 419000
TARLAND GRID | 1720000 | 40km OPGW to cragiebuckler | 30000 | 32400 | 6000 | 6600 | 1795000
TAYNUILT GRID | 279500 | 6.5km OPGW to Fernoch | 30000 | 32400 | 6000 | 6600 | 354500
TEALING GRID | 0 |  | 0 | 0 | 0 |  | 0
THURSO GRID | 0 |  | 0 | 0 | 0 |  | 0
TOMATIN | 0 |  | 0 | 0 | 0 |  | 0
TUMMEL 275/132KV | 0 |  | 0 | 0 | 0 |  | 0
TUMMEL BRIDGE GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
WILLOWDALE GRID | 0 |  | 30000 | 32400 | 6000 | 6600 | 75000
WOODHILL GRID | 560000 | New 4km dig required to willowdale | 30000 | 32400 | 6000 | 6600 | 635000
Total Costs
Transport | 15749500
MUX/Protection Comms | 2730000
Corporate/OTN Data Stack | 2883600
Remote Management | 534000
Site Infrastructure Cost | 607200
Total Overall (Without Contingency) | 22504300

## Cost Breakdown
Technology Unit Costs
Fibre
Description | Unit | Unit Cost (£)
Underground - Rural | per Km | 100000
Underground - Semi Urban | per Km | 140000
Underground - Urban | per Km | 200000
OHL - ADSS | per Km | 36000
OHL - OPGW | per Km | 43000
OHL - Wrap | per Km | 48000
Radio
Description | Unit | Unit Cost (£) | PS Added | Total
1+1 Radio link (full system) | per link | 64800 | Plus 20% PS | 81000
Multiplexer
Description | Unit | Unit Cost (£)
Mux with line and service cards | per device | 30000 | plus 20% PS | 36000
Management
Description | Unit | Unit Cost (£)
Management - DCN device | per device | 5000 | Plus 20% PS | 6000
Data
Description | Unit | Unit Cost (£)
Full OTN Data Stack | Per Stack | 20000 | Plus 20% PS | 24000
Corporate Network Stack | Per Stack | 7000 | Plus 20% PS | 8400
32400
Per Site | Unit | Unit Cost (£)
Site Racks and Wiring |  | 5500 | Plus 20% PS | 6600