| Cadent Draft Determination |  |  |
| --- | --- | --- |
| DD Query |  |  |
| SQ Reference number | CADENT_DDQ_25 |  |
| Document Name | Unplanned interruptions annex (Monte Carlo simulation) |  |
| Topic/Activity: | Unplanned interruptions |  |
| Question: | Please can you provide a copy of the unplanned interruptions annex where the values in rows 26 – 10025 of the ‘Monte Carlo simulation’ worksheet have not been fixed. This will allow us to properly assess the draft determinations by enabling us to understand the sensitivity to inputs. |  |
| DDQ raised by | Stephen Hassall |  |
| Date Sent | 20/07/20 |  |
| Response Due Date | 23/07/20 |  |
| Response Received |  |  |
| The model with full calculations is attached. Note that the original calculations for number of major incidents used a simplified calculation for the triangular distribution, since for all networks the mode was equal to the minimum. To allow for different values to be entered for this parameter, we have also added in a second version of the simulation (tab ‘Monte Carlo simulation (2)’). The numbers feeding into the ‘Monte Carlo results’ tab can be switched between the two different versions of the simulation by entering 1 or 2 in cell N1 of the results tab. |  |  |
| Attachments: |  |  |