|  |  |  |
| --- | --- | --- |
| **Draft Determination Publication** | | |
| **Network Query** | | |
| **Network Reference number** | CADENT\_DDQ\_63 | |
| **Licence** | All Cadent Networks | |
| **Topic/Activity:** | Error 3 in MEAV calculation WWU mains and services | |
| **Question:** | Our initial review of MEAV calculation in file MEAV.xslx has identified the following error:   * WWU’s projections of mains and services growth are greatly higher than those actually achieved: the MEAV shows growth of 233 km p.a., as compared to average growth between 2013/14 and 2018/19 of 67 km p.a.  The projected pattern of growth is also implausible – with around half the projected growth being in Diameter Band F – with a high unit cost.     Can you please confirm this error. | |
| **Date query raised** | 30/7/20 | |
| **Date Sent** |  | |
| **Expected Response Date** | 4/8/20 | |
| **Response Received** |  | |
| **OfGEM Response:**  Please refer to the response to Cadent\_DDQ\_60. | | |
| **Attachments:** | | |