|  |  |
| --- | --- |
| **Draft Determination Publication** | |
| **Network Queries** | |
| **Network Reference number** | SGN\_DDQ\_Q34 |
| **Licence** | SGN |
| **Topic/Activity:** | Capex – E&I non telemetered sites |
| **Question:** | Relating to draft\_determinations\_-\_sgn\_annex.pdf (table 48 and 49)  SGN had submitted an EJP for the installation of telemetry systems on 14 sites for Southern. There is no feedback for this PCD within the DD SGN annex. Clarification is sought if this has been approved or rejected.  This is an important work load and we need to confirm that allowances have been appropriately allocated to enable it to progress. |
| **DDQ raised by** | Danny Symes |
| **Date query raised** | 23/07/2020 |
| **Expected response date** | 30/07/2020 |
| **Ofgem Response:**  For the Non – Telemetered Sites Work Programme (EJP: SGN EandI – 002NonTele – EJP Dec19), we have accepted the engineering determination outlined in GD2 EJP Final Report 00 – Appendix 1 – SGN, which states Accept (No Mods to Volume). This investment was subsequently assessed as part of our totex model. | |
| **Attachments:** | |