|  |  |
| --- | --- |
| **Draft Determination Publication** | |
| **Network Queries** | |
| **Network Reference number** | SGN\_DDQ\_Q06 (Medium Priority) |
| **Licence** | SGN |
| **Topic/Activity:** | Repex – Tier 1 services PCD (Scotland & southern) |
| **Question:** | Relating to draft\_determinations\_-\_sgn\_annex.pdf Table 16 & 17 on page 16.  Please can you confirm whether the service workloads shown in the PCD sheet include services associated with T1 iron diversions and T1 iron capitalised replacement from sheet 4.07 (of the BPDT)?  A lack of clarity may lead to incorrect assessment of the appropriateness of the unit costs and incorrect assessment of risk associated the PCD. |
| **DDQ raised by** | Danny Symes |
| **Date query raised** | 23/07/2020 |
| **Expected response date** | 30/07/2020 |
| **Ofgem Response:**  The decommissioning service workloads shown in these tables do not include service workloads related to diversions or capitalised replacement. | |
| **Attachments:** | |