|  |  |
| --- | --- |
| **Draft Determination Publication** | |
| **Network Queries** | |
| **Network Reference number** | SGN\_DDQ\_Q05 (Medium Priority) |
| **Licence** | SGN |
| **Topic/Activity:** | Repex – Tier 1 Mains Replacement PCD (Scotland & southern) |
| **Question:** | Relating to draft\_determinations\_-\_sgn\_annex.pdf Table 12 - pg14 & Table 13 - pg15.  Please can you confirm whether the decommissioning lengths shown in the PCD sheet include T1 iron diversions from sheet 4.05 (of the BPDT) and T1 iron capitalised replacement from sheet 4.06 (of the BPDT)?  A lack of clarity may lead to incorrect assessment of the appropriateness of the unit costs and incorrect assessment of risk associated the PCD. |
| **DDQ raised by** | Danny Symes |
| **Date query raised** | 23/07/2020 |
| **Expected response date** | 30/07/2020 |
| **Ofgem Response:**  The decommissioning workloads shown in these tables do not include workloads related to diversions (4.05) or capitalised replacement (4.06). | |
| **Attachments:** | |