|  |  |
| --- | --- |
| **Draft Determination Publication** | |
| **Network Queries** | |
| **Network Reference number** | SGN\_DDQ\_Q98 |
| **Licence** | SGN |
| **Topic/Activity:** | NARM Error |
| **Question:** | For Mains, Ofgem have used ‘addition’ length to calculate unit risk per project (instead of Decommissioned length), but then used decommissioned length to estimate revised NARM target. Could Ofgem confirm if this is an error. |
| **Confidential [Yes/No]** | No |
| **DDQ raised by** | Danny Symes |
| **Date query raised** | 14/08/2020 |
| **Expected response date** | 21/08/2020 |
| **Ofgem Response:**  Related to NARM to CV data misalignment. Actions discussed at 06/08/2020 GD Specific Working Group with further discussion expected 24/08/2020 for confirmation of approach. | |
| **Attachments:** | |