|  |
| --- |
| **Balancing and Settlement Code**  **BSC PROCEDURE**  **SUPPLIER METER REGISTRATION SERVICE**  **BSCP501**  **Version 17.2**  **Date:** |

**BSCP501**

**relating to**

**Supplier Meter Registration Service**

1. Reference is made to the Balancing and Settlement Code (the Code) for the Electricity Industry in Great Britain and in particular, to the definition of “BSC Procedure”.

2. This is BSCP501, Version 17.2 relating to Supplier Meter Registration Service.

3. This BSC Procedure is effective from.

4. This BSC Procedure has been approved by the Panel.

|  |
| --- |
| Intellectual Property Rights, Copyright and Disclaimer  The copyright and other intellectual property rights in this document are vested in Elexon or appear with the consent of the copyright owner. These materials are made available for you for the purposes of your participation in the electricity industry. If you have an interest in the electricity industry, you may view, download, copy, distribute, modify, transmit, publish, sell or create derivative works (in whatever format) from this document or in other cases use for personal academic or other non-commercial purposes. All copyright and other proprietary notices contained in the document must be retained on any copy you make.  All other rights of the copyright owner not expressly dealt with above are reserved.  No representation, warranty or guarantee is made that the information in this document is accurate or complete. While care is taken in the collection and provision of this information, Elexon Limited shall not be liable for any errors, omissions, misstatements or mistakes in any information or damages resulting from the use of this information or action taken in reliance on it. |

**AMENDMENT RECORD**

| **Version** | **Date** | **Description of Changes** | **CRs Included** | **Mods Panel Ref** |
| --- | --- | --- | --- | --- |
| D0.1 | Code Effective Date | Re-Badged. |  |  |
| D0.2 | Code Effective Date | Incorporated version D.01 review comments. |  |  |
| 2.0 | Code Effective Date | Approved for use by the Panel. |  |  |
| 3.0 | Code Effective Date | Incorporation of SMRS to CMRS Transfers (NCR114) and version alignment changes from AP501 embodied (NCR329). | NCR114,  NCR329 |  |
| 4.0 | 27/03/01 | Further changes embodied for NCR329. | NCR329 |  |
| 5.0 | 10/10/02 | Incorporates changes for P55 and CP753. | P55  CP753 | P/40/013  ISG/16/167  SVG/22/277 |
| 6.0 | 03/02/03 | SVA Documentation Batch Release. | CP698 | SVG/22/275 |
| 7.0 | 17/02/03 | Incorporates changes for P63. | P63 | SVG/20/251  SVG/21/256 |
| 8.0 | 01/08/03 | Updated for Modification P62 | P62 | SVG/29/390 |
| 9.0 | 04/11/03 | SVA November 2003 Release | CP836 | SVG/33/442 |
| 10.0 | 23/02/05 | SVA February 2005 Release and BETTA 6.3 | BETTA 6.3, P159, CP981, CP993, CP1091 | SVG/47/004 |
| 11.0 | 06/11/08 | November 2008 Release | CP1176 (part) | ISG68/02  SVG67/16 |
|  |  |  | CP1237 | ISG88/01  SVG88/02  PAB88/03 |
| 12.0 | 25/06/09 | June 2009 Release | CP1272 | SVG97/01 |
| 13.0 | 04/11/10 | November 2010 Release | CP1267 v1.0 | SVG104/01 |
| 14.0 | 25/06/15 | June 2015 Release | CP1424 | SVG168/05 |
| 15.0 | 29/06/17 | June 2017 Release | CP1474 | SVG191/03 |
| 16.0 | 27.06/19 | June 2019 Release | CP1515 | SVG218/02 |
| 17.0 | 25/06/20 | June 2020 Release | CP1523 | SVG208/04 |

**[RCC]CONTENTS**

[1. Introduction 5](#_Toc52264591)

[1.1 Scope and Purpose of the Procedure 5](#_Toc52264592)

[1.2 Main Users of Procedure and their Responsibilities 6](#_Toc52264593)

[1.3 SMRS Access Restrictions, Controls and Constraints 6](#_Toc52264594)

[1.4 Audit Trail and Auditor Access 7](#_Toc52264595)

[1.5 Qualification 8](#_Toc52264596)

[1.6 Service Availability and Service Levels 8](#_Toc52264597)

[1.7 Use of the Procedure 9](#_Toc52264598)

[1.8 Balancing and Settlement Code Provision 10](#_Toc52264599)

[1.9 Associated BSC Procedures 10](#_Toc52264600)

[1.10 Associated Party Service Lines 11](#_Toc52264601)

[[RCC]1.11 Acronyms and Definitions 11](#_Toc52264602)

[2. Not Used 12](#_Toc52264603)

[3. Interface and Timetable Information 13](#_Toc52264604)

[3.1 SVAA sends Market Domain Data 13](#_Toc52264605)

[[RCC]3.2 Update of SMRS Database by Licensed Distribution System Operator 14](#_Toc52264606)

[3.2A Update of Meter Information Data to SMRA by Meter Operator Agent 15](#_Toc52264607)

[3.2B Update of Meter Asset Provider Data to SMRA by Meter Operator Agent 17](#_Toc52264608)

[3.3 Update of SMRS Database by Supplier 18](#_Toc52264609)

[3.4 Change of Supplier for Half Hourly SVA Metering System 20](#_Toc52264610)

[3.5 Change of Data Aggregator for SVA Metering System 22](#_Toc52264611)

[[RCC]3.6 New Connection for SVA Metering System 23](#_Toc52264612)

[3.7 Change of Supplier for Non-Half Hourly SVA Metering System 25](#_Toc52264613)

[3.8 Request for SMRS Information 27](#_Toc52264614)

[3.9 Removal of a SVA Metering System 28](#_Toc52264615)

[[RCC]3.10 New Connection for Metering System which is associated with Exemptable Generating Plant and where the Export Meter(s) is Registered in CMRS 29](#_Toc52264616)

[3.11 Instruction Processing 32](#_Toc52264617)

[4. Appendices 33](#_Toc52264618)

[4.1 This page has intentionally been left blank 33](#_Toc52264619)

[4.2 Erroneous Registrations 34](#_Toc52264620)

[[RCC]4.3 Data Validation 36](#_Toc52264621)

[4.4 Contact Notice Facility 38](#_Toc52264622)

[4.5 Refreshes 39](#_Toc52264623)

[4.6 Resends 40](#_Toc52264624)

[4.7 Service Level Performance Standards 41](#_Toc52264625)

# 1. Introduction

## 1.1 Scope and Purpose of the Procedure

This BSC Procedure defines those activities which enable the Supplier Meter Registration Service (SMRS) to fulfil its functions, relating to the following:-

Provide Suppliers with information relating to their MSIDs.

Notify Suppliers of loss of Settlement liability for MSIDs previously allocated to them. Provide New Suppliers with the Metering System Registration Data related to their MSIDs.

In the case of ‘fringe’ supplies, the SMRA within whose service area the SVA Metering System falls, is responsible for providing the Registration Service.

Provide Half Hourly Data Aggregators with MSID information.

Provide HHDAs with Half Hourly SVA Metering System Registration Data.

Provide Non Half Hourly Data Aggregators with MSID information.

Provide NHHDAs with Non Half Hourly SVA Metering System Registration Data.

Receive and process Supplier data.

To update the SMRS database with information when the Supplier is the data source.

Bulk Change of Non Half Hourly Supplier Agent

Where there is to be a change in a NHH Supplier Agent (bulk change of agent) such that the number of SVA Metering Systems affected exceeds a threshold set by the BSC Panel, a bulk change of agent application will be submitted for approval in accordance with BSCP513. Following such approval, this BSC Procedure will be used to process the bulk change of agent, without adversely impacting the normal daily operations of the SMRA.

Receive and process Licensed Distribution System Operator data.

To update the SMRS database with information when the Licensed Distribution System Operator is the data source.

Receive, validate and process Meter Operator Agent data.

To validate information when the Meter Operator Agent is the source and update the SMRS database with valid information. To send a response to the Meter Operator Agent to notify the outcome of the validation.

Receive and process Market Domain Data.

To update the SMRS database with information from the Market Domain Data source.

Enable Transfers of Registrations between SMRS and CMRS.

To facilitate the Transfers of Registrations of Third Party Generator / Exemptable Generating Plant between SMRS and CMRS and vice versa.

Enable new connections where the same Metering Equipment at an Exemptable Generating Plant is comprised in both an SVA Metering System and a CVA Metering System, where Export Active Energy is traded in CVA and Import Active Energy is traded in SVA.

To ensure that relevant information is passed between appropriate participants and certain checks are carried out in the CVA and SVA registration systems to facilitate this type of registration.

Record BSCCo Required Data

To record the BSCCo Required Data for every Settlement Day that the MSID is connected.

## 1.2 Main Users of Procedure and their Responsibilities

This BSC Procedure should be used in the main by the SMRSs.

However the following organisations will also require input to or output from the SMRS; the SVAA (as MDDM), Suppliers, Data Aggregators, Licensed Distribution System Operators, Meter Operator Agents, BSCCo, Central Registration Agent and the Transfer Co-ordinator.

Each Licensed Distribution System Operator is required to provide a single SMRS. As there is no restriction on the number of Licensed Distribution System Operators that may operate within a single GSP Group, there may also be a number of different SMRSs operating within that same GSP Group.

## 1.3 SMRS Access Restrictions, Controls and Constraints

The SMRA shall only permit access to people whose job responsibilities include the operation, support or audit of the SMRS.

For the avoidance of doubt, the access restrictions relating to the SMRA’s commercial role only relate to the Code requirements and Code Required Data.

The SMRA shall implement and maintain at least the following controls:

 Unique MSIDs in order that the Settlement system can work;

 Validation checks to ensure that all mandatory data fields are present on registration, and data is input accurately;

 Controls to ensure that the LDSO disconnects the correct SVA Metering System within SMRS;

 Controls to ensure that standing data is complete, accurate and up-to-date (i.e. consistent with the most recent valid input), and that there have not been unauthorised (i.e. invalid) changes;

 Controls to ensure that SVA Metering Systems are allocated to the correct GSP Group;

 Controls to ensure that the data held by the SMRS remains confidential;

 Controls to ensure that information is distributed to only the correct Party and Party Agents;

 Controls over input, processing and output (as well as over data and communications) in order to ensure that the rules for valid data processing defined during system design (including those specified by the Code) are adhered to, and the data held and processed by the SMRS is accurate, complete, valid and not out of date; and

 Controls over the development and implementation of the SMRS (including the authorisation and co-ordination of transfers of data and programs) to ensure that:

 The system is tested prior to going live, with test plans and results documented;

 Systems documentation is provided in sufficient detail to support ongoing operational and future maintenance;

 Quality management is used;

 Migration of data onto the SMRS is conducted in a controlled manner, with data validity checks carried out;

 Users are adequately trained such that they are competent in the use of the system;

 Separate test and live environments are used; and

 A fully documented and repeatable system test model is used.

The SMRS shall be developed and operated in line with the following constraints:

 The SMRS shall allow entry of new Suppliers to the market and the exit of Suppliers from the market;

 The SMRA shall implement and maintain controls to ensure registration is made against the correct MSIDs (for the avoidance of doubt, MSIDs are allocated by the LDSO, who allocates the GSP Group for an SVA Metering System); and

 The SMRS shall enable the unambiguous identification of all SVA Metering Systems and their previous and current Suppliers together with dates of any changes.

## 1.4 Audit Trail and Auditor Access

The SMRA shall implement and maintain an audit trail which has at least the following characteristics:

 Data shall be traceable from the data held in SMRS to the source instruction and vice versa;

 Data shall be stored on magnetic or optical media in a consistent format;

 The SMRA shall record the effective date of changes in responsibilities;

 Movement of SVA Metering Systems between different SMRSs upon change of SVA Metering System’s LDSO shall be traceable;

 The SMRA shall be able to retrieve values of amended data in order to ensure that a full transaction history is available; and

 The data held on SMRS shall be maintained in order to ensure completeness, accuracy, and timeliness. The changes to data held require the following:

 That changes made shall be easily identifiable;

 The effective date for those changes made;

 The authoriser of the change and their authority; and

 For any manual changes, an explanation of why the change was made.

The SMRA shall ensure that the BSC Auditor has access at reasonable times and at reasonable notice to:

 Software, hardware or information held by the SMRA or its agents, where reasonably required by the BSC Auditor to fulfil its obligations under the Code;

 The relevant parts of the SMRA’s premises; and

 Relevant staff members of the SMRA, for a reasonable length of time in any one year.

## 1.5 Qualification

In providing the services specified in this BSCP, the SMRA shall use systems and processes so approved in accordance with BSCP537 that comply with the Code, BSC Procedures and PSL100.

## 1.6 Service Availability and Service Levels

On Working Days, the SMRA shall use reasonable endeavours to ensure that staff are available during Service Hours, defined as from 09:00 to 18:00.

The SMRA shall use reasonable endeavours to ensure that any planned outages are scheduled such that there is the minimum amount of disruption to the Service, and wherever practicable provide as much notice as possible to the relevant Data Aggregators and Suppliers.

In the event of an unplanned cessation of processing, the SMRA shall use reasonable endeavours to reinstate the service to meet its requirements under this BSCP as quickly as possible, and shall implement its disaster recovery procedures within 48 hours of the start of the cessation of processing.

Where agreed with the associated Supplier, the SMRA may provide additional services in support of a bulk change of agent outside of normal working hours, providing these additional services do not adversely impact its normal operational activities.

The SMRA shall provide BSCCo with information derived from its systems and processes so approved in accordance with BSCP537 in accordance with the SVA Data Catalogue, BSCP533 and its Appendices such that the SMRA can comply with the requirements of Appendix 4.7. All such communications shall be date-timestamped by the SMRA.

## 1.7 Use of the Procedure

This procedure should be referred to by the users to understand the responsibilities and role of the SMRA and the relationships between the SMRA, Licensed Distribution System Operator (LDSO), Suppliers, MOAs, UMSO, SVAA and Data Aggregation agents.

Throughout this procedure, timetables reflect the number of Working Days (WD) within which an activity should be completed.

Although not shown in each interface timetable, there is an assumption that each communication successfully received at the SMRS gateway will be acknowledged by the Data Transfer Network. The acknowledgements sent will indicate the number of transactions received in each communication. In addition, SMRA will report to the originator, the number of files accepted and the number of files rejected (with reason codes) in accordance with the interface timetable.

The interface timetables in this BSCP show that any changes to registration data in SMRS shall be notified to the LDSO. Although not shown in each interface timetable, there is an assumption that where changes relate to an Unmetered Supply, the details of these changes shall also be notified to the UMSO by the LDSO.

In the case of non half hourly Supplier Agents, the SMRA will be informed via BSCP513 of any Supplier’s intention to initiate a change of agent where the number of Metering Systems affected exceeds the threshold set by the Panel. The SMRA will be required to confirm whether it can implement the proposed changes without adversely impacting other SMRS activities. Any bulk change of agent must therefore be initiated via BSCP513 before triggering the processes in this BSC Procedure.

The remaining sections in this document are:

Section 2 – Not used.

Section 3 - Interface and Timetable Information: this section defines each business process in detail. In addition, there, may be references to ‘D’ and ‘P’ dataflows in the ‘Information Required’ column.

Section 4 - Appendices: this section contains supporting information

The SVAA will be managing the Market Domain Data in addition to performing the Supplier Volume Allocation role, and therefore SVAA is the Market Domain Data Manager (MDDM).

## 1.8 Balancing and Settlement Code Provision

This BSC Procedure has been produced in accordance with the provisions of the Code. In the event of an inconsistency between the provisions of this BSC Procedure and the Code, the provisions of the Code shall prevail.

The requirements of SMRAs under the Code can be found in BSC Section J. An overview of these requirements is as follows:

The principal functions of an SMRA are to:

 Provide and operate a registration service in respect of those Boundary Points on the Distribution System(s) and Associated Distribution System(s) (if any) of such SMRA which are not registered in the Central Meter Registration Service;

 Provide data from such registration system to Parties, Party Agents and BSC Agents for the purposes of Settlement; and

 Provide BSCCo with data from such registration system for the purposes of monitoring in accordance with BSCP533.

## 1.9 Associated BSC Procedures

The following BSC Procedures interface with this BSC Procedure and should be read in conjunction with BSCP501.

|  |  |
| --- | --- |
| BSCP68 | Transfer of Registration of Metering Systems between CMRS and SMRS |
| BSCP503 | Half Hourly Data Aggregation for Metering Systems Registered in SMRS |
| BSCP505 | Non-Half Hourly Data Aggregation for Metering Systems Registered in SMRS |
| BSCP508 | Supplier Volume Allocation Agent |
| BSCP513 | Bulk Change of Non Half Hourly Supplier Agent |
| BSCP515 | Licensed Distribution |
| BSCP533 | PARMS Data Provision, Reporting and Publication of Peer Comparison Data |
| BSCP537 | Qualification Process for SVA Parties, SVA Party Agents and CVA MOAs |
| BSCP550 | Shared SVA Meter Arrangements of Half Hourly Import and Export Active Energy |

## 1.10 Associated Party Service Lines

The following Party Service Line interfaces with this BSC Procedure and should be read in conjunction with BSCP501.

|  |  |
| --- | --- |
| PSL100 | Generic Non Functional Requirements for Licensed Distribution System Operators and Party Agents |

## [RCC]1.11 Acronyms and Definitions

In addition the following meanings and acronyms are used in this BSC Procedure.

|  |  |
| --- | --- |
| BSCCo | Balancing and Settlement Code Company |
| CD | Calendar Days being all Working Days & Non-Working Days |
| CMRS | Central Meter Registration Service |
| DA | Data Aggregator (either Half Hourly or Non-Half Hourly) |
| Data | Those items denoted as used by the SMRS in the SVA Data Catalogue |
| DC | means Data Collector (either Half Hourly or Non-Half Hourly) |
| DUoS | Distribution Use of System |
| EFSD {REGI} | Effective From Settlement Date {Registration} |
| HHDA | Half Hourly Data Aggregator |
| Invalid data | Data which falls outside pre-defined parameters, or is incomplete or is corrupt |
| LDSO | Licensed Distribution System Operator |
| MDDM | Market Domain Data Manager |
| MOA | Meter Operator Agent |
| Metering System Registration Data | All BSCCo Required Data associated with Data Collector appointment; Data Aggregator appointment and Registration plus SVA Metering System Standing Data |
| Metering System Standing Data | All Code Required Data associated with SVA Metering Systems, Energisation Status, GSP Group, Line Loss Factor Class, Measurement Class, Profile Class, Standard Settlement Configuration and Measurement Quantity |
| MSID | Metering System Identifier |
| NHHDA | Non-Half Hourly Data Aggregator |
| SMETS | Smart Metering Equipment Technical Specifications |
| SMRA | Supplier Meter Registration Agent |
| SMRS | Supplier Meter Registration Service |
| SSD | Supply Start Date (also known as Effective from Settlement Date {REGI}) |
| Supplier-serviced Metering System | A Metering System where the Supplier obtains data from a SMETS compliant Meter, either directly or using a service provider |
| SVA | Supplier Volume Allocation |
| SVAA | Supplier Volume Allocation Agent |
| UMSO | Unmetered Supplies Operator |
| Valid data | Data which falls within pre-defined parameters, and is complete and is not corrupt |
| Validation | The process by which data is tested in order to establish whether it is ‘valid data’ or ‘invalid data’ |
| WD | Working day |

All other terms are defined in the Balancing and Settlement Code.

# 

# 2. Not Used

# 3. Interface and Timetable Information

## 3.1 SVAA sends Market Domain Data

| **REF** | **WHEN** | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 3.1.1 | At any time. | Request MDD | SMRA. | MDDM. | SMRS Id. | Electronic or other method as agreed. |
| 3.1.2 | Either on request from SMRA or when published by SVAA. | Send MDD. | SVAA. | SMRA. | D0269 Market Domain Data Complete Set.  D0270 Market Domain Data Incremental Set. | Electronic or other method, as agreed. |
| 3.1.3 | Within 1 WD of receipt of MDD. | Send acknowledgement that data has been received[[1]](#footnote-2). | SMRA. | MDDM. | P0024 Acknowledgement. | Electronic or other method, as agreed. |
| 3.1.4 | If data in incorrect format, corrupt or otherwise cannot be loaded. | Send notification and await receipt of corrected MDD. | SMRA. | MDDM. | P0035 Invalid Data. | Electronic or other method, as agreed. |
| 3.1.5 |  | Send corrected MDD. | SVAA. | SMRA. | Refer to 3.1.2 for dataflows. | Electronic or other method, as agreed. |
| 3.1.6 | Within 1 WD of receipt of MDD. | Send acknowledgement that data has been received2. | SMRA. | MDDM. | P0024 Acknowledgement. | Electronic or other method, as agreed. |
| 3.1.7 | If data in correct format (as soon as practicable, and in any case within 5 WD). | Update database[[2]](#footnote-3). | SMRA. |  |  | Internal Process. |

## [RCC]3.2 Update of SMRS Database by Licensed Distribution System Operator

| **REF.** | **WHEN** | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 3.2.1 | As soon as possible and in any event within 5 WD of (i) the effective date of the change; or (ii) receiving notification that a change is required if this occurs after the effective date of the change. | Provide changes to MS data, excluding Metering Point Address and Metering Point Postcode, made by LDSO | LDSO | SMRA. | Changes to MS data. (e.g. MSID; LLF Class Id[[3]](#footnote-5), GSP Group Id; 1998 Trading Arrangement Indicator; Disconnection Date[[4]](#footnote-6) and address of premises). | Electronic or other method, as agreed. |
| 3.2.2 | On receipt of data. | Perform validation checks (i.e. Supplier Id etc are valid as published by SVAA (MDDM)). | SMRA. |  | Appendix 4.3 – Data Validation. | Internal Process. |
| 3.2.3 | Unsuccessful validation. | Notify originator of receipt of invalid data. | SMRA. | LDSO | Original message identifier and reason(s) for failure. | Electronic or other method, as agreed. |
| 3.2.4 | Upon successful validation and within 1WD of 3.2.2 above. | Update database. | SMRA. |  |  | Internal Process. |
| 3.2.5 |  | Confirm changes of data. | SMRA. | LDSO.  Current and / or future Supplier.  Current and / or future DA. | MSID; relevant changed data; current Supplier Id; Data Aggregator Id.  D0171 Notification of Distributor Changes to Metering Point Details.  D0209 Instruction(s)to Non Half Hourly or Half Hourly Data Aggregator. | Electronic or other method, as agreed. |
| 3.2.6 | Following 3.2.5. | Process instructions in accordance with section 3.11. | DA. |  |  |  |

## 3.2A Update of Meter Information Data to SMRA by Meter Operator Agent

| **REF.** | **WHEN** | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 3.2A.1 | If Meter Information data, as defined in BSCP514, paragraph 2.1.4.1, has changed, as soon as possible and in any event within 5 WD of the effective date of the change | Notify the relevant SMRA | MOA | SMRA. | D0312 Notification of Meter Information to MPAS. | Electronic or other method, as agreed. |
| 3.2A.2 | On receipt of data. | Perform validation checks  If valid, proceed to 3.2A.5 | SMRA |  | “MOP Flow Response Code” Valid Set | Internal Process. |
| 3.2A.3 | Immediately following 3.2A.2. | Send response D0312.  Do not send the response D0312 to a Supplier that has been end dated in MDD; it should only be sent to the MOA and the current Supplier. | SMRA | MOA  Supplier | D0312 Notification of Meter Information to MPAS with “MOP Flow Response Code” populated. | Electronic or other method, as agreed. |
| 3.2A.4 | Upon unsuccessful validation. | Where the rejection is of a type the MOA can resolve without involving other industry parties, send a corrected D0312. | MOA | SMRS | D0312 Notification of Meter Information to MPAS | Electronic or other method, as agreed. |
|  |  | If the MOA needs to involve other industry parties to resolve the issue, then reasonable endeavours should apply.  Proceed to 3.2A.2. |  |  |  |  |
| 3.2A.5 | Upon successful validation | Update database. | SMRA |  |  | Internal Process. |
| 3.2A.6 | Immediately following | Notify MOA and Supplier of acceptance of Meter Information data.  Do not send the response D0312 to a Supplier that has been end dated in MDD; it should only be sent to the MOA and the current Supplier. | SMRA | MOA  Supplier | D0312 Notification of Meter Information to MPAS with “MOP Flow Response Code” populated with “Accepted”. | Electronic or other method, as agreed. |

## 3.2B Update of Meter Asset Provider Data to SMRA by Meter Operator Agent

| **REF.** | **WHEN** | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 3.2B.1 | On receipt of a D0304 from a Meter Asset Provider.  As soon as possible and in any event within 5 WD of the effective date of the change | Notify the relevant SMRA | MOA | SMRA. | D0304 Notification of Meter Asset Provider | Electronic or other method, as agreed. |
| 3.2B.2 | On receipt of data. | Perform validation checks.  If valid, proceed to 3.2B.5. | SMRA |  | “MPAS D0304 Response Code” Valid Set | Internal Process. |
| 3.2B.3 | Upon unsuccessful validation. | Send response D0304 | SMRA | MOA | D0304 Notification of Meter Asset Provider with “MPAS D0304 Response Code” populated. | Electronic or other method, as agreed. |
| 3.2B.4 | Within 5 WD of 3.2B.3. | Where the rejection is of a type the MOA can resolve without involving other industry parties, send a corrected D0304. |  |  | D0304 Notification of Meter Asset Provider | Electronic or other method, as agreed. |
|  |  | If the MOA needs to involve other industry parties to resolve the issue, then reasonable endeavours should apply.  Proceed to 3.2B.2. |  |  |  |  |
| 3.2B.5 | Upon successful validation | Update database. | SMRA |  |  | Internal Process. |
| 3.2B.6 | Immediately following 3.2B.5 | Notify MOA of acceptance of Meter Asset Provider data. | SMRA | MOA | D0304 Notification of Meter Asset Provider with “MPAS D0304 Response Code” populated with “Accepted”. | Electronic or other method, as agreed. |

## 3.3 Update of SMRS Database by Supplier[[5]](#footnote-7)

| **REF.** | **WHEN** | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 3.3.1 | As soon as possible and in any event within 5 Working Days of (i) the effective date of the change; or (ii) receiving notification that a change is required if this occurs after the effective date of the change[[6]](#footnote-8) [[7]](#footnote-9). | Notify changes of MSID specific changes by Supplier. | Current and / or future Supplier. | SMRA. | D0205 Update Registration Details[[8]](#footnote-10). | Electronic or other method, as agreed. |
| 3.3.2 | On receipt of data. | Perform validation checks (i.e. Supplier Id etc are valid as published by SVAA (MDDM)). | SMRA. |  | Appendix 4.3 – Data Validation. | Internal Process. |
| 3.3.3 | Unsuccessful validation. | Notify originator of receipt of invalid data. | SMRA. | Current and / or future Supplier. | D0172 Confirmation of Changes. D0203 Rejection of Changes to Metering Point Details. | Electronic or other method, as agreed. |
| 3.3.4 | Successful validation. | Update database. | SMRA. |  |  | Internal Process. |
| 3.3.5 | Within 1 WD[[9]](#footnote-11) of 3.3.4 above. | Confirm changes of data. | SMRA. | LDSO  Current Supplier.  Future Supplier.  Current and / or future DA, as appropriate. | MSID; relevant changed data; current Supplier Id; Data Aggregator Id.  D0172 Confirmation of Changes.  D0213 Advice from MPAS of Changed Metering Point Details.  D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. | Electronic or other method, as agreed. |
| 3.3.6 | Following 3.3.5. | Process instructions in accordance with section 3.11. | DA. |  |  |  |
| 3.3.7 |  | DA validates instructions from SMRA. If SMRA instructions valid, update database.  If problem with file not caused by DA notify SMRA.  Generate a revised file and send or resend an exact copy of file or if problem caused by DA notify DA. | DA.  DA.  SMRA. | SMRA.  DA. | P0035 Invalid Data (for physical integrity problems) or D0023 Failed Instructions (for instruction level problems).  D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. | Internal Process.  Electronic or other method, as agreed. |
| 3.3.8 | Within 1 WD of 3.3.4 above. | If NHHDC appointment details changed, confirm changes of data. | SMRA. | Old NHHDA[[10]](#footnote-12). | D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. | Electronic or other method, as agreed. |
| 3.3.9 | Following 3.3.8. | Process instructions in accordance with section 3.11. | Old NHHDA. |  |  |  |

## 3.4 Change of Supplier for Half Hourly SVA Metering System

| **REF.** | **WHEN** | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 3.4.1 | Between SSD-28CD and SSD-1 WD or where SMRA allows a registration application on SSD, on the SSD[[11]](#footnote-13) | Notification of Settlement liability for supply. | New Supplier. | SMRA. | D0055 Registration of Supplier to Specified Metering Point11. | Electronic or other method, as agreed. |
| 3.4.2 | On receipt of data. | Perform validation checks. | SMRA. |  | Appendix 4.3 – Data Validation. | Internal Process. |
| 3.4.3 | On unsuccessful validation and within 1 WD12 of 3.4.2. | Notify originator of receipt of invalid data. | SMRA. | New Supplier. | D0057 Rejection of Registration.  If MSID is root of error or missing, then this data item may be omitted. | Electronic or other method, as agreed. |
| 3.4.4 | On successful validation and within 1 WD[[12]](#footnote-14) of 3.4.2. | Notify change of Settlement liability for MSID and Supply Start Date | SMRA. | LDSO  New Supplier.  Old HHDA, new HHDA. | New Supplier Id; MSID and Supply Start Date.  D0171 Notification of Distributor Changes to Metering Point Details.  D0172 Confirmation of Changes.  D0217 Confirmation of the Registration of a Metering Point.  D0260 Notification from MPAS of Old Registration Details.  D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. | Electronic or other method, as agreed. |
| 3.4.5 | Following 3.4.4. | Process instructions in accordance with section 3.11. | HHDA. |  |  |  |
| 3.4.6 | Within 1 WD[[13]](#footnote-15) of 3.4.2. | If validation checks successful, notify loss of Settlement liability to old Supplier. | SMRA[[14]](#footnote-16). | Old Supplier. | D0058 Notification of Termination of Supply Registration. | Electronic or other method, as agreed. |

## 3.5 Change of Data Aggregator for SVA Metering System[[15]](#footnote-17) [[16]](#footnote-18)

| **REF.** | **WHEN** | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 3.5.1 | On change of DA. | Notify appointment of New DA for MSID. | Current and / or future Supplier. | SMRA. | D0205 Update Registration Details. | Electronic or other method, as agreed. |
| 3.5.2 | On receipt of data. | Perform validation checks. (i.e. Supplier Id etc are valid as published by SVAA (MDDM)). | SMRA. |  | Appendix 4.3 – Data Validation. | Internal Process. |
| 3.5.3 | On unsuccessful validation and within 1 WD12 of 3.5.2. | Notify originator of receipt of invalid data. | SMRA. | Current and / or future Supplier. | D0203 Rejection of Changes to Metering Point Details.  If MSID is root of error or missing, then this data item may be omitted. | Electronic or other method, as agreed. |
| 3.5.4 | On successful validation and within 1 WD[[17]](#footnote-19) of 3.5.2. | Notify change of appointment of DA. | SMRA. | LDSO.  Current and / or future DA, as appropriate.  Current Supplier.  Future Supplier. | MSID; Supply Start Date; New DA Id; Effective to Settlement Date; Old DA Id.  D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator.  D0172 Confirmation of Changes.  D0213 Advice from MPAS of Changed Metering Point Details. | Electronic or other method, as agreed. |
| 3.5.5 | Following 3.5.4. | Process instructions in accordance with section 3.11. | DA. |  |  |  |

## [RCC]3.6 New Connection for SVA Metering System[[18]](#footnote-20)

| **REF.** | WHEN | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 3.6.1 | Within 2 WD of completion of the works associated with the new connection, or LDSO’s decision or agreement with the Supplier to enter a new MSID. | Notify new MSID data. | LDSO | SMRA. | MSID, GSP Group Id, LLF Class Id[[19]](#footnote-21), 1998 TA Indicator and Metering Point Address. | Electronic or other method, as agreed. |
| 3.6.2 | Between SSD-28CD and SSD-1 WD or where SMRA allows a registration application on SSD, on the SSD14 | Notify Settlement liability for MSID and Supply Start Date[[20]](#footnote-22). | Supplier. | SMRA. | D0055 Registration of Supplier to Specified Metering Point11.  DA Id; DC Id, Profile Class, Standard Settlement Configuration, Measurement Classand Energisation Status[[21]](#footnote-23). | Electronic or other method, as agreed. |
| 3.6.3 | Within 1 WD of either 3.6.1 or 3.6.2. | Perform validation checks. If attempt made to change Energisation Status to “energised” or ” de-energised” whilst any mandatory field is blank, then invalidate Registration (i.e. unsuccessful). | SMRA. |  | Appendix 4.3 – Data Validation. | Internal Process. |
| 3.6.4 | On unsuccessful validation and within 1WD12 of either 3.6.1 or 3.6.2. | Notify originator of receipt of invalid data. | SMRA. | Supplier. | D0057 Rejection of Registration. | Electronic or other method, as agreed. |
| 3.6.5 | On successful validation and within 1WD[[22]](#footnote-25) of 3.6.2. | Notify Settlement liability for New MSID. | SMRA. | LDSO  Supplier.  DA. | Supplier Id; MSID; DA Id24, DC Id24 and Supply Start Date.  D0171 Notification of Distributor Changes.  D0172 Confirmation of Changes.  D0217 Confirmation of the Registration of a Metering Point.  D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. | Electronic or other method, as agreed. |
| 3.6.6 | Following 3.6.5. | Process instructions in accordance with section 3.11. | DA. |  |  |  |

## 3.7 Change of Supplier for Non-Half Hourly SVA Metering System

| **REF.** | **WHEN** | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 3.7.1 | Between SSD-28CD and SSD-1WD or where SMRA allows a registration application on SSD, on the SSD14 | Notification of Settlement liability for supply. | New Supplier. | SMRA. | D0055 Registration of Supplier to Specified Metering Point11. | Electronic or other method, as agreed. |
| 3.7.2 | On receipt of data. | Receive notification of New Supplier liability and perform validation checks. | SMRA. |  | Appendix 4.3 - Data Validation. | Internal Process. |
| 3.7.3 | On unsuccessful validation and within 1 WD12 of 3.7.2. | Notify originator of receipt of invalid data. | SMRA. | New Supplier. | D0057 Rejection of Registration. | Electronic or other method, as agreed. |
| 3.7.4 | On successful validation and within 1 WD[[23]](#footnote-26) of 3.7.2. | Notify change of Settlement liability for MSID and Supply Start Date. | SMRA. | LDSO.  New Supplier.  Old NHHDA, new NHHDA. | New Supplier Id; MSID and Supply Start Date.  D0171 Notification of Distributor Changes.  D0172 Confirmation of Changes.  D0217 Confirmation of the Registration of a Metering Point.  D0260 Notification from MPAS of Old Registration Details.  D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. | Electronic or other method, as agreed. |
| 3.7.5 | Following 3.7.4. | Process instructions in accordance with section 3.11. | NHHDA. |  |  |  |
| 3.7.6 | Within 1 WD[[24]](#footnote-27) of 3.7.2. | If basic validation checks successful, notify loss of Settlement liability to old Supplier. | SMRA[[25]](#footnote-28). | Old Supplier. | D0058 Notification of Termination of Supply Registration. | Electronic or other method, as agreed. |

## 3.8 Request for SMRS Information

| **REF.** | **WHEN** | **ACTION** | | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3.8.1 | At any time. | Request Refresh of database. | | DA. | SMRA. | MSID, if for selective refresh. | Manual, Fax. |
| 3.8.2 | Within 1 WD of 3.8.1 above for Full Refreshes. [[26]](#footnote-29) | Notify applicant of scheduled date for delivery of Full Refresh[[27]](#footnote-30). | | SMRA. | DA. | Scheduled date. | Manual, Fax. |
| 3.8.3 | Within 15 WD of 3.8.1 above for Full Refreshes, within 1 WD[[28]](#footnote-31) for Selective Refreshes. | Send Refresh of database. | | SMRA. | DA. | D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. | Electronic or CD ROM, or other method, as agreed. |
| 3.8.4 | Following 3.8.3. | Process instructions in accordance with section 3.11. | | DA. |  |  |  |
| 3.8.5 | Within 28 CD of original message. | | Request Resend of Instruction File. | DA. | SMRA. | Message sequence number and/or Date. | Manual. |
| 3.8.6 | Within 1 WD of receipt of request. | | Accept or refuse request. | SMRA. |  |  | Internal Process. |
| 3.8.7 | Within 1 WD[[29]](#footnote-32) of 3.8.4 above. | | Resend message using same file sequence number.[[30]](#footnote-33) | SMRA. | DA. | Duplicate of original instruction (including date that file was originally sent). | Electronic or other method, as agreed. |
| 3.8.8 | Following 3.8.7. | Process instructions in accordance with section 3.11. | | DA. |  |  |  |

## 3.9 Removal of a SVA Metering System

| **REF.** | **WHEN** | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 3.9.1 | Following the removal of SVA Metering System. | Notify disconnection of SVA Metering System.[[31]](#footnote-34) | LDSO | SMRA. | Disconnection Date and MSID. | Manual, Electronic or other method, as agreed. |
| 3.9.2 | On receipt of notification. | Perform validation checks. | SMRA. |  | Appendix 4.3 – Data Validation. | Internal Process. |
| 3.9.3 | On unsuccessful validation. | Notify originator of receipt of invalid data. | SMRA. | LDSO | MSID, original message identifier and reason for failure.  (If MSID is root of error or missing, then this data item may be omitted). | Electronic or other method, as agreed. |
| 3.9.4 | On successful validation. | Notify removal of SVA Metering System[[32]](#footnote-35). | SMRA. | Current and / or future Supplier.  Current and / or future DA. | D0171 Notification of Distributor Changes to Metering Point Details.  D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. | Electronic or manual. |
| 3.9.5 | Following 3.9.4 | Process instructions in accordance with section 3.11. | DA. |  |  |  |
| 3.9.6 | Following notification in 3.9.4 | Notify removal of SVA Metering System where the SVA Metering System is associated with Exemptable Generating Plant and the Export Meter(s) is Registered in CMRS. | Current and / or future Supplier. | BSCCo |  | Fax/ Email |
| 3.9.7 | Following notification in 3.9.6 | BSCCo to update internal records. | BSCCo |  | Update records for Metering Equipment at an Exemptable Generating Plant comprised in both an SVA Metering System and a CVA Metering System. | Internal Process |

## [RCC]3.10 New Connection for Metering System which is associated with Exemptable Generating Plant and where the Export Meter(s) is Registered in CMRS[[33]](#footnote-36)

| **REF.** | WHEN | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 3.10.1 | Within 2 WD of completion of the works associated with the new connection, or LDSO’s decision or agreement with the Supplier to enter a new MSID. | Notify new MSID data. | LDSO | SMRA. | MSID, GSP Group Id, LDSO Id, LLF Class Id22, 1998 TA Indicator and Metering Point Address. | Electronic or other method, as agreed. |
| 3.10.2 | Between SSD-28CD and SSD-1 WD or where SMRA allows a registration application on SSD, on the SSD14 | Notify Settlement liability for MSID and Supply Start Date. | Supplier. | SMRA. | D0055 Registration of Supplier to Specified Metering Point.  DA Id; DC Id, Profile Class, Standard Settlement Configuration, Measurement Classand Energisation Status24. | Electronic or other method, as agreed. |
| 3.10.3 | At the same time as 3.10.2 | Notify BSCCo of the sites(s) which form part of the Exemptable Generating Plant. | Supplier. | BSCCo. | Supplier Id, LDSO Id, Site Name, Site Address, GSP Group, Site Occupier Name, Connection Voltage | Fax/ Email |
| 3.10.4 | Within 1 WD of 3.10.3 | Request the EFSD {REGI} and associated details from LDSO. | BSCCo | LDSO | Supplier Id, Site Name, Site Address, Site Occupier Name, Connection Voltage, Energisation Status, Energisation Status Date, EFSD {REGI}. | Fax/ Email |
| 3.10.5 | Within 2 WD of 3.10.4. | Provide EFSD {REGI} and associated details. | LDSO | BSCCo | Supplier Id, Site Name, Site Address, Site Occupier Name, Connection Voltage, EFSD {REGI}, Energisation Status, Energisation Status Date, EFSD {REGI}. | Fax/ Email |
| 3.10.6 | Within 1 WD of 3.10.5 | Check that the EFSD {REGI} registered for the Import(s) in SMRS for Exemptable Generating Plant is earlier or the same as that registered for any related Export(s) in CRA. | BSCCo | CRA | Check data provided in conjunction with BSCP20. | Fax/ Email |
| 3.10.7 | Immediately after 3.10.6 and if checks are unsatisfactory. | Resolve issues. | BSCCo | Supplier |  | Telephone/Fax / Email |
| 3.10.8 | Immediately after 3.10.6 or once issues resolved from 3.10.7. | Inform Supplier that registration can continue. | BSCCo | Supplier | Notification that registration of Import MSID(s) only can proceed.  Note: Supplier may need to request a change in their Settlement liability following resolution of 3.10.7 via D0205 Update Registration Details[[34]](#footnote-37). | Fax/ Email |
| 3.10.9 | Following 3.10.8. | Update internal records for Meter(s) at an Exemptable Generating Plant comprised in both an SVA Metering System and a CVA Metering System. | BSCCo |  | Site Address, GSP Group, Export CVA MSID, Import SVA MSID, CVA Registrant details, SVA Supplier details and REFD. | Internal Process. |
| 3.10.10 | Within 1 WD of either 3.10.1 or 3.10.2. or immediately after 3.10.9 | Perform validation checks. If attempt made to change Energisation Status to “energised” or “de-energised” 25 whilst any mandatory field is blank, then invalidate Registration (i.e. unsuccessful). | SMRA. |  | Appendix 4.3 – Data Validation. | Internal Process. |
| 3.10.11 | On unsuccessful validation and within 1 WD12 of either 3.10.1 or 3.10.2. or immediately after 3.10.9 | Notify originator of receipt of invalid data. | SMRA. | Supplier. | D0057 Rejection of Registration. | Electronic or other method, as agreed. |
| 3.10.12 | Immediately after 3.10.11 | Notify BSCCo of rejection of Registration. | Supplier | BSCCo |  | Fax / Email |
| 3.10.13 | On successful validation and within 1 WD[[35]](#footnote-38) of 3.10.2. or immediately after 3.10.9 | Notify Settlement liability for New MSID. | SMRA. | LDSO  Supplier.  DA. | Supplier Id; MSID; DA Id24, DC Id24and Supply Start Date.  D0171 Notification of Distributor Changes.  D0172 Confirmation of Changes.  D0217 Confirmation of the Registration of a Metering Point.  D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. | Electronic or other method, as agreed. |
| 3.10.14 |  | DA validates instructions from SMRA. If SMRA instructions valid, update database.  If problem with file not caused by DA notify SMRA.  Generate a revised file and send or resend an exact copy of file or if problem caused by DA notify DA. | DA.  DA.  SMRA. | SMRA.  DA. | P0035 Invalid Data (for physical integrity problems) or D0023 Failed Instructions (for instruction level problems.  D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. | Internal Process.  Electronic or other method, as agreed. |
| 3.10.15 | Within 5 WD of 3.10.13 | Notify BSCCo of all MSID(s) which are part of Exemptable Generating Plant. | Supplier | BSCCo | List of MSID(s). | Fax/ Email |

## 3.11 Instruction Processing

| **REF.** | **WHEN** | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 3.11.1 | On receipt of file. | Perform validation checks. | DA. |  | D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. | Internal Process. |
| 3.11.2 | If validation successful. | Update database with instruction data. | DA. |  | D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. | Internal Process. |
| 3.11.3 | If validation unsuccessful. | Notify SMRA of problem. | DA. | SMRA. | P0035 Invalid Data (for transmission problems).  D0023 Failed Instructions (for instruction level validation problems). | Electronic or other method, as agreed. |
| 3.11.4 | Upon receipt of failure notification. | If transmission problem, resend exact copy of instruction file (with same file sequence number). | SMRA. | DA, Supplier. | D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. | Electronic or other method, as agreed. |
|  |  | If file validation problem, generate and send refresh file (and advise DA of file sequence number). |  | DA, Supplier. | D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. |  |
|  |  | If problem caused by fault on SMRA’s system, resolve failure and generate and send revised file containing all instructions required to rectify the situation (and advise DA of file sequence number). |  | DA, Supplier | D0209 Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator. |  |
|  |  | If problem believed to be caused by DA, notify DA and Supplier. |  | DA, Supplier | As appropriate. |  |
|  |  | If unable to resolve failure, notify Supplier. |  | Supplier | As appropriate. |  |
|  |  | If problem caused by fault on Managed Data Network, treat failure as request for Resend in accordance with section 3.8. |  |  | See section 3.8. |  |

# 4. Appendices

## 4.1 This page has intentionally been left blank

## 4.2 Erroneous Registrations

### 4.2.1 General principle

The “Old Supplier” should not dismiss his Agents (i.e. Data Collector, Data Aggregator and Meter Operator Agent) until the “Old Supplier” has received confirmation from SMRA that there is a “New Supplier” in place.

### [RCC]4.2.2 Scope

This section considers erroneous Registrations which are agreed by both Suppliers as being made in error. Where there is a dispute, the Suppliers may either use the REC disputes process, or seek redress through legal proceedings.

### 4.2.3 Identification of Registration Error

The identification of Registration errors falls into two distinct “time slots”:

identification by either Supplier:

(a) within the objection period;

(b) after the objection period.

### 4.2.4 Rectification of Registration Error

Time slot (a): Old Supplier raises objection through SMRA. If the New Supplier identifies the error, then the New Supplier should contact the Old Supplier and request that the Old Supplier lodges an objection with SMRA. (Table 4.2.5)

Time slot (b): Old Supplier re-registers as soon as practicable. If the New Supplier identifies the error, then the New Supplier should contact the Old Supplier and request the Old Supplier to re-register. (Table 4.2.6)

### 4.2.5 Registration Error detected within objection period

| **REF.** | **WHEN** | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 4.2.5.1 | On detection of error within objection period. | Contact other Supplier and agree Registration is in error. | Supplier. | Other Supplier. | MSID. | Telephone or Fax. |
| 4.2.5.2 | On joint agreement that error exists and within objection period. | Register objection. | Old Supplier. | SMRA. | D0064 Notification of an Objection to Change of Supplier Made By the Old Supplier. | Electronic or other method, as agreed. |

### 4.2.6 Registration Error detected after objection period

| **REF.** | **WHEN** | **ACTION** | **FROM** | **TO** | **INFORMATION REQUIRED** | **METHOD** |
| --- | --- | --- | --- | --- | --- | --- |
| 4.2.6.1 | On detection of error (if after objection period). | Contact other Supplier and agree Registration is in error.  Agree re-registration date (new SSD). | Supplier. | Other Supplier. | MSID.  Proposed new SSD. | Telephone or Fax. |
| 4.2.6.2 | As soon as practicable after end of lock-out period +1 WD. | Re-register MSID with agreed SSD. | Old Supplier. | SMRA. | D005511 Registration of Supplier to Specified Metering Point. | Electronic or other method, as agreed. |

## [RCC]4.3 Data Validation

The SMRS must validate all BSCCo Required Data submitted before accepting or rejecting the data.

Upon rejection of data, the SMRA shall set out all the reasons for rejection to the sending market participant.

The SMRA shall ensure that all data for SVA Metering Systems conform with the rules outlined in the following table.

|  |  |  |
| --- | --- | --- |
| Property | Non Half Hourly | Half Hourly |
| Profile Class | Valid Profile Class (as specified in MDD) required | Profile Class not required |
| Standard Settlement Configuration | Valid Standard Settlement Configuration (as specified in MDD) required | Standard Settlement Configuration not required |
| Data Aggregator Appointment | Data Aggregator required to be specified as non half hourly in MDD | Data Aggregator required to be specified as half hourly in MDD |
| Data Collector Appointment | Data Collector required to be specified as non half hourly in MDD | Data Collector required to be specified as half hourly in MDD |
| LLF Class Id | Valid LLF Class Id (as specified in MDD) required. | Valid LLF Class Id (as specified in MDD) required. |
| MOA Appointments for Unmetered Supplies | Unmetered Supply Operator to be specified (from a list of Unmetered Supply Operators in MDD), in place of the MOA, in the MOA field to ensure a valid Unmetered Supplies Operator is appointed.  Appropriate ‘Measurement Class’ has been recorded for Non Half Hourly Unmetered Supplies | Meter Administrator to be specified (from a list of Meter Administrators in MDD), in place of the MOA, in the MOA field to ensure a valid Meter Administrator is appointed.  Appropriate ‘Measurement Class’ has been recorded for Half Hourly Unmetered Supplies |

Please note that during the registration process for Non Half Hourly or Half Hourly Unmetered Supplies, the MOA field containing the UMSO/MA MPID is dependent on the Measurement Class field of the registration flow. Therefore if a change is made to the Measurement Class, it should be accompanied by a change in the MOA field (e.g. if the Measurement Class changes from Non Half Hourly UMS to Half Hourly Unmetered Supply, this should mean a change of agent e.g. UMSO to MA).

For any particular event, the SMRA shall apply one or more of the following validation criteria as appropriate:

 Data will only be accepted from the market participant that is the source of the data as defined in Section 3 of this document;

 Upon receipt of a change to the data within SMRS, SMRA shall validate that any of the following codes involved in the change are valid (in accordance with the Market Domain Data) on the effective date of the change:

 Data Aggregator Id

 Data Collector Id

 Energisation Status

 GSP Group Id

 Line Loss Class Id

 Measurement Class Id

 Meter Operator Id

 Profile Class Id

 Supplier Id

 Standard Settlement Configuration Id

 Upon receipt, from a Supplier, of changes to Metering System Registration Data the SMRA shall validate that the Supplier is liable for the SVA Metering System on the effective date of the change;

* Upon receipt of changes to Meter Information Data or Meter Asset Provider from a Meter Operator Agent, the SMRA shall validate that the Meter Operator Agent is appointed for the SVA Metering System on the effective date of the change.

 The SMRA shall validate that the Line Loss Factor Class provided by the LDSO for an MSID is a valid Line Loss Factor Class for that LDSO as provided by the SVAA as MDDM;

 Upon receipt from a LDSO, of changes to Metering System Registration Data, the SMRA shall validate that the LDSO is the SVA Metering System’s LDSO as determined from the SVA Metering System Identifier;

 Upon receipt of creation details for a new SVA Metering System from the LDSO, the SMRA shall validate that SVA Metering System identifier contains the correct Distributor Id and does not already exist.

 Upon receipt of a Registration from a Supplier, SMRA will validate that the SVA Metering System identifier exists.

 Upon a change of Profile Class and / or Standard Settlement Configuration, the SMRA shall validate that the resulting combination of Profile Class and Standard Settlement Configuration are valid in the SVA Metering System’s GSP Group on the effective date of the change, as specified by the Average Fraction of Yearly Consumption Set data provided by the SVAA as part of Market Domain Data.

 An existing SVA Metering System, may only be registered for supply if, in respect of the SVA Metering System being registered:

 the LDSO has provided all the relevant data for which it is the source; and

 all the data for which the Supplier is the source have been provided.

 where the 1998 Trading Arrangement Indicator has been set to ‘Y’.

 A new SVA Metering System where the Energisation Status has not yet been provided, may be registered for future supply if, in respect of the SVA Metering System being registered:

 the LDSO has provided the MSID, GSP Group Id; and

 the Supplier has provided the MSID, Supply Start Date;

 and the 1998 Trading Arrangement Indicator has not been set to ‘N’.

then, prior to the Energisation Status being set to “energised” or “de-energised”, the SMRA shall validate that:

 the LDSO has provided all the relevant data for which it is the source; and

 the Supplier has provided all the relevant data for which it is the source.

 A SVA Metering System that has been disconnected i.e. has a Disconnection Date, may not be registered for dates after the disconnection date.

Where the SMRA has rules used in validating notifications to the SMRS which are additional to those specified in this BSCP, the SMRA shall declare them to the relevant Supplier and DA and shall only change these additional rules in accordance with the procedures specified in the REC.

## 4.4 Contact Notice Facility

The SMRA shall provide a Contact Notice Facility in accordance with this Appendix 4.4.

The SMRA shall make the Contact Notice Facility available in the following circumstances:

 The Old or New Supplier, in relation to the current or pending registration for a particular MSID, reasonably believes that the New Supplier has been erroneously registered for that MSID;

 The Old Supplier in relation to the current registration wishes to assign to the New Supplier a debt owing to it by a Customer at Domestic Premises in accordance with the Old Supplier’s Supply Licence;

 The Old or New Supplier in relation to the current or pending registration reasonably believes that the New Supplier applied to register an MSID which is a Related MSID without applying to register all the relevant Related MSIDs at the same time; and/or

 The Old Supplier makes a change to one of the data items for which it is stated to be responsible in the SVA Data Catalogue, in relation to a MSID, and its instruction to the relevant SMRA is rejected and the reason for such rejection is stated to be the New Supplier’s registration.

Where the SMRA receives more than 50 requests for the Contact Notice Facility on any Working Day and the SMRA cannot receive requests via the Managed Data Network (other than as a result of a failure of the Managed Data Network), the SMRA shall use reasonable endeavours to provide as many Contact Notices as possible but shall only be required to provide 50 Contact Notices using the following allocation:

 A maximum of five per Supplier allocated in the order that the requests are received;

 Where the above rule has been complied with, any extra Contact Notices which have been requested shall be provided in the order in which they have been requested; and

 Any extra Contact Notices in excess of 50 requested in any Working Day or received after 15:00 hours on a Working Day, which the SMRA has not provided, shall be deemed to have been the first requested at the start of the next Working Day.

## 4.5 Refreshes

Where BSCCo or the Performance Assurance Board (PAB) instructs a NHHDA to request a Full Refresh, the SMRA shall send, in instruction format, a Full Refresh containing all relevant data covering those Settlement dates for which a Final Reconciliation Run has not yet taken place at the time the Full Refresh is generated.

For Selective Refreshes, or additional Full Refreshes initiated by mutual agreement between the SMRA and the Data Aggregator, a shorter Settlement period may apply.

Where an SMRA receives more than 50 requests for a Selective Refresh on any Working Day, the SMRA shall use reasonable endeavours to provide as many Selective Refreshes as possible but shall only be required to provide 50 Selective Refreshes using the following allocation:

 A maximum of five per Supplier or Data Aggregator allocated in the order that the requests are received;

 Where the above rule has been complied with, any extra Selective Refreshes which have been requested shall be provided in the order in which they have been requested; and

 Any extra Selective Refreshes in excess of 50 requested in any Working Day or received after 15:00 hours on a Working Day, which the SMRA has not provided, shall be deemed to have been the first requested at the start of the next Working Day.

Where an SMRA receives more than 3 requests for a Full Refresh within a 5 Working Day period, the SMRA shall use its reasonable endeavours to provide as many Full Refreshes as possible, but shall only be required to provide Full Refreshes in response to the first 3 requests received during that 5 Working Day period within 15 Working Days of the request. Any further requests received during that 5 Working Day period shall be deemed to have been received on the fifth Working Day after the receipt of the first request.

## 4.6 Resends

Where the SMRA receives more than 50 requests for a Resend on any Working Day, the SMRA shall use reasonable endeavours to provide as many Resends as possible but shall only be required to provide 50 Resends using the following allocation:

 A maximum of five per Supplier or Data Aggregator allocated in the order that the requests are received;

 Where the above rule has been complied with, any extra Resends which have been requested shall be provided in the order in which they have been requested; and

 Any extra Resends in excess of 50 requested in any Working Day or received after 15:00 hours on a Working Day, which the SMRA has not provided, shall be deemed to have been the first requested at the start of the next Working Day.

## 4.7 Service Level Performance Standards

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Serial** | **Sender** | **Process** | **Sub-Process** | **Recipient** | **Performance Measure** | **Service Levels** | **Reporting Method** |
| SP07 | SMRA | 1.6 Service Availability and Service Levels | SMRA & SVAA MSID Count – SMRA File | N/A | SMRA/SVAA MSID Count Comparison between SMRA and SVAA files | SMRA MSID Count | Provision of data under 1.6 |

1. For the avoidance of doubt, the SMRA can fulfil this obligation by an automatic acknowledgement of receipt sent by the SMRA’s Managed Data Network gateway [↑](#footnote-ref-2)
2. The SMRA shall maintain a history of change. [↑](#footnote-ref-3)
3. LLF Class Id will contain the actual LLF Class Id and not a default LLF Class Id. However, it is recognised that the default LLF Class Id may be the same in which case no change will occur. [↑](#footnote-ref-5)
4. If this is a Transfer of Registration to CMRS, the Disconnection Date shall be one day before the Effective From Date in BSCP68, Section 3.1. [↑](#footnote-ref-6)
5. Where a bulk change of agent is being initiated, BSCP513 must have been completed prior to triggering this process. Updates to the SMRS Database resulting from a bulk change of agent will be conducted without adversely impacting the SMRA’s normal daily operations. [↑](#footnote-ref-7)
6. The SMRA System must not preclude changes made by a Supplier before the Final Reconciliation Volume Allocation Run. [↑](#footnote-ref-8)
7. If the effective date of the change is before the current effective date contained in the SMRS, the Supplier will determine whether or not to correct the error as required by the BSC. [↑](#footnote-ref-9)
8. When registering a Supplier-serviced Metering System, the Supplier must ensure that the Meter Operator Id (J0178) is for their appointed NHHMOA, and that the value for Meter Operator Type (J0675) is valid in SMRS for the Measurement Class. [↑](#footnote-ref-10)
9. For notifications received before 18:00 on a Working Day, SMRA will reply by 06:00 on the next Working Day. [↑](#footnote-ref-11)
10. All continuous preceding NHHDAs that were appointed for the current Supplier Registration, in the previous 15 months of the current Supplier Registration, prior to the change. [↑](#footnote-ref-12)
11. Providing that the registration is received by 1800 on SSD. [↑](#footnote-ref-13)
12. For notifications received before 18:00 on a Working Day, SMRA will reply and notify by 06:00 on the next Working Day. [↑](#footnote-ref-14)
13. For notifications received before 18:00 on a Working Day, SMRA will notify by 06:00 on the next Working Day. [↑](#footnote-ref-15)
14. The SMRA shall provide a Contact Notice Facility in accordance with Appendix 4.4 and shall not provide automatic disclosure of the New Supplier’s identity. [↑](#footnote-ref-16)
15. This table applies to Non-Half Hourly Data Aggregation with effect from 1 April 2000. [↑](#footnote-ref-17)
16. Where an approved bulk change of agent affects the Non Half Hourly Data Aggregator, this process will be completed without adversely impacting normal daily operations. [↑](#footnote-ref-18)
17. For notifications received before 18:00 on a Working Day, SMRA will notify by 06:00 on the next Working Day. [↑](#footnote-ref-19)
18. Where the new connection is a Metering System which is associated with Exemptable Generating Plant and where the Export Meter(s) is Registered in CMRS, refer to section 3.10 ‘New Connection for Metering System which is associated with Exemptable Generating Plant and where the Export Meter(s) is Registered in CMRS’. [↑](#footnote-ref-20)
19. LLF Class Id will contain the actual LLF Class Id or where this is not known a default LLF Class Id. [↑](#footnote-ref-21)
20. If a Registration Transfer from CMRS, the Supply Start Date will be the “Effective From Date” defined in BSCP68, Section 3.2. [↑](#footnote-ref-22)
21. Agent Ids (DA/DC) and other marked items are not mandatory for a Supplier to register liability whilst the Energisation Status has not yet been provided. [↑](#footnote-ref-23)
22. For notifications received before 18:00 on a Working Day, SMRA will notify by 06:00 on the next Working Day. [↑](#footnote-ref-25)
23. For notifications received before 18:00 on a Working Day, SMRA will reply and notify by 06:00 on the next Working Day. [↑](#footnote-ref-26)
24. For notifications received before 18:00 on a Working Day, SMRA will notify by 06:00 on the next Working Day. [↑](#footnote-ref-27)
25. The SMRA shall provide a Contact Notice Facility and shall not provide automatic disclosure of the New Supplier’s identity. [↑](#footnote-ref-28)
26. A Full Refresh includes SMRS data for all the GSP Groups relevant to the DA’s activities. [↑](#footnote-ref-29)
27. If request for Refresh is refused, (e.g. for an MSID not registered on the SMRS), then the SMRA shall notify the applicant within 1 WD of request. The notification shall state the reason for the refusal. [↑](#footnote-ref-30)
28. For notifications received before 15:00 on a Working Day, the SMRA will reply by 06:00 on the next Working Day subject to a maximum of 50 per day. Where the SMRA receives more than 50 notifications on any Working Day, the SMRA shall process these notifications in accordance with Appendix 4.5 [↑](#footnote-ref-31)
29. For notifications received before 15:00 on a Working Day, the SMRA will reply by 06:00 on the next Working Day subject to a maximum of 50 per day. Where the SMRA receives more than 50 notifications on any Working Day, the SMRA shall process these notifications in accordance with Appendix 4.6 [↑](#footnote-ref-32)
30. If request for Resend is refused, (e.g. for message more than 28 Days old), then the SMRA shall notify the applicant within 1 WD of request. The notification shall state the reason for the refusal. [↑](#footnote-ref-33)
31. Note that a physical Disconnection will not occur where this process is used in conjunction with BSCP68 for a Registration transfer to CMRS. [↑](#footnote-ref-34)
32. Once recorded, the SMRA shall not remove any MSID from the SMRA System until two years after the Disconnection Date of that MSID (as notified to the SMRA by the LDSO). [↑](#footnote-ref-35)
33. Where the new connection is not associated with an Exemptable Generating Plant with the Export Meter(s) registered in CMRS, refer to section 3.6 ‘New Connection for SVA Metering System’. [↑](#footnote-ref-36)
34. Note that EFSD {REGI} is determined in 3.10.1 and cannot be changed via D0205 [↑](#footnote-ref-37)
35. For notifications received before 18:00 on a Working Day, SMRA will notify by 06:00 on the next Working Day. [↑](#footnote-ref-38)