## SSC D12
Licence number and name: |  | SSC D12: Requirement to offer terms for the provision of gas entry points and to respond to green gas entry applications
Ofgem contact: |  | Max Lambert
No. | Date raised | Comment from | Reference (Part X, Para Y) | Comment | Suggested alternative drafting (if necessary) | Assigned to | Due Date | Response | Issue closed?
1 | Sep ConDoc | NGN | Para 10 | The application needs to contain all the information that the licensee requires to undertake the study - "In response to a request for a new Green Gas entry connection, the licensee must provide an Initial Capacity Study within 15 working days of receipt of the application where the application contains all such information as the licensee may reasonably require to undertake the Initial Capacity Study" |  | Ofgem |  | The removal of the proposed GSOP on green gas entry (and Part D) means this comment is no longer applicable to any licence change. | Closed
2 | Sep ConDoc | NGN | Paras 10-14 | No customer evidence that this additional compensation is required. Quality rather than speed is usually of the essence, and the compensation values are minimal compared to scheme values |  | Ofgem |  | The removal of the proposed GSOP on green gas entry (and Part D) means this comment is no longer applicable to any licence change. | Closed
3 | Sep ConDoc | Cadent | Part A 1. | Is the term ‘Applicant’ defined? Can’t see it in the definition list. | Either define or remove capitalisation if not defined | Ofgem |  | This is not defined, and capitalisation will be removed. | Closed
4 | Sep ConDoc | Cadent | Part A 2. | Repeated phrase 'on which the licensee' | Delete ‘on which the licensee’ | Ofgem |  | This has been deleted. | Closed
5 | Sep ConDoc | Cadent | Part A 2. (b) | Missing word ‘applicant’ | Insert ‘applicant’ i.e. ‘offer the applicant up to’ | Ofgem |  | This has been amended. | Closed
6 | Sep ConDoc | Cadent | Part A 2. (c) | Clarification required on ‘far as the same will not be recoverable by the licensee from elsewhere, through making any necessary reinforcement to the pipe-line system to which this licence relates or carrying out any other activities necessary to enable the gas entry point to be made available’. At present any reinforcement required for entry connection will be wholly funded by the customer and not processed through the Economic Test as this is only applicable to the provision of exit connections. None of our 35 connected sites have required reinforcement. |  | Ofgem |  | This is unchanged from the RIIO-1 licence, and we feel the current drafting is suitable. D12 also relates to entry connections, and this specific clause outlines how the licensee will set out the terms on which the applicant will cover the licensee's reasonable costs for any reinforcement. | Closed
7 | Sep ConDoc | Cadent | Part A 4. (a) | ‘Act’ is not defined in the definition list, except for ET where it is defined as the Electricity Act |  | Ofgem |  | This has been defined. | Closed
8 | Sep ConDoc | Cadent | Part D | Policy to be agreed. GDNs collectively do not support voluntary standards for initial and detailed capacity studies to become formalised standards within the licence. Please see our detailed DD response to GDQ6. |  | Ofgem |  | The removal of the proposed GSOP on green gas entry (and Part D) means this comment is no longer applicable to any licence change. | Closed
9 | Sep ConDoc | Cadent | Part D 9. | If standards are established for ‘Green Gas’ entry connections, Ofgem must ensure other non-green gas entrants are not being discriminated against as per D12 Part B |  | Ofgem |  | The removal of the proposed GSOP on green gas entry (and Part D) means this comment is no longer applicable to any licence change. | Closed
10 | Sep ConDoc | Cadent | Part D 11. | Would need to have a list of parameters for a DAS to be deferred Assume the ‘Authority’ being Ofgem, why would they be involved in consenting a DAS deferral. This should be between the connectee and GDN |  | Ofgem |  | The removal of the proposed GSOP on green gas entry (and Part D) means this comment is no longer applicable to any licence change. | Closed
11 | Sep ConDoc | Cadent | A 3(b) | superfluous "the" |  | Ofgem |  | This has been amended. | Closed
12 | Sep ConDoc | Cadent | 13,14 | Under the Gas Act 1986 (GA), Ofgem can impose overall standards of performance under s33BA but standards of performance in individual cases for gas transporters must be made via a regulation with the consent of the Secretary of State (s.33AA). It is only under these regulations made under s.33AA (i.e. the Gas (Standards of Performance) Regulations 2005 - the "Regulations"), that compensation can be ordered to be paid. S.33AA refers to standards of performance in connection with the activities of has transporters, so far as affecting customers or potential customers of gas suppliers. Therefore: (1) Ofgem cannot order that compensation is paid in the licence without parliament amending the GA; and (2) Ofgem does not have the power under the GA (or elsewhere) to order compensation is paid to anyone other than customers or potential customers of gas suppliers. This would mean, for example, that, without a change to the GA, GDNs cannot be ordered to pay compensation in respect of green gas entry connections. |  | Ofgem |  | The removal of the proposed GSOP on green gas entry (and Part D) means this comment is no longer applicable to any licence change. | Closed
13 | Sep ConDoc | SGN | Part a - 3 (b) | (b) terms that offer the up to the maximum flow rate available from time to time on the pipe-line system to which this licence relates at the time of the offer, unless the applicant requests a lesser flow rate than the maximum available; | (b) terms that offer the applicant up to the maximum flow rate available from time to time on the pipe-line system to which this licence relates at the time of the offer, unless the applicant requests a lesser flow rate than the maximum available; | Ofgem |  | This has been amended. | Closed
14 | Sep ConDoc | SGN | Part a - 3 (c) | (c) terms that require the applicant to pay the licensee's reasonable costs incurred and a reasonable element of profit, so far as the same will not be recoverable by the licensee from elsewhere, through making any necessary reinforcement to the pipe-line system to which this licence relates or carrying out any other activities necessary to enable the gas entry point to be made available; | (c) terms that require the applicant to pay the licensee's reasonable costs incurred and a reasonable element of profit, so far as the same will not be recoverable by the licensee from elsewhere, through making any necessary reinforcement to the pipe-line system to which this licence relates or carrying out any other activities necessary to enable the gas entry point to be made available or continue to be made available; | Ofgem |  | We feel the current wording, which is unchanged from the RIIO-1 licence, is sufficient for the licensee to set out the relevant terms with the applicant. | Closed
15 | Sep ConDoc | SGN | Part D | New clause added to licence. | we request full removal of this clause as per our Licence Consultation response | Ofgem |  | The removal of the proposed GSOP on green gas entry (and Part D) means this comment is no longer applicable to any licence change. | Closed
16 | Sep ConDoc | WWU | Green Gas | Green Gas is defined as "means for the purposes of the condition, gas that meets the quality requirement of the distribution network into which it is injected, as per the requirements set out in the Gas Safety (Management) Regulations 1996, and is produced from Renewable Sources through a biological, chemical or physical process that includes biomethane from anaerobic digestion and Biogenic Synthetic Natural Gas (Bio-SNG) from gasification or pyrolysis." There is nothing intrinsically wrong with this definition, we understand the intent of the definition and distinguishing between gas that is like natural gas in composition and other gas like hydrogen where having obligations would not be reasonable but is does leave a gap for gases like coalbed methane that are like natural gas. These would not benefit from the obligations. We comment else where on the appropriateness of the obligations. | Ofgem to consider comment. | Ofgem |  | The removal of the proposed GSOP on green gas entry (and Part D) means this comment is no longer applicable to any licence change. | Closed
17 | Sep ConDoc | WWU | Definition of Initial Capacity Study | WWU generally uses 3% under point (c) in the definition but recognises that other networks use 1% therefore we are suggesting this amendment to allow licensees flexibility to given the largest entry capacity available on the particular network of interest. | Amend limb (c) of the definition by adding "or such higher percentage that the licensee considers appropriate taking into account the characteristics of the network demand on the relevant part of the licensee's pipe-line system" so that it reads as follows: "(c) The percentage level of network demand required to facilitate the requested injection rate and the forecast injection rate at a one percent of peak one-in-twenty year network demand level or such higher percentage that the licensee considers appropriate taking into account the characteristics of the network demand on the relevant part of the licensee's pipe-line system." | Ofgem |  | The removal of the proposed GSOP on green gas entry (and Part D) means this comment is no longer applicable to any licence change. | Closed
18 | Sep ConDoc | WWU | Part D, paras 10 to 14 | These are currently voluntary standards. Stakeholder feedback is that flexibility around the study and the quality of the responses is much more important than the timescale. The compensation payments are irrelevant given these are typically £5m + projects. | Maintain as voluntary standards with the wording in paragraph 10, 11 and 13 changed from "must" to "should". | Ofgem |  | The removal of the proposed GSOP on green gas entry (and Part D) means this comment is no longer applicable to any licence change. | Closed
19 | Sep ConDoc | Sep ConDoc | Special Condition 12 - Part D | We would not wish to include in the SI – stakeholders want flexibility on what they require us to look at and want a quality response rather than a poor response driven by timescales under an SI – compensation payment irrelevant in the context of multi million pound schemes. Proposed License D12 includes the timescales currently worked to as a voluntary standard. Ofgem have included ability for a customer to agree to an extension of time – we would like the wording changed from ‘must’ provide a study with 15/30 days to ‘should’. |  | Ofgem |  | The removal of the proposed GSOP on green gas entry (and Part D) means this comment is no longer applicable to any licence change. | Closed