## SpC 3.4
Licence number and name: |  | 3.4 Physical security Re-opener and Price Control Deliverable
Ofgem contact:
No. | Date raised | Comment from | Reference (Part X, Para Y) | Comment | Suggested alternative drafting (if necessary) | Assigned to | Due Date | Response | Issue closed?
15 | 2020-10-28 | SHET | Response to RIIO-2 Informal Licence Drafting Consultation | We would appreciate clarity from Ofgem on why the re-opener windowfrequency has changed in the draft Licence(compared to the position set out at DDs).The draft Licence (SpC 3.4.7) includes re-opener windows in each of the years 2023, 2024, and 2025 whereas DDs included onlyone mid-period re-opener window (in 2023,with close-out in 2026). It is not clear to us (from review of the consultation andthe associated LDWG Issues Log) why there is a requirement for a change to annual re-opener windows. We have concerns of how ‘Part D Authority triggered Re-opener’ will operate within the price control. Ofgem hasnot provided (within the licence conditionor Associated Document) detail onhow the process for an Authority triggered reopener (as set out in DDs paragraph 7.24) will work. This needs to be set out clearly within the licence and/or Associated Document. We are also concernedthat Part D and Part E of the condition should not use the same term (PSUPRt). This would imply that Part D adjustments can only be downward, whereas the intention of this is to adjust outputs and allowances upwards whereGovernmentworks have beenmandated. This is also apparent in theformula for calculatingthe Physical Security Price Control Deliverable term in Part A. This should be amended, with Part D of the condition being assigned a new Termor the PSUPRt term removed, and the formula changed to reflect this. |  |  |  | Change in re-opener windows was to reflect DD consultation responses that more flexibility was required as changes to government policy could occur at any time. Upon consideration of both LDWG and DD responses, will instead have a re-opener in Y3 and another at closeout Issue of authority triggered re-opener to consider generally, issue not specific to this condition. Licence specifies an adjustment to the allowance, not a reduction. Acknowledge adjustments can be upwards, don't consider it necessary to amend licence. | Closed
| 2020-10-28 | SHET | Part C 3.4.7 | We would appreciate clarity from Ofgem on why the re-opener window frequency has changed in the draft Licence (compared to the position set out at DDs). The draft Licence (SpC 3.4.7) includes re-opener windows in each of the years 2023, 2024, and 2025 whereas DDs included only one mid-period re-opener window (in 2023, with close-out in 2026). It is not clear to us (from review of the consultation nor the associated LDWG Issues Log) why there is a requirement for a change to annual reopener windows. |  |  |  | See above comment. | Closed
| 2020-10-28 | Cadent | 3.4.7 | Given that the work is security critical it may not be appropriate to publish information relating to critical national infrastructure on Ofgem's website. A consultation is required but should be on a need to know basis. Wording needs to either include a caveat saying it will publish details 'restricted to those which will not impact on national security' or replace this section with one which says that because of the secure nature of this work it will be conducted in confidence with Ofgem, the GDN and BEIS. |  |  |  | Agree security critical information will not be published on the Ofgem website. Do not consider it necessary for further redaction than removing site names. | Closed
| 2020-10-28 | Cadent | 3.4.7 | Drafting delivers position set out in DDs. However, policy needs revising in line with Cadent response to DDs. Our response to Core Document Q12 describes our position on re-opener windows. In summary, networks should be able to apply for a re-opener under any relevant UM in any given year of RIIO-2. However, networks should only have a maximum of two opportunities to make a submission for a given re-opener mechanisms over the length of the price control period. | An application to the Authority under paragraph [x] must be made Between [date] and [date] in any Regulatory Year, up to a maximum of two applications in the Price Control Period. |  |  | See above comment on re-opener windows. Will address at FDs | Closed
| 2020-10-28 | Cadent | 3.4.1 | Ofgems DD for Gas Distribution states in para 2.233 that Ofgem will remove the PCD for the GD sector. As such this whole section should only cover elements of a reopener not of base delivery. | Part A, Part B & PARt E should be removed, there is no PCD. |  |  | Condition is generic, if outputs are adjusted through re-opener these will become PCDs. For Cadent the list of outputs in appendix at start of RIIO-GD2 will be blank. | Closed
| 2020-10-28 | Cadent | 3.4.2 | References to delivery dates is not appropriate, timing is agreed with BEIS not Ofgem. | Remove 'delivery dates ' |  |  | We will keep reference to delivery date within the licence, and set in accordance with BEIS timings. | Closed
| 2020-10-28 | Cadent | 3.4.8c | References to delivery dates is not appropriate, timing is agreed with BEIS not Ofgem. | Remove 'delivery dates ' |  |  | See above comment. | Closed
| 2020-10-28 | Cadent | 3.4.8e | References to 'cost benefit analysis' should be removed, work is government mandated and agreed with BEIS | Remove 'cost benefit analysis' |  |  | Agree. re-drafted as 'providing such detailed supporting evidence as is reasonable in the circumstances' | Closed
| 2020-10-28 | Cadent | 3.4.10 | References to delivery dates is not appropriate, timing is agreed with BEIS not Ofgem. | Remove 'delivery dates ' |  |  | See above comment. Need to be consistent across condition. | Closed
| 2020-10-28 | Cadent | 3.4.14 | References to delivery dates is not appropriate, timing is agreed with BEIS not Ofgem. | Remove, the Regulatory Years to which those values relate |  |  | See above comment. Need to be consistent across condition. | Closed
| 2020-10-28 | Cadent | 3.4.14 | Appendix: BEIS assign standard codes for the sites of agreed work. These codes, where available could be used in the appendix for consistency whilst maintain secrecy. |  |  |  | Agree this is a sensible solution to confidentiality issue. Will use unique site identifiers rather than location names. | Closed
| 2020-10-28 | SGN | Appendix 1 | Definition of the relevant PSUP outputs is blank in the reviewed document. However, SGN has only one PSUP project in RIIO-GD2 and the scope is clearly defined and costed. |  |  |  | Appendix is generic example only. Company specific outputs will be added in company licences. | Closed
| 2020-10-28 | WWU | Part C, para 3.4.9 | Reference to Condition XX.6. The correct cross reference is to 3.4.6 | The correct cross reference is to 3.4.6 |  |  | Updated | Closed
| 2020-10-28 | NPg | General | Propose capitalising and defining Government throughout |  |  |  | Re-wording to remove ref to government | Closed
| 2020-10-28 | NPg | 3.4.5 | Propose replace para with 'The licensee must deliver the outputs in accordance with and by the delivery dates specified in Appendix 1 |  |  |  | Changing wording in line with general PCD wording, replaced must deliver with is funded to deliver throughout. Have amended sentence structure in line with NPg proposal. | Closed
| 2020-10-28 | NPg | 3.4 | Propose replacing PSUP with Physical Security throughout |  |  |  | Disagree. PCD is specific to PSUP-related costs, not general physical security costs. Have updated to Physical Security Upgrade Programmme throughout. | Closed