|  |  |  |
| --- | --- | --- |
| **NGN Final Determination** | | |
| **FDQ Query** | | |
| **Reference number** | NGN \_FDQ\_11 | |
| **Document Name** | RIIO-2 Final Determinations – GD Sector Annex  RIIO-2 Final Determinations – NARM Annex | |
| **Topic/Activity:** | NARMs | |
| **Question:** | Figure 5 within 3.131 of the GD Sector annex appears to show that an output for steel mains <=2inch mains and services is NARM as well as a partial NARM output for diversions mains & services (see area outlined in red in the diagram below). The NARM annex does not confirm which asset categories contribute to NARM at this level of detail, therefore can you confirm if the diagram is correct and whether or not it is only over-delivery that will contribute to the NARM target for these asset categories? | |
| **Confidential** | No | |
| **FDQ raised by** | Claire Spencer | |
| **Date Sent** | 15/12/2020 | |
| **Ofgem Response** | As discussed in meeting of 16th December, this issue should be resolved through the process for GDN recalculation of NARM outputs and allowances. | |