|  |  |
| --- | --- |
| **SGN Final Determination** | |
| **FDQ Query** | |
| **SQ Reference number** | SGN\_FDQ\_027 |
| **Document name** | GD2\_RepexVolumesHubModel |
| **Topic/Activity:** | Tier 1 workloads |
| **Question:** | Can you please confirm the rationale for the changes made to Tier 1 workload between those seen at DD and FD.  \*\*\*\*\*\*\*\*  Can you please confirm the rationale for the changes made to Tier 1 workload within the “GD2\_RepexVolumesHubModel” workbook.  \*\*\*\*\*\*\*\*  We have seen a substantial change in lay workloads in FD compared to those seen at DD. To allow us to complete our analysis could you please confirm the changes made and the rationale for making those changes. Please split out any aggregated changes by rationale. |
| **Confidential** | No |
| **FDQ Raised by** | SGN |
| **Date sent** | 07/01/2021 |
| **Ofgem Response:**  At DD, we adjusted Tier 1 workloads to reflect our proposals not to include dynamic growth workloads and SGN’s workloads associated with accelerated growth.  At FD, we adjusted Tier 1 workloads to reflect our decision not to include dynamic growth workloads for Tier 1. SGN removed workloads associated with accelerated growth from its BPDT resubmitted in Sept 2020. Therefore, we did not make further adjustments for these workloads at FD. | |
| **Attachments:** | |