## SpC_SLCX_SSCX
Licence number and name: |  | Medium Sized Investment Projects re-opener
Ofgem contact: |  | Joe Slater
No. | Date raised | Comment from | Reference (Part X, Para Y) | Comment | Suggested alternative drafting (if necessary) | Response | Issue closed?
1 | 2020-10-28 | SPT | 3.21.1 | In addition to the wider comments on how the MSIPt term contributes to the calculation of the Totex Allowance, noted that a direction from the Authority adjusts the value of the MSIPt term. However, whilst the direction refers to this adjustment, the adjustment does not link into this licence condition: no mechanism is specified in the condition for how the MSIPt term is adjusted. |  | This is one of several possible drafting approaches, we have preferred the one in our proposed modifications. | Closed
2 | 2020-10-28 | SPT | 3.21.1 (contd) | Furthermore, there is nothing in the licence setting out how the value of MSIPt is derived, or indeed how or when it is applied to the Totex Allowance. Clarity on this is needed in the licence drafting. |  | This is one of several possible drafting approaches, we have preferred the one in our proposed modifications. | Closed
3 | 2020-10-28 | SPT | 3.21.2 | It is unclear what “material changes to the costs...” means in this context? Is it intended to cover only the costs within scope (as detailed at 3.21.4 below) or something else? |  | This is introductory text. The materiality threshold that will apply is stated further down the condition | Closed
4 | 2020-10-28 | SPT | 3.21.4 (a) | Outlier definition still TBC | a Generation Connection project the forecast costs of which are more than X% that could be provided for under Special Condition 3.18 (Generation Connection volume driver) for a specific component unit rate (GUC, OHLGUC and GUCUC from Special Licence Condition 3.18) | Condition now drafted to reflect updated policy position | Closed
5 | 2020-10-28 | SPT | 3.21.4(a) and (b) | It is unclear what “at least double the level” means in the context of the Demand and Generation Connections Volume Drivers? At what point and how do you measure “at least double”? Is this meant to be a measure against the baselines set out in Appendix 2 of SpC 3.18/ 23 (as applicable)? If that is the intention, it is not clear from the drafting. Also how do these limbs operate where we have a disaggregated volume driver (separate substation, overhead line and cable rates) – would the MSIP Re-opener be triggered when one element has a forecast cost at least double the baseline, or can it only be triggered when all of the elements are double the baseline? |  | Condition now drafted to reflect updated policy position | Closed
6 | 2020-10-28 | SPT | 3.21.4 (b) | Outlier definition still TBC | a Demand Connection project the forecast costs of which are more than X% that could be provided for under Special Condition 3.19 (Demand Connection volume driver) for a specific component unit rate (DUC, OHLDUC and DUCUC from Special Licence Condition 3.19) | Condition now drafted to reflect updated policy position | Closed
7 | 2020-10-28 | SPT | 3.21.4(b) | Should cross refer to SpC 3.19 (Demand Connections volume driver) |  | Condition now drafted to reflect updated policy position | Closed
8 | 2020-10-28 | SPT | 3.21.4 (c) | There are occasions where we have to develop a NOA scheme without a “proceed”. Our Windyhill-Lambhill-Longannet 275kV Circuit Turn in to Denny North WLTI) is an example of this. We have indicated this project with an EISD of 2022 but NOA has always indicated this for delivery as 2023, to align with the East Coast works over B4. In order to get the outages required to deliver the East Coast we need to deliver WLTI ahead of this, and therefore although the economic need is not until 2023, the other driver (outages in this case) means that we are delivering this ahead of need. Additionally, NOA projects could be linked to the contracted energisation dates of connection projects. | (a) a Boundary Reinforcement Project that has received a NOA Proceed Signal in the most recent NOA, or suitable justification can be made; | Unclear from your explanation why the project wouldn't have a NOA proceed. These will be assessed on a case-by-case,basis; no provision required in the licence. | Closed
9 | 2020-10-28 | SPT | 3.21.4(d) (ii) | What is meant by a direction from government? This should include a direction from the relevant government agency responsible for flood prevention which in Scotland is the Scottish Environment Protection Agency (SEPA). Furthermore, is this also intended to capture a direction or requirement imposed by another public body? In Scotland, responsibility for flood risk management is spread across local authorities, SEPA and Scottish Water and each has powers in some shape or form. So the wording should be more expansive (e.g. …from government or a body which has responsibility for flood prevention). |  | Can be considered on a case-by-case basis in-period. No change required. We consider 'government' is broad enough to capture policy intent | Closed
10 | 2020-10-28 | SPT | 3.21.4 (e) | Remove "Published after 1st April 2021". If the Black Start Task Group publish recommendations in the period between now and April 1st, 2021 then we would need to adhere to these changes without funding. | e) Black Start Projects following the publication by government of a new Black Start Standard (or equivalent); | We don't agree that this is required, given low likelihood of changes within the next 3 months. | Closed
11 | 2020-10-28 | SPT | 3.21.4(j) | Insert “Project” after “Scheme” since this is the defined term set out in the proposed definitions. |  | Condition now drafted to reflect updated policy position | Closed
12 | 2020-10-28 | SPT | 3.21.4 | Appendix 1 referenced but no Appendix in condition | Appendix 1 added at bottom of licence condition | Drafting amended | Closed
13 | 2020-10-28 | SPT | Cl 3.21.5 | The stipulation of single re-opener window in January 2024 is prejudicial to TO's being able to deliver outputs that can be mandated by a number of parties. This is not in the interest of existing or future consumers as the stated works may have considerable benefit in terms of economic value and/ or security of supply. We have suggested moving to an Annual Reopener to reduce regulatory burden | The licensee may only apply to the Authority for an adjustment under paragraph 3.21.4 on an Annual Basis between [25 January and 31 January] | Condition now drafted to reflect updated policy position | Closed
14 | 2020-10-28 | SPT | 3.21.5 | Typo “Between” should be “between”. |  | Drafting amended | Closed
15 | 2020-10-28 | SPT | 3.21.6(a) | This requirement does not appear to be consistent with certain of the cost categories at 3.21.4 above, for example, if a system operability or constraint management project has been formally requested by the ESO, why should the TO then have to provide its own justification of technical need and consumer benefit? In any case, how is consumer benefit to be measured under this condition? |  | The drafting provides that consumer benefit will be assessed "where relevant", as it is acknowledged that it won't be relevant in all circumstances. | Closed
16 | 2020-10-28 | SPT | 3.21.6(b) and (c) | This provides for an adjustment to the MSIPt term but as detailed above the licence does not set out how MSIPt is set in the first instance. This requires clarification so that a licensee can make adjustments and explain how those adjustments are calculated. |  | This is one of several possible drafting approaches, we have preferred the one in our proposed modifications. | Closed
17 | 2020-10-28 | SPT | 3.21.6(e) | The requisite supporting evidence should be specified in the licence condition rather than housed in guidance which could be subject to change. We also refer to our comments in response to consultation questions 1 and 4 in Appendix 1 on drafting set out in guidance rather than in Associated Documents. |  | This is one of several possible drafting approaches, we have preferred the one in our proposed modifications. | Closed
18 | 2020-10-28 | SPT | 3.21.7(a) | This refers to exceeding the materiality threshold. However no Appendix 1 has been provided so it is not possible to comment on whether or not this drafting operates as expected. The application of the materiality threshold needs to be clearly explained. |  | Condition now drafted to reflect updated policy position | Closed
19 | 2020-10-28 | SPT | 3.21.8 | Given the process set out here for consulting on a direction, it is unclear why Ofgem would not proceed with a licence modification instead. The process set out here appears to have the same characteristics of the licence modification process, however, a direction removes the right of licensees to appeal to the CMA which is a key statutory protection which Parliament has afforded to licensees and which Ofgem should not override in this way. See also our comments on modification of licence conditions in our response to consultation question 1 in Appendix 1. |  | This is a wider RIIO-2 licence point rather than specific to this condition. | Closed
20 | 2020-10-28 | SPT | 3.21.9 | Reference to any relevant Opex uplift , however provides no detail on how this will/should be calculated. Is this meant to represent the Opex Escalator Indexation Re-opener term in the PCFM? |  | The relevant detail is in the definition, however, Opex esecalator now has its own condition. Please see that conditon. | Closed
21 | 2020-10-28 | SPT | 3.21.9 | As stated above in issue 3, the MSIPt (Row 45 of PCFM SPT Tab) will include any relevant Opex uplifts, however the Opex Escalator Indexation Re-opener term is a separate row within the PCFM (Row 47). This will lead to a double count. |  | The relevant detail is in the definition, however, Opex esecalator now has its own condition. Please see that conditon. | Closed
22 | 2020-10-28 | SHET | SpC 3.21.4 | We do not agree with the drafting as contained within 3.21.4 (i.e. project the forecast costs of which are at least double the level that could be provided for under Special Condition 3.18). As per our response to Draft Determinations this should be 33% higher. |  | Condition now drafted to reflect updated policy position | Closed
23 | 2020-10-28 | NGET | SpC 3.21.2 | In SpC 3.21.2, we suggest ending the sentence at “Medium Sized Investment Project Costs”, since the additional wording could be interpreted inconsistently with the detail and the reference to a specific materiality threshold. |  | Drafting amended | Closed
24 | 2020-10-28 | SHET | Part A heading | It is not consistent with the licence generally to use questions as headings. We suggest changing to “Costs within scope of this Re-opener”. |  | Drafting amended | Closed
25 | 2020-10-28 | SHET | SpC 3.21.4 | In SpC 3.21.4, we suggest replacing “…for costs…” with “…in relation to projects…”. It is incorrect to refer to costs only, when the changes to Appendix 1 will cover other details. |  | Condition now drafted to reflect updated policy position | Closed
26 | 2020-10-28 | SHET | SpC 3.21.4(a) and (b) | Notwithstanding our threshold policy point above, in both sub-paragraphs SpC 3.21.4(a) and (b), we suggest “…double the amount that could be allowed for that project under…”. If this is not the intention, we request that this is discussed with us further. The current drafting is not clear. |  | Condition now drafted to reflect updated policy position | Closed
27 | 2020-10-28 | SHET | SpC 3.21.4(b) | In SpC 3.21.4(b), the reference here should be to SpC 3.19. |  | Drafting amended | Closed
28 | 2020-10-28 | SHET | SpC 3.21.4(d) | In SpC 3.21.4(d), we suggest replace “…that is required following…” with “…the purpose of which is to follow…”. The current wording could be interpreted as only relating to legal requirements. For clarity, we also suggest that “direction” should be replaced by “request”. |  | Drafting amended | Closed
29 | 2020-10-28 | SHET | SpC 3.21.4(f) | In SpC 3.21.4(f), we suggest removing “formally” or making more clear what is required for a decision to be formal. |  | Drafting amended | Closed
30 | 2020-10-28 | SHET | SpC 3.21.4(h)(ii) | In SpC 3.21.4(h)(ii), we suggest replacing “a requirement” with “a need”. …”. The current wording could be interpreted as only relating to legal requirements. |  | Drafting amended | Closed
31 | 2020-10-28 | SHET | SpC 3.21.4(k) | In SpC 3.21.4(k), we suggest replacing “required” with “requested”, since the current wording could be interpreted as only relating to legal requirements. |  | Condition now drafted to reflect updated policy position | Closed
32 | 2020-10-28 | SHET | SpC 3.21.5 | In SpC 3.21.5, we suggest replacing “an adjustment” with “a direction”. |  | This is one of several possible drafting approaches, we have preferred the one in our proposed modifications. | Closed
33 | 2020-10-28 | SHET | SpC 3.21.6(a) | In SpC 3.21.6(a), we suggest replacing “and, where relevant, the consumer benefit…” with “…and any consumer benefit…”. |  | Condition now drafted to reflect updated policy position | Closed
34 | 2020-10-28 | SHET | SpC 3.21.6(d) | In SpC 3.21.6(d), we suggest “that the licensee has delivered or proposes to deliver...” to account for instances where the output has already been delivered. |  | Drafting amended | Closed
35 | 2020-10-28 | SHET | SpC 3.21.7 | The reference in SpC 3.21.7 should be to SpC 3.21.6. We note that the words “for the licensee” are redundant. |  | Drafting amended | Closed
36 | 2020-10-28 | SHET | Part D | It is not consistent with the licence generally to use questions as headings. We suggest changing to “Process for making directions under this condition”. |  | Drafting amended | Closed
37 | 2020-10-28 | SHET | SpC 3.21.9 | SpC 3.21.9 is inconsistent with SpC 3.21.4 and we suggest that they should be made consistent. In other words, the direction will set out the amendments to outputs, delivery dates and allowances (including any relevant Opex Uplift) in Appendix 1. Whether MSIPt should be referred to will depend upon the formula (see below). |  | This is one of several possible drafting approaches, we have preferred the one in our proposed modifications. | Closed
38 | 2020-10-28 | SPT | Appendix 1 | Appendix 1 is currently missing from the draft and so we have been unable to comment on how this will interact with the drafting. |  | Condition now drafted to reflect updated policy position | Closed
39 | 2020-10-28 | SPT | Definitions | In the definition of Medium Sized Investment Project, there is a typo (“kindlisted”) and the references need to be updated. |  | Drafting amended | Closed
40 | 2020-10-28 | SPT | 3.21.9 | Opex uplift is a defined term but in 3.18 Generation and 3.19 Demand volume driver algebra for opex uplifts is stated. Propose inclusion of opex algebra in this term also. |  | The relevant detail is in the definition, however, Opex esecalator now has its own condition. Please see that conditon. | Closed
41 | 2020-10-28 | SPT | MSIPt formula | There is no specified formula for the calculation of MSIPt. |  | This is one of several possible drafting approaches, we have preferred the one in our proposed modifications. | Closed
42 | 2020-10-28 | SPT | 3.21.4 | The licence states that any re-opener will result in an update to the appendix that feeds into the formula. We require further explanation from Ofgem as to how this mechanism will work in practice without causing circularity of calculation. |  | This is one of several possible drafting approaches, we have preferred the one in our proposed modifications. | Closed
43 | 2021-01-19 | SPT | 3.14.6 © | Funding will only be received for a black start project as a result of a Government published standard after April 2021. There is a risk that anything published before then will not be covered even though the funding will be required in the T2 period. Suggest that this date is removed. Additionally, a publication may not explicitly come from a governing body, removing "by government" mitigates against this risk. |  | Drafting amended | Closed
44 | 2021-01-19 | SPT | 3.14.6 | Reference is made in the ET annex (4.21 and 4.22) to Pathfinder projects. Ofgem comments that Pathfinder projects can be covered via MSIP. These may not always have a planning request from the ESO and therefore should have their own separate term in the licence to avoid any confusion. |  | This is one of several different valid drafting approaches and we have chosen the one set out in our licence modifications. We consider that the system operability provision is sufficiently broad to allow for submission of pathfinder projects, where necessary. | Closed
45 | 2021-01-19 | SPT | 3.14.10(b) | Clarification required on Ofgem's expectation of how the Materiality Threshold is to be applied in this licence given the range of triggers under 3.14.6. For example, is this on a cumulative basis within a trigger category (eg 3.14.6c) or across one or more categories or an alternative. A clear set of rules is necessary for TO's to understand and apply this mechanism correctly in a fair and consistent manner. |  | This is one of several different valid drafting approaches and we have chosen the one set out in our licence modifications. 3.14.6 says the aplication can be for one or more of the areas and does not preclude this being cumulative. | Closed
46 | 2021-01-19 | SPT | 3.14.6(d)(ii) | What is meant by "a request from government"? This should include a request/ direction from the relevant government agency responsible for flood prevention which in Scotland is the Scottish Environment Protection Agency (SEPA). Furthermore, is this also intended to capture a direction or requirement imposed by another public body? In Scotland, responsibility for flood risk management is spread across local authorities, SEPA and Scottish Water and each has powers in some shape or form. So the wording should be more expansive (e.g. …from government or a body which has responsibility for flood prevention). |  | Drafting amended | Closed
47 | 2021-01-19 | SPT | 3.14.9(c) | This requirement does not appear to be consistent with some of the cost categories at 3.14.6 above, for example, if a system operability or constraint management project has been formally requested by the ESO, why should the TO then have to provide its own justification of technical need and consumer benefit? We request clarity on the process for justification where a project is formally requested by the ESO, and the TO solution has already been demonstrated to be the most cost effective. Furthermore, how is consumer benefit to be measured under this condition? |  | This is one of several different valid drafting approaches and we have chosen the one set out in our licence modifications. Technical need should always be set out, even if this just relates directly back to an ESO request, for example. Measurement of consumer benefit | Closed
48 | 2021-01-19 | SHET | 3.14.6 © | We are anticipating an updated BEIS Black Start restoration standard prior to 1 April 2021 which may require works undertaken during RIIO-T2. We would therefore request that Ofgem remove reference to ‘published on or after 1 April 2021’ so as to not restrict TOs and Government from implementing a new Black Start restoration published prior to this date during the course of RIIO-T2. |  | Drafting amended | Closed
49 | 2021-01-19 | NGET | 3.14.3 | The second cross-reference is incorrect and should be “3.14.12”. |  | Drafting amended | Closed
50 | 2021-01-19 | NGET | Part A, Heading | For consistency with SpC 3.14.1, “Price Control Deliverable” should be removed from the description of the term. |  | Drafting amended | Closed
51 | 2021-01-19 | NGET | 3.14.4 | The definition of “MSIPAt” does not work because the algebraic term MSIPAt pertains to a single Regulatory Year t, whereas the “sum of allowances in Appendix 1” is a summation of values over five Regulatory Years t=1 to t=5.We propose changing to “means the sum of allowances for Regulatory Year t in Appendix 1”. |  | The PCFM needs to have five annual values representing the net PCD allowance, represented by the t notation. The total of the baseline allowance less any directed reductions. So although PCDs get evaluated at the end of the price control, we still need the subscript t and a number for each year. | Closed
52 | 2021-01-19 | NGET | 3.14.6 | Reference to amending outputs, dates and allowances in Appendix 1 does not work as there are no projects to amend. We propose a wording change to “The licensee may apply to the Authority for a direction adding to or amending the outputs, delivery dates...” |  | This is one of several different valid drafting approaches and we have chosen the one set out in our licence modifications. | Closed
53 | 2021-01-19 | NGET | 3.14.6 (a) and (b) | We understand the policy position to be that generation and demand connection projects with a new overhead line component would be eligible for MSIP (FD, NGET Annex, para 4.5). We propose adding, “...project, including the new overhead line related to that project, the forecast... ” to both (a) and (b). In addition, we propose that the following correction is made in each sub-paragraph“at least £11.84m...”. |  | Drafting amended | Closed
54 | 2021-01-19 | NGET | 3.14.6(c)(i) | On our understanding of the technical terms used, we propose that it would be clearer to refer to “on a new boundary; or”. |  | This is one of several different valid drafting approaches and we have chosen the one set out in our licence modifications. | Closed
55 | 2021-01-19 | NGET | 3.14.6(c)(ii) | Our understanding of the policy intent is that projects delivering outputs in the first 2 years of T3 (i.e. T2+2; 26/27 & 27/28) would be funded via the WW volume driver and that this sub-paragraph in MSIP was to provide a route to funding projects that deliver beyond this period (i.e. 28/29 and beyond). If this was the intent we suggest wording changed to “...expected to finish after 1 April 2028 but no later than April 2031”. |  | Drafting amended | Closed
56 | 2021-01-19 | NGET | 3.14.6(d) | We propose that (i) should be changed to “the Energy Networks Association’s report titled ‘Engineering Technical Report (ETR138)’ guidance on flooding, as amended from time to time”. We also note that the definition of Flooding Defence Project should be changed to remove the words “...in accordance with a defined standard”, which are unclear and do not align with the explanation of the policy in FD ET Annex, p.81, Table 7. |  | This is one of several different valid drafting approaches and we have chosen the one set out in our licence modifications. | Closed
57 | 2021-01-19 | NGET | 3.14.6(e) | We understand that the new Black Start Standard may be published before 1 April 2021 and therefore propose removal of “..., published on or after 1 April 2021”. |  | Drafting amended | Closed
58 | 2021-01-19 | NGET | 3.14.6(f) | We propose changing the wording to read “a system operability, constraint management, or 0MW connection project or substation work which is required to accommodate embedded generation, which in each case has been requested in writing by the System Operator”. This makes provision for 0MW generation and demand connections (such as those arising out of ESO pathfinders or connection agreements) as referred to in FD ET Annex, para 4.22, but not (so far as we can see) clearly incorporated in the licence. It also covers LV substation rebuilds required as a result of increasing embedded generation near to a GSPtriggered by a DNO modification application to the ESO or the ESO Statement of Works process which we understand from discussions may fall within the Re-opener. Finally, it also makes clear that the ESO’s request in each case is required to be in writing, as in FD ET Annex, p.81, Table 7. It is not clear what is meant in the current drafting by “formally” and this does not align with the FD. |  | This is one of several different valid drafting approaches and we have chosen the one set out in our licence modifications. We consider that the system operability provision is sufficiently broad to allow for submission of pathfinder projects, where necessary. | Closed
59 | 2021-01-19 | NGET | 3.14.6(g) | We propose deleting the words “NETS SQSS compliance...”since it is not clear what they add to following words in the sub-paragraph. |  | Drafting amended | Closed
60 | 2021-01-19 | NGET | 3.14.6(h) | We propose changing “...that are required following...” to “...that are needed following...”,since the current wording could be interpreted as only relating to legal requirements. Our understanding from the issue log is that Ofgem has accepted this change.3.14.6(i)We propose changing “...that are required following” to “...that are needed following...”, as above. |  | Drafting amended | Closed
61 | 2021-01-19 | NGET | 3.14.9 | There is a typo here. “...application...” should be “...applications...”. |  | Drafting amended | Closed
62 | 2021-01-19 | NGET | 3.14.10(b) | We propose that the words “setting out...” are deleted, since they do not follow correctly from the opening wording of the paragraph and are not needed. |  | Drafting amended | Closed
63 | 2021-01-19 | NGET | 3.14.10(c) | We propose that the word “...detailed ...” is deleted, since this is not sufficiently clear to form the basis of a licence obligation. The Re-opener Guidance and Application Requirements Document can set out further relevant detail that should be provided. |  | This is one of several different valid drafting approaches and we have chosen the one set out in our licence modifications. | Closed
64 | 2021-01-19 | NGET | 3.14.11(b) | To make clear of the scope of the limitation we propose adding a point in time to the criteria, “..., but are less than £100m at the time of application; and”. We request that the definition of Materiality Threshold is changed to include the threshold for the licensee only. |  | This is one of several different valid drafting approaches and we have chosen the one set out in our licence modifications. | Closed
65 | 2021-01-19 | NGET | 3.14.13 | The second cross-reference is incorrect and should be “3.14.12”. |  | Drafting amended | Closed
66 | 2021-01-19 | NGET | 3.14.15 | The cross-reference is incorrect and should be “3.14.12”. |  | Drafting amended | Closed
67 | 2021-01-19 | NGET | Appendix 1 | To align with the formula, our understanding is that allowances should be provided per Regulatory Year. |  | The PCFM needs to have five annual values representing the net PCD allowance, represented by the t notation. The total of the baseline allowance less any directed reductions. So although PCDs get evaluated at the end of the price control, we still need the subscript t and a number for each year. | Closed
Formulas:
Date raised = [Date raised, row above]