## SpC_3.29_SPT_Uncert_NLR_Projs
Licence number and name: |  | SpC 3.29: SPT Uncertain Non-Load Related Projects
Ofgem contact: |  | Peter Tuhumwire
No. | Date raised | Comment from | Reference (Part X, Para Y) | Comment | Suggested alternative drafting (if necessary) | Response | Issue closed?
1 | 2020-08-12 | SPT | 3.24.4 | What are “equivalent outcomes”? Appendix 1 lists projects, not outcomes. If we need to adjust the value of UNLRt for “equivalent outcomes”, we need to know that there are baseline outcomes and how these would be compared. There is a risk this ambiguity could create issues for both Ofgem and SPT (given that the baseline outcomes are not described in the licence). |  | Removed. | Closed
2 | 2020-08-12 | SPT | 3.24.6(a) | The “revised forecast costs” are presumably as compared to the costs submitted in the Business Plan? The “baseline forecast costs” should be set out in the licence. |  | Removed “revised forecast costs". Costs are covered by subsequent paras. | Closed
3 | 2020-08-12 | SPT | 3.24.6 ( e) | This refers to “outputs” – are these different to “outcomes” as referred to in XX.4? |  | Revised - outputs will be set when directing an adjustment to the value of UNLRRt. | Closed
4 | 2020-08-12 | SPT | 3.24.9/ intro text to Appendix 1 | This introductory text is not necessary and the FD should not be referenced. |  | Removed. | Closed
5 | 2020-11-09 | SPT | 3.24.4 | value of UNLRRt should not be capable of being greater than UNLRAt - and this should be expressly provided for in the definition of UNLRRt |  | Disagree. Do not envisage a scenario where UNLRRt can be greater than UNLRAt. | Closed
6 | 2020-11-09 | SPT | 3.24.6 | As set out in detail in our response to DD, we do not support the number and timing of the reopener window proposed in XX.6. In our response, we propose annual windows with a requirement for the company to notify Ofgem of its intent to submit a proposal 3 months in advance |  | Added five windows: "24 April 2021 and 30 April 2021; 25 January 2022 and 31 January 2022; 25 January 2023 and 31 January 2023; 25 January 2024 and 31 January 2024; and 25 January 2025 and 31 January 2025." | Closed
7 | 2020-11-09 | SPT | 3.24.4 contd | Is UNLRAt meant to be cumulative or per project? This isn't clear by simply referring to Appendix 2. Also how and when does the value of UNLRt feed into the term PCDt? This isn't clear from the drafting. |  | UNLRAt is cumulative - updated definition to say "means the sum of allowances in Appendix 2". Re UNLRt, please refer to the PCFM. | Closed
8 | 2020-11-09 | SPT | 3.24.4 contd | Is it intended that the allowances and outputs will be set in Appendix 2 before T2 begins? |  | No. It is intended that the allowances and outputs will be set at the point of approval of SPT's submission under the reopener. | Closed
9 | 2020-11-09 | SPT | 3.24.5 | If the re-opener means that we are applying for allowances set out in Appendix 2 which relate to projects set out in Appendix 1, should Appendix 2 and Appendix 1 not be merged to an extent? At the very least the same projects should be referenced in both. |  | No. Appendix 1 sets out the proposed projects only. Appendix 2 will capture all or some of the projects submitted for approval to Ofgem by SPT. Leaving Appendix 2 blank allows SPT the flexibility needed for this. | Closed
10 | 2020-11-09 | SPT | 3.24.9 | A general point which relates to PCDs more broadly - we need to see the PCD Reporting Requirements and Methodology Document to comment on this fully. However, the extent to which something is not Fully Delivered, but instead is e.g. Partly Delivered/ Delivered Late will have an impact on the adjustment to the value of UNLRRt that the Authority can make - given this relates to allowances for projects being undertaken by the licensee, it is of critical importance that these definitions are contained in the Licence and not in a guidance document which can be amended by limited consultation and no rights of appeal to the CMA. |  | Noted. | Closed
11 | Informal Consultaion Response | SPT | 3.24.7 | The stipulation of the first re-opener window in January 2024 is prejudicial to SPT being able to deliver any of the outputs associated with the named projects. This is not in the interest of existing or future consumers as the stated works have a condition driver which we are seeking to deliver in the most cost-efficient manner given the timing uncertainties. | The re-opener window to be brought forward earlier in RIIO-T2; coupled with greater flexibility in the adoption of subsequent windows so that SPT or the authority may trigger (with no more than one re-opener application in a defined period). We suggest an annual reopener to address these issues. | Added five windows: "24 April 2021 and 30 April 2021; 25 January 2022 and 31 January 2022; 25 January 2023 and 31 January 2023; 25 January 2024 and 31 January 2024; and 25 January 2025 and 31 January 2025." | Closed
12 | Informal Consultaion Response | SPT | General | As with 3.2.2 above, “Price Control Deliverable” is being used by Ofgem as a catch-all term across the licence. In the context of 3.24 all references to “the Price Control Deliverable” should be to “the Price Control Deliverable associated with uncertain non-load related projects” so that, e.g., the outputs delivery dates and allowances for the wider works PCD is captured by the drafting, rather than those associated with, e.g. the cyber resilience IT PCD. |  | Disagree. We think it is clear that what will be assessed will be the outputs specified in Appendix 2. | Closed
13 | Informal Consultaion Response | SPT | General | In Annex 20 (Chapter 6) SPT identified that the required works (asset condition driven) and costs for several of the proposed non-load works identified in this licence condition were not uncertain but the timing of the intervention was, due to interaction with potential load projects. We did not include these in our baseline with such high uncertainty at the start of the price control; rather, we proposed there inclusion in an Uncertainty Mechanism. The inclusion of the projects in an uncertainty mechanism will minimise risks for both consumers and the licensee as allowances would only be triggered when there was sufficient certainty. The six projects were documented in the same manner as baseline schemes, namely full Engineering Justification Papers and CBAs. By providing the costs and need case of the projects as part of the business plan, SPT sought to provide sufficient information so that they could be assessed by Ofgem in a consistent manner alongside baseline projects to ensure cost efficiency and certainty of need case. The wording and content of the licence condition does not appear to take account of the information already provided (e.g. Cl 3.24.8 item (d)). We would request further clarity from Ofgem on the treatment of projects - within this list - where our proposals are not materially altered from the Business Plan submission. This would minimise the regulatory burden on both Ofgem and SPT.' |  | Where projects haven't changed SPT may submit the same content and level submitted as part of the RIIO-T2 business plan for these projects. Leaving the option in the licence for providing this information allows the necessary flexibility to provide updated information incase of changes to the proposed works. | Closed
14 | Informal Consultaion Response | SPT | 3.24.4 | UNLRt– it is not clear from the drafting when this value is to be derived or how it is intended to feed into the Totex Allowance. It should be made clear in the licence drafting. |  | UNLRt value to be derived when applications under this reopner are approved. Refer to the PCFM on how it feeds into totex allowance. | Closed
15 | Informal Consultaion Response | SPT | 3.24.4 (contd) | UNLRt– this states the “sum of the allowances” - we understand this is intended to capture the sum of the allowances, on an annual basis (for year t), across all of the outputs set out in Appendix 1. However, the drafting currently sums up across all years and all outputs. The drafting should be revised to refer only to the relevant allowances for the relevant Regulatory Year. |  | The term is intended to capture sum of allowances across the price control where projects (and associated allowances) have been approved. The "t" in UNLRt stand for "term" and not "year t". UNLRt is the uncertain non-load related projects term. | Closed
16 | Informal Consultaion Response | SPT | 3.24.4 (contd) | Also the value of UNLRRt should never be greater than UNLRAt – so the wording “provided always that it shall never have a value greater than UNLRAt” should be added. |  | Diagree. No changes necessary. | Closed
17 | Informal Consultaion Response | SPT | 3.24.4 | The core formula ( UNLRt = UNLRAt - UNLRRt ) could be interpreted to infer reductions as it is not stated whether the adjustment term (UNLRRt) can take a positive (reduction) or negative (addition) value. This arrangement is common across multiple licence conditions and clarity is required on the adjustment terms. The term UNLRRt needs to be defined to ensure that it is not mis-interpreted. As the 'A' is already taken to signify 'allowance' and cannot be used again to signify 'adjustment' clarity is requested on whether the last letter 'R' is used to signify, 'revision'. The formula is not clear on the inclusion of the OEt term - this treatment needs to be consistent across all licence conditions that relate to additional allowances. Any value of UNLLRt directed by the Authority cannot be greater than UNLRAt |  | Disagree. We do not envisage a scenario where UNLRRt can be greater than UNLRAt. | Closed
18 | Informal Consultaion Response | SPT | 3.24.4 | The schemes listed in Appendix 1 do not form part of the baseline submission. The term UNLRAt, therefore, needs to include an Opex Escalator (OEt) term (as defined in SpC3.18.3 and elsewhere, for example). Please also refer to our comment on 3.24.13 (a) below in relation to UNLRRt term as treatment of OEt should be consistent. |  | Addressed in the Opex escalator term. | Closed
19 | Informal Consultaion Response | SPT | 3.24.5 | The table in Appendix 2 appears to only relate to the five years of RIIO-T2. In coming to a decision on an individual project this may necessitate a commitment to expenditure in RIIO-T3, which requires to be taken into account (e.g. XH & XJ routes). |  | Funding under this reopener is limited to RIIO-T2. | Closed
20 | Informal Consultaion Response | SPT | 3.24.5 | Is it intended that the allowances and outputs will be set in Appendix 2 before T2 begins? It's not clear how this could be done if the reason these projects are not in the baseline is because of uncertainty regarding timing, solutions and therefore costs? If the re-opener means that we are applying for allowances set out in Appendix 2 which relate to projects set out in Appendix 1, should Appendix 2 and Appendix 1 not be merged to an extent? At the very least the same projects should be referenced in both. |  | No. Appendix 1 sets out the proposed projects only. Appendix 2 will capture all or some of the projects submitted by SPT in a firm form (solution, scope, costs, etc.). Leaving Appendix 2 blank allows SPT the flexibility needed for this. | Closed
21 | Informal Consultaion Response | SPT | 3.24.6 | Potential typo. Reference made to Appendix 3 when there are only two Appendices | The licensee may apply to the Authority for a direction amending the outputs, delivery dates and associated allowances in Appendix 2 where there is a need to undertake work in relation to a Non-Load Related Project in Appendix 1. | Corrected | Closed
22 | Informal Consultaion Response | SPT | 3.24.7 | The double “..” at 3.24..6 should be corrected and typo “Between” should be “between” |  | Corrected | Closed
23 | Informal Consultaion Response | SPT | 3.24.8 | Unclear on reopener process. Do we need to make a full application if nothing has changed and we want to progress? These schemes were agreed with Ofgem as part of our baseline submission so if nothing has changed and the need becomes clear then allowance should be automatically provided where project scope is not materially changed. |  | Schemes not agreed as part of baseline, hence the need for the reopener. SPT must follow reopener process to get funding for these projects. These schemes have been provisionally assessed as part of the BP submission, however there are no baseline allowance for them. If no material change to scope and costs then we would expect reopener submission to similar to what was submitted in support of the RIIO-2 business plan. | Closed
24 | Informal Consultaion Response | SPT | 3.24.8 | The double “..” at 3.24..6 should be corrected. Furthermore, should this application not also set out the amendments proposed to the term UNLRAt? |  | Corrected. The drafting refers to amending allowances - no need to refer specifically to UNLARt. | Closed
25 | Informal Consultaion Response | SPT | 3.24.10 | There is a wider principle here, in that adjustments to UNLRRt have an impact on the Totex Allowance. The means and reasons for any adjustment to UNLRRt must be objective, measurable and transparent. Whilst the term “Fully Delivered” is defined in the licence, the extent to which it is not “Fully Delivered” must also be set out in the licence (e.g. Partially Delivered; Delivered an Equivalent Output). It is not appropriate that such terms and any mechanism for UNLRRt to be anything other than zero to be set out in Guidance, which Ofgem can modify with limited consultation with licensees and no rights of appeal to the CMA. We note that in the current draft PCD Reporting Methodology Document Draft v2 as issued by Ofgem on 12 October 2020 that such terms, including Partially Delivered, Fully Delivered and Fully Delivered the PCD Output with alternative solution are all defined in an Annex to the proposed Guidance; these definitions could easily be and should be set out in the licence. We also refer to our comments in response to consultation question 1 in Appendix 1 on defining terms by reference to Guidance and our comments in response to question 20 in Appendix 1 in respect of Ofgem's PCD principles. |  | Noted. Wider point about PCD assessment. | Closed
26 | Informal Consultaion Response | SPT | 3.24.10 | SpC 3.24.10 refers to a, 'PCD Reporting Requirements and Methodology Document'. The comments contained herein are stated on the basis that this document was not available for the licence condition consultation (Sep 2020). |  | Noted. | Closed
27 | Informal Consultaion Response | SPT | 3.24.13 (a) | The formula needs to be explicit in terms of the items that are included and the manner in which they are applied. In this case OEt should be recognised (see comment on 3.24.4) as an adjustment that may add or subtract to totex allowances. |  | Disagree. We think the drafing is sufficiently clear. OEt is dealt with elsewhere. | Closed
28 | Informal Consultaion Response | SPT | 3.24.13 | Reference to any relevant Opex uplift , however provides no detail on how this will/should be calculated. Is this meant to represent the Opex Escalator Indexation Re-opener term in the PCFM? |  | Opex escalator is now proposed as a standalone condition - please refer to that. | Closed
29 | Informal Consultaion Response | SPT | 3.24.13 | As stated above in issue 3, the UNLRRt (Row 50 of PCFM SPT Tab) will include any relevant Opex uplifts, however the Opex Escalator Indexation Re-opener term is a separate row within the PCFM (Row 47). This will lead to a double count. |  | Opex escalator is now proposed as a standalone condition - please refer to that. | Closed
30 | Statutory Consultation Response | SPT | 3.29.7 | Para 4.6 of FD states that "we considered SPT's response and agree that an annual re-opener window would not be overly burdensome on either Ofgem or SPT. As a result, we have decided to accept this change". Yet, only 2 reopener windows are included in the licence provision. | Add the following reopener windows to the licence condition "between 25 January 2023 and 31 January 2023" and "between 25 January 2025 and 31 January 2025" and "between 25 January 2026 and 31 January 2026". | Added five windows: "24 April 2021 and 30 April 2021; 25 January 2022 and 31 January 2022; 25 January 2023 and 31 January 2023; 25 January 2024 and 31 January 2024; and 25 January 2025 and 31 January 2025." | Closed