## Explanation
This Appendix has been published alongside the Ofgem consultation: CMP343 - Minded-to decision and draft impact assessment, and should be read alongside that document.
It includes draft tariffs impacts for the different WACMs according to the assumptions in the Assumptions tab.
'List of Tariffs_All' includes tariffs for all of the WACMs.
'Flooring_IA' and 'Banding_IA' contain the source data for the tariff tables that appear in the consultation document.
Subsequent tabs separate out the draft tariff impacts for each of the different options, from the Original to WACM9.

## List of Tariffs_All
|  | £/site/year | Flooring approach
Description of Proposed Solution |  |  | Floor at 0 (Original, WACMs 1, 2, 9) | No Floor (WACMs 3, 4, 5) | Locational Adjustment (WACMs 6, 7, 8)
|  |  | GB-wide |  | Northern Scotland | Southern Scotland | Northern | North West | Yorkshire | N Wales & Mersey | East Midlands | Midlands | Eastern | South Wales | South East | London | Southern | South Western
Transmission Connected | One Band (Original, WACMs 3, 6) |  | 675605.1087 | 740408.3196 | 338373.2617 | 410123.1824 | 626462.2377 | 669853.3241 | 686544.84 | 732433.4211 | 702188.6012 | 736633.3247 | 728592.8096 | 772328.0985 | 730057.0284 | 741257.2437 | 722382.7665 | 682671.8504
| Two - consumption (85th) (WACMs 1, 4, 7) | Band 1 | 356019.3832 | 390168.3244 | 0 | 214185.0002 | 208756.7461 | 350267.5986 | 363616.8701 | 371902.4635 | 382602.8756 | 417047.5991 | 409007.084 | 378776.9165 | 383893.608 | 388461.8075 | 402797.0409 | 363086.1248
|  | Band 2 | 2557609.9369 | 2802932.7356 | n/a | 1241123.8926 | n/a | n/a | 2570220.7904 | 2715954.5635 | n/a | n/a | n/a | 2728298.3831 | 2744950.331 | 2756100.9146 | n/a | n/a
| Four - consumption (40th, 70th and 85th) (WACMs 2, 5, 8) | Band 1 | 121497.4877 | 133151.3773 | n/a | 57290.9577 | 86248.7936 | 117195.9851 | n/a | 122749.1728 | 131160.2876 | n/a | n/a | 123205.841 | 125212.5217 | 128590.2679 | 133008.006 | 128564.2294
|  | Band 2 | 431321.1362 | 472692.9289 | 181155.4312 | 264406.5609 | 344204.0816 | 422668.7875 | n/a | 442209.7616 | 466364.9749 | n/a | 478063.2493 | 475127.8496 | 475301.4881 | 463995.3219 | 464231.2035 | n/a
|  | Band 3 | 848498.7254 | 929885.6792 | 337098.2679 | 481345.0886 | n/a | n/a | 856096.2123 | n/a | n/a | 909526.9413 | 920223.1894 | n/a | n/a | 931408.6764 | 944411.113 | n/a
|  | Band 4 | 2557609.9369 | 2802932.7356 | n/a | 1241123.8926 | n/a | n/a | 2570220.7904 | 2715954.5635 | n/a | n/a | n/a | 2728298.3831 | 2744950.331 | 2756100.9146 | n/a | n/a
| Two - voltage (WACM9) | Band 1 | 366120.17
|  | Band 2 | 812354.27
Domestic |  |  | 27 | 29.5898 | 6.2073 | 15.4795 | 22.7315 | 26.2914 | 27.179 | 27.7562 | 29.2774 | 29.5895 | 29.5923 | 29.1044 | 29.7364 | 29.6209 | 29.8571 | 29.3907
LV No MIC |  | Band 1 | 12 | 13.151 | 2.4943 | 4.5412 | 9.5117 | 11.6222 | 12.1082 | 12.4579 | 13.3406 | 13.3752 | 13.3671 | 13.1932 | 13.2884 | 13.2896 | 13.4262 | 13.1265
|  | Band 2 | 65 | 71.2347 | 18.2864 | 28.3457 | 52.7717 | 63.1436 | 65.5317 | 67.2501 | 71.5881 | 71.7581 | 71.7185 | 70.8635 | 71.3313 | 71.3376 | 72.0086 | 70.5359
|  | Band 3 | 156 | 170.9633 | 47.2885 | 70.6983 | 127.5423 | 151.6798 | 157.2373 | 161.2365 | 171.3317 | 171.7273 | 171.6352 | 169.6454 | 170.7343 | 170.7488 | 172.3104 | 168.883
|  | Band 4 | 488 | 534.8084 | 179.276 | 245.7563 | 407.1844 | 475.7314 | 491.5136 | 502.8709 | 531.5396 | 532.6631 | 532.4017 | 526.751 | 529.843 | 529.8843 | 534.3191 | 524.5857
LV MIC |  | Band 1 | 848 | 929.3391 | 298.6318 | 422.345 | 732.1625 | 827.642 | 853.1975 | 875.0735 | 912.807 | 919.5559 | 952.2023 | 912.4836 | 955.0172 | 967.0127 | 927.4976 | 909.7734
|  | Band 2 | 1544 | 1692.0986 | 498.2847 | 782.9686 | 1275.6295 | 1504.2609 | 1554.1649 | 1596.8843 | 1659.6404 | 1676.8305 | 1695.876 | 1679.5963 | 1724.4477 | 1719.6453 | 1693.8941 | 1669.9606
|  | Band 3 | 2476 | 2713.4949 | 774.9928 | 1225.0372 | 2073.7891 | 2410.7231 | 2491.8752 | 2557.0208 | 2659.0016 | 2677.5568 | 2721.0237 | 2681.2079 | 2760.4394 | 2783.6724 | 2706.2177 | 2675.7241
|  | Band 4 | 5635 | 6175.5023 | 1700.8869 | 2914.2313 | 4582.5948 | 5489.4491 | 5667.9929 | 5824.1021 | 6003.751 | 5975.3388 | 6098.8882 | 6153.0619 | 6250.7932 | 6450.0933 | 6233.0472 | 6046.0786
HV |  | Band 1 | 3658 | 4008.8709 | 2671.1987 | 2278.2466 | 3013.675 | 3571.2599 | 3684.2745 | 3766.9565 | 3927.3301 | 3954.5084 | 4152.2681 | 3834.8011 | 4174.5739 | 4489.2951 | 4016.9257 | 4067.8349
|  | Band 2 | 12780 | 14005.8419 | 5185.639 | 6250.7696 | 10666.913 | 12473.418 | 12870.3912 | 13158.7337 | 13720.5762 | 13750.7361 | 14093.5864 | 13781.134 | 14179.6275 | 14441.3534 | 13939.4505 | 14417.8965
|  | Band 3 | 26067 | 28567.3146 | 13067.4639 | 14808.2546 | 22326.419 | 25497.0663 | 26225.2261 | 26881.7784 | 27863.3203 | 28013.7135 | 28287.7791 | 28053.2969 | 28183.5827 | 28572.6611 | 28054.7745 | 29454.2984
|  | Band 4 | 68297 | 74847.9642 | 32726.921 | 33527.7698 | 57958.8274 | 66725.615 | 68739.126 | 69970.2694 | 73811.5249 | 74907.0008 | 74639.2417 | 73285.7825 | 74642.0494 | 75754.6765 | 73973.8717 | 77601.3073
EHV |  | Band 1 | 30398 | 33313.7388 | 23713.9109 | 25765.0293 | 28689.3536 | 30126.1759 | 30467.3675 | 30693.4189 | 31195.2332 | 31301.0484 | 31265.1998 | 31226.1466 | 31331.7553 | 31442.0482 | 31338.8944 | 31211.7804
|  | Band 2 | 156057 | 171025.7955 | 86815.1894 | 108063.1329 | 138356.7917 | 153241.12 | 156775.592 | 159117.3035 | 164315.6979 | 165411.8583 | 165040.4953 | 164635.9358 | 165729.9568 | 166872.5029 | 165803.9126 | 164487.1133
|  | Band 3 | 328651 | 360174.7996 | 142583.5377 | 199681.278 | 281086.7781 | 321084.132 | 330582.0095 | 336874.6858 | 350843.8767 | 353789.4926 | 352791.5614 | 351704.4239 | 354644.2909 | 357714.5552 | 354843.0258 | 351304.5062
|  | Band 4 | 817126 | 895503.7206 | 330753.9048 | 480004.8659 | 692795.2333 | 797346.5425 | 822173.5733 | 838622.3501 | 875137.1956 | 882836.9048 | 880228.357 | 877386.6278 | 885071.3097 | 893096.8445 | 885590.794 | 876341.2605
Unmetered |  | p/kWh | 0.79124 | 0.86713 | 0.14017 | 0.42393 | 0.65274 | 0.77018 | 0.79661 | 0.81382 | 0.85313 | 0.86119 | 0.85856 | 0.85543 | 0.8637 | 0.87242 | 0.86441 | 0.8544

## Flooring_IA
Flooring approach
|  | Floor at 0 | No Floor | Locational Adjustment
| £/site/year | GB-wide |  | Lowest (All Northern Scotland) | Highest (Various)
Domestic |  | 27 | 29.5898 | 6.2073 | 29.8571
LV No MIC | Band 1 | 12 | 13.151 | 2.4943 | 13.4262
| Band 2 | 65 | 71.2347 | 18.2864 | 72.0086
| Band 3 | 156 | 170.9633 | 47.2885 | 172.3104
| Band 4 | 488 | 534.8084 | 179.276 | 534.3191
LV MIC | Band 1 | 848 | 929.3391 | 298.6318 | 967.0127
| Band 2 | 1544 | 1692.0986 | 498.2847 | 1724.4477
| Band 3 | 2476 | 2713.4949 | 774.9928 | 2783.6724
| Band 4 | 5635 | 6175.5023 | 1700.8869 | 6450.0933
HV | Band 1 | 3658 | 4008.8709 | 2671.1987 | 4489.2951
| Band 2 | 12780 | 14005.8419 | 5185.639 | 14441.3534
| Band 3 | 26067 | 28567.3146 | 13067.4639 | 29454.2984
| Band 4 | 68297 | 74847.9642 | 32726.921 | 77601.3073
EHV | Band 1 | 30398 | 33313.7388 | 23713.9109 | 31442.0482
| Band 2 | 156057 | 171025.7955 | 86815.1894 | 166872.5029
| Band 3 | 328651 | 360174.7996 | 142583.5377 | 357714.5552
| Band 4 | 817126 | 895503.7206 | 330753.9048 | 893096.8445
Transmission | Single band | 675605.1087 | 740408.3196 | 338373.2617 | 772328.0985
Unmetered | p/kWh | 0.79124 | 0.86713 | 0.14017 | 0.87242

## Banding_IA
Flooring approach
|  |  |  | £/site/year | Floor at 0 | No Floor | Locational Adjustment
| Banding approach | Lower bound (MWh/yr) | Upper bound (MWh/yr) | Band | GB-wide |  | Lowest (various) | Highest (various)
Transmission Connected | One Band |  |  |  | 675605.1087 | 740408.3196 | 338373.2617 | 772328.0985
| Two - consumption (85th) | 0 | 139930.88 | Band 1 | 356019.3832 | 390168.3244 | 0 | 417047.5991
|  | 139931.88 |  | Band 2 | 2557609.9369 | 2802932.7356 | 1241123.8926 | 2756100.9146
| Four - consumption (40th, 70th and 85th) | 0 | 31177.31 | Band 1 | 121497.4877 | 133151.3773 | 57290.9577 | 133008.006
|  | 31178.31 | 83800.51 | Band 2 | 431321.1362 | 472692.9289 | 181155.4312 | 478063.2493
|  | 83801.51 | 139930.88 | Band 3 | 848498.7254 | 929885.6792 | 337098.2679 | 944411.113
|  | 139931.88 |  | Band 4 | 2557609.9369 | 2802932.7356 | 1241123.8926 | 2756100.9146
| Two - voltage |  | <=132kV | Band 1 | 366120.17
|  | >132kV |  | Band 2 | 812354.27

## Original
Floor at 0
Original | £/site/year | GB-wide
Transmission Connected | One Band | 675605.1087
Domestic |  | 27
LV No MIC | Band 1 | 12
| Band 2 | 65
| Band 3 | 156
| Band 4 | 488
LV MIC | Band 1 | 848
| Band 2 | 1544
| Band 3 | 2476
| Band 4 | 5635
HV | Band 1 | 3658
| Band 2 | 12780
| Band 3 | 26067
| Band 4 | 68297
EHV | Band 1 | 30398
| Band 2 | 156057
| Band 3 | 328651
| Band 4 | 817126
Unmetered | p/kWh | 0.79124

## WACM1
Floor at 0
WACM1 |  | £/site/year | GB-wide
Transmission Connected | Two - consumption (85th) | Band 1 | 356019.3832
|  | Band 2 | 2557609.9369
Domestic |  |  | 27
LV No MIC |  | Band 1 | 12
|  | Band 2 | 65
|  | Band 3 | 156
|  | Band 4 | 488
LV MIC |  | Band 1 | 848
|  | Band 2 | 1544
|  | Band 3 | 2476
|  | Band 4 | 5635
HV |  | Band 1 | 3658
|  | Band 2 | 12780
|  | Band 3 | 26067
|  | Band 4 | 68297
EHV |  | Band 1 | 30398
|  | Band 2 | 156057
|  | Band 3 | 328651
|  | Band 4 | 817126
Unmetered |  | p/kWh | 0.79124

## WACM2
Floor at 0
WACM2 |  | £/site/year | GB-wide
Transmission Connected | Four - consumption (40th,70th and 85th) | Band 1 | 121497.4877
|  | Band 2 | 431321.1362
|  | Band 3 | 848498.7254
|  | Band 4 | 2557609.9369
Domestic |  |  | 27
LV No MIC |  | Band 1 | 12
|  | Band 2 | 65
|  | Band 3 | 156
|  | Band 4 | 488
LV MIC |  | Band 1 | 848
|  | Band 2 | 1544
|  | Band 3 | 2476
|  | Band 4 | 5635
HV |  | Band 1 | 3658
|  | Band 2 | 12780
|  | Band 3 | 26067
|  | Band 4 | 68297
EHV |  | Band 1 | 30398
|  | Band 2 | 156057
|  | Band 3 | 328651
|  | Band 4 | 817126
Unmetered |  | p/kWh | 0.79124

## WACM3
No Floor
WACM3 | £/site/year | GB-wide
Transmission Connected | One Band | 740408.3196
Domestic |  | 29.5898
LV No MIC | Band 1 | 13.151
| Band 2 | 71.2347
| Band 3 | 170.9633
| Band 4 | 534.8084
LV MIC | Band 1 | 929.3391
| Band 2 | 1692.0986
| Band 3 | 2713.4949
| Band 4 | 6175.5023
HV | Band 1 | 4008.8709
| Band 2 | 14005.8419
| Band 3 | 28567.3146
| Band 4 | 74847.9642
EHV | Band 1 | 33313.7388
| Band 2 | 171025.7955
| Band 3 | 360174.7996
| Band 4 | 895503.7206
Unmetered | p/kWh | 0.86713

## WACM4
No Floor
WACM4 |  | £/site/year | GB-wide
Transmission Connected | Two - consumption (85th) | Band 1 | 390168.3244
|  | Band 2 | 2802932.7356
Domestic |  |  | 29.5898
LV No MIC |  | Band 1 | 13.151
|  | Band 2 | 71.2347
|  | Band 3 | 170.9633
|  | Band 4 | 534.8084
LV MIC |  | Band 1 | 929.3391
|  | Band 2 | 1692.0986
|  | Band 3 | 2713.4949
|  | Band 4 | 6175.5023
HV |  | Band 1 | 4008.8709
|  | Band 2 | 14005.8419
|  | Band 3 | 28567.3146
|  | Band 4 | 74847.9642
EHV |  | Band 1 | 33313.7388
|  | Band 2 | 171025.7955
|  | Band 3 | 360174.7996
|  | Band 4 | 895503.7206
Unmetered |  | p/kWh | 0.86713

## WACM5
No Floor
WACM5 |  | £/site/year | GB-wide
Transmission Connected | Four - consumption (40th,70th and 85th) | Band 1 | 133151.3773
|  | Band 2 | 472692.9289
|  | Band 3 | 929885.6792
|  | Band 4 | 2802932.7356
Domestic |  |  | 29.5898
LV No MIC |  | Band 1 | 13.151
|  | Band 2 | 71.2347
|  | Band 3 | 170.9633
|  | Band 4 | 534.8084
LV MIC |  | Band 1 | 929.3391
|  | Band 2 | 1692.0986
|  | Band 3 | 2713.4949
|  | Band 4 | 6175.5023
HV |  | Band 1 | 4008.8709
|  | Band 2 | 14005.8419
|  | Band 3 | 28567.3146
|  | Band 4 | 74847.9642
EHV |  | Band 1 | 33313.7388
|  | Band 2 | 171025.7955
|  | Band 3 | 360174.7996
|  | Band 4 | 895503.7206
Unmetered |  | p/kWh | 0.86713

## WACM6
WACM6 | £/site/year | Northern Scotland | Southern Scotland | Northern | North West | Yorkshire | N Wales & Mersey | East Midlands | Midlands | Eastern | South Wales | South East | London | Southern | South Western
Transmission Connected | One Band | 338373.2617 | 410123.1824 | 626462.2377 | 669853.3241 | 686544.84 | 732433.4211 | 702188.6012 | 736633.3247 | 728592.8096 | 772328.0985 | 730057.0284 | 741257.2437 | 722382.7665 | 682671.8504
Domestic |  | 6.2073 | 15.4795 | 22.7315 | 26.2914 | 27.179 | 27.7562 | 29.2774 | 29.5895 | 29.5923 | 29.1044 | 29.7364 | 29.6209 | 29.8571 | 29.3907
LV No MIC | Band 1 | 2.4943 | 4.5412 | 9.5117 | 11.6222 | 12.1082 | 12.4579 | 13.3406 | 13.3752 | 13.3671 | 13.1932 | 13.2884 | 13.2896 | 13.4262 | 13.1265
| Band 2 | 18.2864 | 28.3457 | 52.7717 | 63.1436 | 65.5317 | 67.2501 | 71.5881 | 71.7581 | 71.7185 | 70.8635 | 71.3313 | 71.3376 | 72.0086 | 70.5359
| Band 3 | 47.2885 | 70.6983 | 127.5423 | 151.6798 | 157.2373 | 161.2365 | 171.3317 | 171.7273 | 171.6352 | 169.6454 | 170.7343 | 170.7488 | 172.3104 | 168.883
| Band 4 | 179.276 | 245.7563 | 407.1844 | 475.7314 | 491.5136 | 502.8709 | 531.5396 | 532.6631 | 532.4017 | 526.751 | 529.843 | 529.8843 | 534.3191 | 524.5857
LV MIC | Band 1 | 298.6318 | 422.345 | 732.1625 | 827.642 | 853.1975 | 875.0735 | 912.807 | 919.5559 | 952.2023 | 912.4836 | 955.0172 | 967.0127 | 927.4976 | 909.7734
| Band 2 | 498.2847 | 782.9686 | 1275.6295 | 1504.2609 | 1554.1649 | 1596.8843 | 1659.6404 | 1676.8305 | 1695.876 | 1679.5963 | 1724.4477 | 1719.6453 | 1693.8941 | 1669.9606
| Band 3 | 774.9928 | 1225.0372 | 2073.7891 | 2410.7231 | 2491.8752 | 2557.0208 | 2659.0016 | 2677.5568 | 2721.0237 | 2681.2079 | 2760.4394 | 2783.6724 | 2706.2177 | 2675.7241
| Band 4 | 1700.8869 | 2914.2313 | 4582.5948 | 5489.4491 | 5667.9929 | 5824.1021 | 6003.751 | 5975.3388 | 6098.8882 | 6153.0619 | 6250.7932 | 6450.0933 | 6233.0472 | 6046.0786
HV | Band 1 | 2671.1987 | 2278.2466 | 3013.675 | 3571.2599 | 3684.2745 | 3766.9565 | 3927.3301 | 3954.5084 | 4152.2681 | 3834.8011 | 4174.5739 | 4489.2951 | 4016.9257 | 4067.8349
| Band 2 | 5185.639 | 6250.7696 | 10666.913 | 12473.418 | 12870.3912 | 13158.7337 | 13720.5762 | 13750.7361 | 14093.5864 | 13781.134 | 14179.6275 | 14441.3534 | 13939.4505 | 14417.8965
| Band 3 | 13067.4639 | 14808.2546 | 22326.419 | 25497.0663 | 26225.2261 | 26881.7784 | 27863.3203 | 28013.7135 | 28287.7791 | 28053.2969 | 28183.5827 | 28572.6611 | 28054.7745 | 29454.2984
| Band 4 | 32726.921 | 33527.7698 | 57958.8274 | 66725.615 | 68739.126 | 69970.2694 | 73811.5249 | 74907.0008 | 74639.2417 | 73285.7825 | 74642.0494 | 75754.6765 | 73973.8717 | 77601.3073
EHV | Band 1 | 23713.9109 | 25765.0293 | 28689.3536 | 30126.1759 | 30467.3675 | 30693.4189 | 31195.2332 | 31301.0484 | 31265.1998 | 31226.1466 | 31331.7553 | 31442.0482 | 31338.8944 | 31211.7804
| Band 2 | 86815.1894 | 108063.1329 | 138356.7917 | 153241.12 | 156775.592 | 159117.3035 | 164315.6979 | 165411.8583 | 165040.4953 | 164635.9358 | 165729.9568 | 166872.5029 | 165803.9126 | 164487.1133
| Band 3 | 142583.5377 | 199681.278 | 281086.7781 | 321084.132 | 330582.0095 | 336874.6858 | 350843.8767 | 353789.4926 | 352791.5614 | 351704.4239 | 354644.2909 | 357714.5552 | 354843.0258 | 351304.5062
| Band 4 | 330753.9048 | 480004.8659 | 692795.2333 | 797346.5425 | 822173.5733 | 838622.3501 | 875137.1956 | 882836.9048 | 880228.357 | 877386.6278 | 885071.3097 | 893096.8445 | 885590.794 | 876341.2605
Unmetered | p/kWh | 0.14017 | 0.42393 | 0.65274 | 0.77018 | 0.79661 | 0.81382 | 0.85313 | 0.86119 | 0.85856 | 0.85543 | 0.8637 | 0.87242 | 0.86441 | 0.8544

## WACM7
WACM7 |  | £/site/year | Northern Scotland | Southern Scotland | Northern | North West | Yorkshire | N Wales & Mersey | East Midlands | Midlands | Eastern | South Wales | South East | London | Southern | South Western
Transmission Connected | Two - consumption (85th) | Band 1 | 0 | 214185.0002 | 208756.7461 | 350267.5986 | 363616.8701 | 371902.4635 | 382602.8756 | 417047.5991 | 409007.084 | 378776.9165 | 383893.608 | 388461.8075 | 402797.0409 | 363086.1248
|  | Band 2 | n/a | 1241123.8926 | n/a | n/a | 2570220.7904 | 2715954.5635 | n/a | n/a | n/a | 2728298.3831 | 2744950.331 | 2756100.9146 | n/a | n/a
Domestic |  |  | 6.2073 | 15.4795 | 22.7315 | 26.2914 | 27.179 | 27.7562 | 29.2774 | 29.5895 | 29.5923 | 29.1044 | 29.7364 | 29.6209 | 29.8571 | 29.3907
LV No MIC |  | Band 1 | 2.4943 | 4.5412 | 9.5117 | 11.6222 | 12.1082 | 12.4579 | 13.3406 | 13.3752 | 13.3671 | 13.1932 | 13.2884 | 13.2896 | 13.4262 | 13.1265
|  | Band 2 | 18.2864 | 28.3457 | 52.7717 | 63.1436 | 65.5317 | 67.2501 | 71.5881 | 71.7581 | 71.7185 | 70.8635 | 71.3313 | 71.3376 | 72.0086 | 70.5359
|  | Band 3 | 47.2885 | 70.6983 | 127.5423 | 151.6798 | 157.2373 | 161.2365 | 171.3317 | 171.7273 | 171.6352 | 169.6454 | 170.7343 | 170.7488 | 172.3104 | 168.883
|  | Band 4 | 179.276 | 245.7563 | 407.1844 | 475.7314 | 491.5136 | 502.8709 | 531.5396 | 532.6631 | 532.4017 | 526.751 | 529.843 | 529.8843 | 534.3191 | 524.5857
LV MIC |  | Band 1 | 298.6318 | 422.345 | 732.1625 | 827.642 | 853.1975 | 875.0735 | 912.807 | 919.5559 | 952.2023 | 912.4836 | 955.0172 | 967.0127 | 927.4976 | 909.7734
|  | Band 2 | 498.2847 | 782.9686 | 1275.6295 | 1504.2609 | 1554.1649 | 1596.8843 | 1659.6404 | 1676.8305 | 1695.876 | 1679.5963 | 1724.4477 | 1719.6453 | 1693.8941 | 1669.9606
|  | Band 3 | 774.9928 | 1225.0372 | 2073.7891 | 2410.7231 | 2491.8752 | 2557.0208 | 2659.0016 | 2677.5568 | 2721.0237 | 2681.2079 | 2760.4394 | 2783.6724 | 2706.2177 | 2675.7241
|  | Band 4 | 1700.8869 | 2914.2313 | 4582.5948 | 5489.4491 | 5667.9929 | 5824.1021 | 6003.751 | 5975.3388 | 6098.8882 | 6153.0619 | 6250.7932 | 6450.0933 | 6233.0472 | 6046.0786
HV |  | Band 1 | 2671.1987 | 2278.2466 | 3013.675 | 3571.2599 | 3684.2745 | 3766.9565 | 3927.3301 | 3954.5084 | 4152.2681 | 3834.8011 | 4174.5739 | 4489.2951 | 4016.9257 | 4067.8349
|  | Band 2 | 5185.639 | 6250.7696 | 10666.913 | 12473.418 | 12870.3912 | 13158.7337 | 13720.5762 | 13750.7361 | 14093.5864 | 13781.134 | 14179.6275 | 14441.3534 | 13939.4505 | 14417.8965
|  | Band 3 | 13067.4639 | 14808.2546 | 22326.419 | 25497.0663 | 26225.2261 | 26881.7784 | 27863.3203 | 28013.7135 | 28287.7791 | 28053.2969 | 28183.5827 | 28572.6611 | 28054.7745 | 29454.2984
|  | Band 4 | 32726.921 | 33527.7698 | 57958.8274 | 66725.615 | 68739.126 | 69970.2694 | 73811.5249 | 74907.0008 | 74639.2417 | 73285.7825 | 74642.0494 | 75754.6765 | 73973.8717 | 77601.3073
EHV |  | Band 1 | 23713.9109 | 25765.0293 | 28689.3536 | 30126.1759 | 30467.3675 | 30693.4189 | 31195.2332 | 31301.0484 | 31265.1998 | 31226.1466 | 31331.7553 | 31442.0482 | 31338.8944 | 31211.7804
|  | Band 2 | 86815.1894 | 108063.1329 | 138356.7917 | 153241.12 | 156775.592 | 159117.3035 | 164315.6979 | 165411.8583 | 165040.4953 | 164635.9358 | 165729.9568 | 166872.5029 | 165803.9126 | 164487.1133
|  | Band 3 | 142583.5377 | 199681.278 | 281086.7781 | 321084.132 | 330582.0095 | 336874.6858 | 350843.8767 | 353789.4926 | 352791.5614 | 351704.4239 | 354644.2909 | 357714.5552 | 354843.0258 | 351304.5062
|  | Band 4 | 330753.9048 | 480004.8659 | 692795.2333 | 797346.5425 | 822173.5733 | 838622.3501 | 875137.1956 | 882836.9048 | 880228.357 | 877386.6278 | 885071.3097 | 893096.8445 | 885590.794 | 876341.2605
Unmetered |  | p/kWh | 0.14017 | 0.42393 | 0.65274 | 0.77018 | 0.79661 | 0.81382 | 0.85313 | 0.86119 | 0.85856 | 0.85543 | 0.8637 | 0.87242 | 0.86441 | 0.8544

## WACM8
WACM8 |  | £/site/year | Northern Scotland | Southern Scotland | Northern | North West | Yorkshire | N Wales & Mersey | East Midlands | Midlands | Eastern | South Wales | South East | London | Southern | South Western
Transmission Connected | Four - consumption (40th,70th and 85th) | Band 1 | n/a | 57290.9577 | 86248.7936 | 117195.9851 | n/a | 122749.1728 | 131160.2876 | n/a | n/a | 123205.841 | 125212.5217 | 128590.2679 | 133008.006 | 128564.2294
|  | Band 2 | 181155.4312 | 264406.5609 | 344204.0816 | 422668.7875 | n/a | 442209.7616 | 466364.9749 | n/a | 478063.2493 | 475127.8496 | 475301.4881 | 463995.3219 | 464231.2035 | n/a
|  | Band 3 | 337098.2679 | 481345.0886 | n/a | n/a | 856096.2123 | n/a | n/a | 909526.9413 | 920223.1894 | n/a | n/a | 931408.6764 | 944411.113 | n/a
|  | Band 4 | n/a | 1241123.8926 | n/a | n/a | 2570220.7904 | 2715954.5635 | n/a | n/a | n/a | 2728298.3831 | 2744950.331 | 2756100.9146 | n/a | n/a
Domestic |  |  | 6.2073 | 15.4795 | 22.7315 | 26.2914 | 27.179 | 27.7562 | 29.2774 | 29.5895 | 29.5923 | 29.1044 | 29.7364 | 29.6209 | 29.8571 | 29.3907
LV No MIC |  | Band 1 | 2.4943 | 4.5412 | 9.5117 | 11.6222 | 12.1082 | 12.4579 | 13.3406 | 13.3752 | 13.3671 | 13.1932 | 13.2884 | 13.2896 | 13.4262 | 13.1265
|  | Band 2 | 18.2864 | 28.3457 | 52.7717 | 63.1436 | 65.5317 | 67.2501 | 71.5881 | 71.7581 | 71.7185 | 70.8635 | 71.3313 | 71.3376 | 72.0086 | 70.5359
|  | Band 3 | 47.2885 | 70.6983 | 127.5423 | 151.6798 | 157.2373 | 161.2365 | 171.3317 | 171.7273 | 171.6352 | 169.6454 | 170.7343 | 170.7488 | 172.3104 | 168.883
|  | Band 4 | 179.276 | 245.7563 | 407.1844 | 475.7314 | 491.5136 | 502.8709 | 531.5396 | 532.6631 | 532.4017 | 526.751 | 529.843 | 529.8843 | 534.3191 | 524.5857
LV MIC |  | Band 1 | 298.6318 | 422.345 | 732.1625 | 827.642 | 853.1975 | 875.0735 | 912.807 | 919.5559 | 952.2023 | 912.4836 | 955.0172 | 967.0127 | 927.4976 | 909.7734
|  | Band 2 | 498.2847 | 782.9686 | 1275.6295 | 1504.2609 | 1554.1649 | 1596.8843 | 1659.6404 | 1676.8305 | 1695.876 | 1679.5963 | 1724.4477 | 1719.6453 | 1693.8941 | 1669.9606
|  | Band 3 | 774.9928 | 1225.0372 | 2073.7891 | 2410.7231 | 2491.8752 | 2557.0208 | 2659.0016 | 2677.5568 | 2721.0237 | 2681.2079 | 2760.4394 | 2783.6724 | 2706.2177 | 2675.7241
|  | Band 4 | 1700.8869 | 2914.2313 | 4582.5948 | 5489.4491 | 5667.9929 | 5824.1021 | 6003.751 | 5975.3388 | 6098.8882 | 6153.0619 | 6250.7932 | 6450.0933 | 6233.0472 | 6046.0786
HV |  | Band 1 | 2671.1987 | 2278.2466 | 3013.675 | 3571.2599 | 3684.2745 | 3766.9565 | 3927.3301 | 3954.5084 | 4152.2681 | 3834.8011 | 4174.5739 | 4489.2951 | 4016.9257 | 4067.8349
|  | Band 2 | 5185.639 | 6250.7696 | 10666.913 | 12473.418 | 12870.3912 | 13158.7337 | 13720.5762 | 13750.7361 | 14093.5864 | 13781.134 | 14179.6275 | 14441.3534 | 13939.4505 | 14417.8965
|  | Band 3 | 13067.4639 | 14808.2546 | 22326.419 | 25497.0663 | 26225.2261 | 26881.7784 | 27863.3203 | 28013.7135 | 28287.7791 | 28053.2969 | 28183.5827 | 28572.6611 | 28054.7745 | 29454.2984
|  | Band 4 | 32726.921 | 33527.7698 | 57958.8274 | 66725.615 | 68739.126 | 69970.2694 | 73811.5249 | 74907.0008 | 74639.2417 | 73285.7825 | 74642.0494 | 75754.6765 | 73973.8717 | 77601.3073
EHV |  | Band 1 | 23713.9109 | 25765.0293 | 28689.3536 | 30126.1759 | 30467.3675 | 30693.4189 | 31195.2332 | 31301.0484 | 31265.1998 | 31226.1466 | 31331.7553 | 31442.0482 | 31338.8944 | 31211.7804
|  | Band 2 | 86815.1894 | 108063.1329 | 138356.7917 | 153241.12 | 156775.592 | 159117.3035 | 164315.6979 | 165411.8583 | 165040.4953 | 164635.9358 | 165729.9568 | 166872.5029 | 165803.9126 | 164487.1133
|  | Band 3 | 142583.5377 | 199681.278 | 281086.7781 | 321084.132 | 330582.0095 | 336874.6858 | 350843.8767 | 353789.4926 | 352791.5614 | 351704.4239 | 354644.2909 | 357714.5552 | 354843.0258 | 351304.5062
|  | Band 4 | 330753.9048 | 480004.8659 | 692795.2333 | 797346.5425 | 822173.5733 | 838622.3501 | 875137.1956 | 882836.9048 | 880228.357 | 877386.6278 | 885071.3097 | 893096.8445 | 885590.794 | 876341.2605
Unmetered |  | p/kWh | 0.14017 | 0.42393 | 0.65274 | 0.77018 | 0.79661 | 0.81382 | 0.85313 | 0.86119 | 0.85856 | 0.85543 | 0.8637 | 0.87242 | 0.86441 | 0.8544

## WACM9
Floor at 0
WACM9 |  | £/site/year | GB-wide
Transmission Connected | Two - voltage | Band 1 | 366120.17
|  | Band 2 | 812354.27
Domestic |  |  | 27
LV No MIC |  | Band 1 | 12
|  | Band 2 | 65
|  | Band 3 | 156
|  | Band 4 | 488
LV MIC |  | Band 1 | 848
|  | Band 2 | 1544
|  | Band 3 | 2476
|  | Band 4 | 5635
HV |  | Band 1 | 3658
|  | Band 2 | 12780
|  | Band 3 | 26067
|  | Band 4 | 68297
EHV |  | Band 1 | 30398
|  | Band 2 | 156057
|  | Band 3 | 328651
|  | Band 4 | 817126
Unmetered |  | p/kWh | 0.79124

## Assumptions
• | TNUoS Revenue Assumptions
| 2020/21 Transmission Owner Maximum Allowed Revenue (£) | 3053115205.9617
| Embedded Export (£) | 17246298.969
| Generation TNUoS Value (£) | 819236877.9681
| Total to be recovered from demand TNUoS (£)* | 2233878327.9937 | *does not include embedded export
| Total Recovered from Locational - floored (£) | 108762377.0982
| Total Recovered from Locational - unfloored (£) | -94159541.2593
| Total to be recovered from TDR (£) floored | 2140016425.4544
| Total to be recovered from TDR (£) unfloored | 2345284168.222
• | Consumption Assumption
| Total Annual Final Demand Sites Volume (MWh)* | 270464326.8475 | *includes unmetered supplies volumes