## Sheet1
| Level 1 |  |  |  | Level 2 |  |  |  | Level 3
| High level metrics - relevant to all stakeholders High level metrics that allow intuitive comparison - 'infographic' |  |  | NPg comments | High level metrics - relevant to many stakeholders - possibly main body of report |  |  | NPg comments | Detailed metrics valued on comparable (ish) basis by sub-set of stakeholders Often stakeholders have some specialist knowledge to interpret data Possibly appendices |  |  | NPg comments
| Measure | Currently included in RIG?/ Intended to be included in RIG | Which RIG? |  | Measure | Currently included in RIG?/ Intended to be included in RIG | Which RIG? |  | Measure | Currently included in RIG?/ Intended to be included in RIG | Which RIG?
Comparator metrics | Customer numbers | Yes | C&V / QoS | Customer numbers: We agree with ENW that this information should be used. It is readily available, robust data and serves to provide an idea of network scale.
| Network length | Yes | C&V | Network Length: We agree that this could be used but we would suggest supporting metrics. It is readily available and robust however, simply considering network length is one dimensional as it fails to account for specifcs of the region – e.g. the DNO may have a long network but few customers as it spans dales, valleys etc. Taking into account population density or scarcity will add further qualitative assessment to the metric.
Prices/ revenues/ other key financial metrics | Actual prices for domestic unrestricted* | No - but could be |  | Actual prices for domestic unrestricted: We don't oppose the inclusion of prices but we have concerns that the data is not readily available and collected consistently via the RIGs which could undermine its reliability. | Actual prices for certain tariffs* | No - but could be |  | Actual prices for domestic unrestricted: We don't oppose the inclusion of prices but we have concerns that the data is not readily available and collected consistently via the RIGs which could undermine its reliability. | DUoS revenues recovered | Yes | Revenue | OK
[9 empty] | RAV | Not in RIGs but available from PCFM after AIP | PCFM | Providing that this is reported consistently we are ok with its inclusion at this level.
[9 empty] | RORE | Need to think about how we can agree a common basis |  | Due to no common basis, this cannot be used for comparative analysis in a report of this nature.
Expenditure | Actual totex expenditure £ - annual & cumulative | Yes | C&V | OK |  |  |  |  | Actual totex expenditure x 7 totex categories £ - annual & cumulative | Yes | C&V | OK
| Totex expenditure as % allowance (adjusted for any reopeners etc) | Data available to calculate this | PCFM | OK |  |  |  |  | Totex expenditure as 7 totex categories as % allowance (adjusted for any reopeners etc) | Data available to calculate this |  | We would need to see the proposed methodology for calculating this before agreeing
[9 empty] | Deficit as % pension liabilities at last valuation | Data available to calculate this | Pensions - so only updated triennially | We would need to see the proposed methodology for calculating this before agreeing
Safety | [8 empty] | ESQCR clearances resolved | Yes | C&V | OK
[9 empty] | ESQCR clearances outstanding | Yes |  | OK
Reliability | CIs (with and without exceptional events) | Raw CIs are but exceptional event adjustments would be need to be overlaid | QoS | No objection but we would need to see the methodology for calculating this to check that it is robust and that the results are consistent. | Progress against risk index movement, against target | Yes - will be | Secondary deliverables | OK | Number of customers categorised as WSC | Yes | C&V | Ok but one dimensional. Needs to have some qualitative assessment of number of WSC served. i.e.how are they categorised, where are they (cloesly bunched or spread around the network)
| CMLs (with and without exceptional events) | Raw CMLs are but exceptional event adjustments would be need to be overlaid | QoS | No objection but we would need to see the methodology for calculating this to check that it is robust and that the results are consistent. | Proportion customers supplied from overloaded substations | Data available to calculate this | Reinforcement | We would need to see the proposed methodology for calculating this before agreeing | WSC spend | Yes | C&V | OK but same applies. High spend is not necessarily indicative of quality service or issue resolution, it could be inefficiency.
[5 empty] | Proportion load supplied from overloaded substations | Data available to calculate this | Reinforcement | We would need to see the proposed methodology for calculating this before agreeing | % customers supplied from unprotected sites at risk of 1/100 year flooding | Data available to calculate this | C&V | We would need to see the proposed methodology for calculating this before agreeing
[9 empty] | Flooding - sites yet to be resolved | Yes | C&V | OK
[9 empty] | # voltage dips | No - cannot accurately count, but could use number of occasions primary sub voltages below limit as proxy pending SM data |  | If we cannot accurately count this, it will be inconsistent across the DNOs. Therefore we would not support its inclusion
[9 empty] | % CNI sites with enhance measures | Data available to calculate this | C&V | We would need to see the proposed methodology for calculating this before agreeing
[9 empty] | % major sites blackstart compliant | Data available to calculate this | C&V | We would need to see the proposed methodology for calculating this before agreeing
[9 empty] | % overhead line ETR132 compliant | Data available to calculate this | C&V | We would need to see the proposed methodology for calculating this before agreeing
Environment | [8 empty] | OHL (km) in designated area at end of year | Yes | C&V | OK
[9 empty] | OHL removed during year (km) | Yes | C&V | OK
[9 empty] | Spend of losses reduction projects | Yes | C&V | OK
[9 empty] | Instances of Relevant Theft identified | Yes | C&V | OK
[9 empty] | Estimated annual units Relevant Theft avoided | Yes | C&V | OK
[9 empty] | Oil loss from cables as % oil in service | Yes | C&V | OK
[9 empty] | Business carbon footprint | Yes - but not convinced fully comparable | C&V | OK
[9 empty] | LCTs connected | Yes | C&V | OK
Customer Satisfaction | Overall customer satisfaction score for year (weighted as per broad measure) - show as score out of 10 | Yes | From service provider annual summary |  | % complaints dealt with within day+1 | Yes | Complaints | OK | Percentage against each components of complaints incentive - split day +1/ day+31/ repeat/ ombudsman | Data available to calculate this | Complaints | We would need to see the proposed methodology for calculating this before agreeing
[5 empty] | % complaints dealt with within day+31 | Yes | Complaints | OK | All 3 components of customer sat survey | Yes | From service provider annual summary | OK
[5 empty] | Volume of calls taken | Yes | Telephony | OK
[5 empty] | % unsuccessful calls | Data available to calculate this | Telephony | OK - need to see calculations before agreeing
[5 empty] | Guaranteed standard # and £ (possibly put relevant ones under reliability?) | Yes | GS
[5 empty] | Ex gratia payments # and £ (possibly put relevant ones under reliability?) | Yes | GS
Connections |  |  |  |  | Time to quote LVSSA & LVSSB | Yes - planned to be | TTC | OK | % and # market share by segment | N - but could create standard methodology to give proxy | Connections | If we cannot accurately count this, it will be inconsistent across the DNOs. Therefore we would not support its inclusion
[5 empty] | Time to connect LVSSA & LVSSB | Yes - planned to be | TTC | OK | Unregulated margin by segment | No - but could do |  | If we cannot accurately count this, it will be inconsistent across the DNOs. Therefore we would not support its inclusion
[5 empty] | % connections segments passed competition test | TBC - we recommended it should | Connections | We would need to see the proposed methodology for calculating this before agreeing | Connections GSs | Yes | SLC 12/15/15A | OK
[9 empty] | ICE penalty | Yes - but in arrears | Revenue
[9 empty] | # active ICPs | No - but could do |  | If we cannot accurately count this, it will be inconsistent across the DNOs. Therefore we would not support its inclusion
[9 empty] | Quote acceptance rate by segment | Data available to calculate this | Connections | We would need to see the proposed methodology for calculating this before agreeing
Social |  |  |  |  | Stakeholder engagement reward awarded | Yes - but in arrears | Revenue | OK | # customers on priority service register | Yes | GS | Ok but one dimensional. What are we incentivising - more people on the register or less? Needs to have some qualitative assessment of number of PSR served. i.e % or # of PSR customers that have been affected and how were they served? This should be developed to be a 'care quality measure' rather than simply a count Look at: number of courtesy contacts of customers pn PSR, number of customers surveyed on PSR p.a., number of customers supported by care vans etc/
Innovation | [8 empty] | NIA spend | Yes | C&V | OK
[9 empty] | LCNF T2/ NIC spend | Yes | C&V | OK
[9 empty] | IRM spend | Yes - but will be zero for a few years | C&V | OK
[9 empty] | Capacity created through DSR and other smart techniques | Expected to be | C&V | OK
* Prices On prices we suggest publish prices based on following tariffs: - domestic unrestricted (migrating to HH domestic in time) - LV HH - HV HH - LVS HH Will need to define key parameters to ensure comparability such as consumption in each of R/A/G bands, capacity, etc. Also need to define price base, treatment of under/ over-recovery etc. We suggest should be outturn prices including all incentives and including under/ over-recoveries