## Overview - x1 NPg comment
Overview
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | NPg comment
2 | Paragraph 2.11 | N/A | N/A | This paragraph is out of date and should be deleted, or replaced with "Ofgem has published guidance associated with SLC50 which states that DNOs should publish certain summary information from the RIGs as part of their business plan commitment reporting."

## Annex A - x5 NPg comments
Annex A - Glossary
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | NPg comment
1 | Glossary term: Operational Training | Amending current definition of Operational Training exclusion to the following: "EXCLUDES: • Time of Operational Staff attending Non-Operational training such as line management training (include as labour cost under the relevant activity of that employee) • Time of Non-Operational Staff attending operational training (include as labour cost under the relevant activity of that employee) • Recruitment costs of Operational Staff (include under HR in the Core Business Support worksheet) • Costs of training Contractors undertaking training within DNO training facilities where costs are recovered (include in C18 Non Price Control De-Minimis) • Costs of training Contractors undertaking training within DNO training facilities where costs are not recovered (included in the contractor cost for the relevant activity) • Costs of assessing capability of Contractors (include in C18 Non Price Control De-Minimis)." | Terms undefined and unclear | Ofgem has incorporated our comments.
2 | Glossary term: Stores | Addition of point to Stores exclusion definition "• Delivery of materials by store staff to site (include in Labour as part of the direct cost)." in Stores exclusion definition. | Point missing from definition. | Ofgem has incorporated our comments.
3 | Glossary term : Small Tools, Equipment, Plant and Machinery (Non-Operational) (STEPM) | Amending current definition of Small Tools, Equipment, Plant and Machinery (Non-Operational) (STEPM) to include the following line - "(Any of the listed equipment below is not considered to be permanently connected to the network)", line "They are not system assets and are not permanently attached to one system asset at one location, irrespective of when they were bought or for what purpose. " will be removed. | To give clarity on reporting requirement | Ofgem has incorporated our comments.
4 | Smart Meter Interventions | Definintions amended and updated for this term. | For clarification. | Ofgem has incorporated our comments.
4a | Smart Meter Interventions – Category A/B/C Intervention | N/A | N/A | Page 168-169: When referring to MOCOPA defect codes it would be prudent to include a cross reference to the relevant document in case the codes change
4b | Smart Meter Interventions – Onsite/Physical Activities | N/A | N/A | Page 170: Delete "the volumes relate to the number of defects rectified"; volumes do not relate to the number of defects rectified.
4c | Smart Meter Interventions – Onsite/Physical Activities | N/A | N/A | Page 170: Delete "(costs only)" after inspections as an inspection does count as an activity under the licence condition (although an inspection would typically also be associated with another activity so may not add to the volume count).
4d | Smart Meter Intervention – Prior year restatement - Onsite/Physical Activities | N/A | N/A | Page 170: This needs some minor re-drafting to recognise the fact that some interventions can now be identified and reported immediately, without waiting for a smart meter to be installed.
5 | Glossary terms: Capacity constraint affecting single substation (N-1) or (N-2) Capacity constraint affecting substation groups (N-1) or (N-2) | Definitions added for the following: Capacity constraint affecting single substation (N-1) or (N-2) Capacity constraint affecting substation groups (N-1) or (N-2) | Undefined in the glossary. | No problem with amendment.
6 | Glossary term: Controllable Opex | Footnote from glossary term Controllable Opex removed. | The footnote was for an exception for WPD, previously agreed that exception was incorrect. Glossary amended to be in line with RIGs tables. | No problem with amendment.
7 | Glossary term: Non Load Related Capex - Other | Footnote from glossary term Non Load Related Capex removed. | The footnote was for an exception for WPD, previously agreed that exception was incorrect. Glossary amended to be in line with RIGs tables. | No problem with amendment.
8 | Annex A Glossary | LV Underground Service Transfers definition removed from glossary. | Not included in RIGs packs | No problem with amendment.
9 | Glossary term: LV Main (UG Plastic) | Table LV Main (UG Plastic) amended. | In the Asset Replacement scope section for LV Main (UG Cable) the categories which are shown as should be reported as Consequential Assets, should be reported as Prime Assets | No problem with amendment.
10 | Glossary term: Protection Enhancements | Definition added for Protection Enhancements | Undefined in glossary. | No problem with amendment.
11 | Glossary term: Power Quality | Definition added for Power Quality | Undefined in glossary. | No problem with amendment.
12 | Glossary term: BT21CN Infrastructure Enabling | fibre optice cables' removed from definition. | Removed from definition, term makes unclear where these costs are included. | No problem with amendment.
13 | Glossary term: Parking Bay Suspensions | Definition added for Parking Bay Suspensions | Undefined in glossary. | Glossary term added and added to Streetworks tables however the wording in Annex B needs updating to reflect this.
14 | Asset Replacement | Tables in glossary updated to show: - 'Civil works Driven by Asset Replacement' - 'LV Services UG Refurbishment no SD' replaces reference to 'LV underground service transfers' - References to 'LV Pole refurbishment' expanded to include 'Pole Repair & Maintenance' | For clarification. | No problem with amendment.
15 | Asset Replacement Scope of Works | Addition of "The column ‘Report As Prime Asset’ is marked only as ‘Yes’ where asset volumes are required to be reported. " to initial paragraph of this section. | For clarification. | No problem with amendment.
16 | Glossary term: Exceptional Events Severe Weather Exceptional Event | Addition of "For clarity, the Severe Weather 1-in-20 Event threshold applies to a 24 hour period within the event, rather than across the entirety of the event." | Updated for clarification | No problem with amendment.
17 | Annex A: Glossary ONI - Cut Outs (Metered Services) | Addition of "CV28 includes both instances where cut outs have been replaced and cut outs being repaired." | Added for clarity | No problem with amendment.
18 | Glossary term: Network-wide peak demand | Definition added for Network-wide peak demand | Undefined in glossary. | Ofgem has incorporated our comments.
19 | Glossary term: Customer contributions | Definition amended | Updated for clarification | Ofgem has incorporated our comments.

## Annex B - x4 NPg comments
Annex B - Costs and Volumes
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | NPg comment
1 | New tab SI1- Key Summary Information inserted. | New tab added to pack - summary spreadsheet. Annex B also updated to show addition. | Following on from Performance Reporting Consultation. | There are links that need establishing in the tables.
2 | Annex B guidance : CV1 Primary Reinforcement | 4.9 Amended to "This worksheet collects reinforcement activity undertaken to resolve capacity restraints on the on the Primary Network (33kV and above)." | Clarification of Activity | No problem with amendment.
3 | Annex B guidance: Tabs CV8 | Table in 4.82 units amended, further definition added. | Inconsistency between RIGs packs and guidance. Additional note added for clarification. | No problem with amendment.
4 | Tab CV8 Refurbishment no SDI | Rows 54, 91 and 118 units updated from refurbishments to km | Amended to be in line with change to annex B | No problem with amendment.
5 | C15 - Atypicals (2012 - 2015) | Atypical tables C15 for 2012-2015: cells Q61 to R72 updated to match Ofgem change in 2011 C15 table. | Cells Q61 to R72 in 2012-2015 were picking up the incorrect cell in she spreadsheet. | No problem with amendment.
6 | M16 - Forecasts | Formula in cells E57 to E62 on table M16 linked to wrong cells in table S2, updated to link to table S2 cells E62 to E67. | Incorrect links | No problem with amendment.
7 | C1 - Cost Matrix (All years) | C1s Cost Matrix tables - cells AL85:AL91 and AN94:AN100 formula added. Cells BO85:BO91 and BO94:BO100 reference these cells. | Formula in rows BO include additional cells added. | No problem with amendment.
8 | C1 - Cost Matrix (All years) | C1s Cost Matrix tables - cells AL85:AL91 and AN94:AN100 formula added. Cells BO85:BO91 and BO94:BO100 reference these cells. | Formula in rows BO include additional cells added. | No problem with amendment.
9 | I2 - PCFM Inputs Nominal | I2 - PCFM Inputs Nominal tab - row 113, formula in cells AK:AQ updated. Formula picking up incorrect cells in tab C12 - Core BS. | Formula picking up incorrect cells in tab C12 - Core BS. | No problem with amendment.
10 | CV7 - Asset Replacement | Cells N185:Y191 formula updated in alignment with cells M185:M191. | Formula checks to a blank row. | No problem with amendment.
11 | CV26 - Faults | Formula in cells CA135 to CM135 on table CV26 Faults updated to add brackets around denominator items from V1 table. | Missing bracket from denominator | No problem with amendment.
12 | CV24 - HVPs DPCR5 | Tab CV24-HVPs DPCR5, Investment driver drop down list from cell F135 copied to cells F136:145. | Drop down list missing from cells. | No problem with amendment.
13 | CV25 - Moorside | Tab CV25 Moorside, 'Diversions' added under Expenditure breakdown, Customer Contributions, Cost Reoveries and Net Costs. | Diversions was not included. | No problem with amendment.
14 | I2 -PCFM Inputs Nominal | Tab I2 -PCFM Inputs Nominal updated to reflect previous change noted for CV25 - Moorside 'Diversions' - additional rows added. | Added to be consistent with addition for CV25 Moorside. | No problem with amendment.
15 | Check Sheet - row 100 | Tab Check sheet - row 100 'C3 Physical Security' cells M100:Y100 linked to cells M22:Y22 in tab C3 Physical Security. | Incorrect link | No problem with amendment.
16 | Table C3 Physical Security | Tab C3 Physical Security - cells D23 and D23, text updated from 'Total Gross Costs' to 'Total Gross Costs to scheme totals' and 'Total net costs to scheme totals' to 'Total net costs'. | Changed for clarity | No problem with amendment.
17 | Check sheet - rows 166, 168, 173 | Rows 166, 168 and 173 removed from Check sheet tab. These were noted as C17 - Legacy Meters, C18 - De minimis and C21 - Out of Area Networks | Linked to blank cells in other spreadsheets. | No problem with amendment.
18 | C1 Cost Matrix 2016-2023 | Tabs C1 Cost Matrix 2016-2023, check formula added to cells BK40:BL40. | Formula missing. | No problem with amendment.
19 | CV35 - Op Training (CAI) | Tab CV 35 - Op Training (CAI) New row inserted under 'By category type, Learner costs, new recruits' to include Other Operational Employee. Annex B also updated to show change. | To be consistent with rest of tab | No problem with amendment.
20 | CV35 - Op Training (CAI) | Tab CV 35 - Op Training (CAI) Under 'By category type' addition of (in year and previous years) has been included for Operational Up -skilling - row 35. Annex B also updated to show change. | To be consistent with rest of tab | We disagree with this change as the year of appointment or recruitment is irrelevant for this category. All that is relevant here is whether the individual in the current year is receiving up-skilling training. We would suggest removing the text.
21 | CV1 - Primary Reinforcement | Tab CV1 - Primary reinforcement, under table 'Other reinforcement activities', 'Protection enhancements' row (302) has been made yellow for input. Formula in row 309 has been amended to include 302. | Changed to yellow to allow input | No problem with amendment.
22 | CV1 - Primary Reinforcement | Tab CV1 - Primary Reinforcement, cells D215:D250 and D255:D290 updated to say 'Substation Groups' rather than 'Substations'. | Incorrect wording | No problem with amendment.
23 | Annex B : Guidance Document para 4.13 | Additional wording added to 4.13: " If a circuit constraint affects a number of substations, it should be reported under the related substation. E.g if two 33/11 kV substations are supplied by a common cable and the cable is restricting the capacity of the substation group and only circuit works are carried out on the 33kV cable causing the constraint, this should be classified as 33kV:11kV (related to the substations affected by the constraint) and not as 33kV:33kV work (based on the cable constraint)." | Added for clarity | No problem with amendment.
24 | CV1 - Primary Reinforcement | Tab CV1 - Primary Reinforcements, rows 295-297 units changed from MVA to schemes. | Incorrect units | No problem with amendment.
25 | CV28 - ONIs | CV28 -ONIs tab updated. Rows 137 and 139, the word 'system' has been added to the description cell. | Added for clarity | No problem with amendment.
26 | Annex B guidance: Paragraph 4.278 | Addition of "a defect with DNO equipment identified at the time of installing or attempting to install a smart meter." | Added for clarity | No problem with amendment.
27 | CV30 31 and 32 | CV30 Inspections tab - Rows 31 (Rising and Lateral Mains (RLM)) and 32 9LV Services Associated With RLM) greyed out | Covered in other tab CV17 | It is not clear why this change has been made as there is as much reason to report all inspections costs together as there is to report all RLM costs together. Instead, we could memo the inspections (and maintenance) costs of RLMs in Table CV17 rather than making RLMs an exception in this way.
28 | CV2 rows 128 and 129 | Tab CV2 - Secondary Reinforcement, cells AU128:BG129 changed from greyed out to yellow to allow for input. Formula added to cells BH128:BI129. | Changed to yellow to allow input and to be consistent with rest of table. | No problem with amendment.
29 | CV31 85, 88 & 115 | Tab CV31 Repairs and Maint, units for rows 85, 88 and 115 change from km to Each. | The three lines for Non-Pressurised cable have a unit of measure of "km", this is not consistent with the other R&M cable lines | No problem with amendment.
30 | CV14 56, 57, 71 & 72 | Tab CV14 - Legal and Safety - Asset type amended in rows 56,57,64,65,71 and 72 to match other tabs in the pack. | To be consistent with rest of pack | No problem with amendment.
31 | CV8 and CV9 74, 108, 109, 125 | Tabs CV8 - Refurbishment no SDI and CV9 - Refurbishment SDI, rows 108 and 109 greyed out. | To be consistent with glosary | No problem with amendment.
32 | CV36, CV37 and CV38 row 22 | Tabs CV36, CV37 and CV38, forumla updated in row 22 to check from BK78, BL78 and BM78 of C1 tabs, this was previously using row 79. | Checking incorrect row | No problem with amendment.
33 | Tab M9a - Traditional Street Works (ex ante) | Additional rows added (24-26) for Suspensions and closures. | To be consitent with addition to glossary | Glossary term added and added to Streetworks tables however the wording in Annex B needs updating to reflect this.
34 | M9c - Permit & Lane (reopener) | Tab M9c - Permit & Lane Rentals , DPCR5 tables Total Direct Costs and Activity volumes changed to yellow to allow input of DPCR5 data. Annex B also updated for spelling mistake. | To allow for input | No problem with amendment.
35 | CV34 – Smart Meter Intervention DNO (Annex B guidance) | Definition for CV34 updated. | To reflect changes to the glossary and to provide clarification. | Ofgem have incorporated our comments.
36 | CV15 - QoS & North of Scotland resilience tab | Row 140 amended to say 'North of Scotland resilience' rather than 'QoS & North of Scotland resilience' | Incorrect title. | No problem with amendment.

## Annex C - x1 NPg comment
Annex C - Revenue and Financial Issues
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | NPg comment
1 | Revenue Reporting pack - Licence Values table | Values updated in Licence Values tab | License tables are based on the license at Final Determinations. Some of these need updated following the ruling of the CMA. | No problem with amendment.
2 | F8 - Reconciliation to Reg Accs | Cell B18 in "F8 - Reconciliation to Reg Accs" linked to cell C109 in "F1b - SOFP" | Incorrect link | No problem with amendment.
3 | F9 - Links Page | All links to Cost + Volume pack need adding | Links missing | No problem with amendment.
4 | ‘Licence values’ tab | Licence value cells protected. | To avoid change in values | It is difficult for DNOs to check the figures if they are not able to copy them. It would make sense to protect this sheet, but enable copying of the information for ease.
5 | Revenue Return | Fix sheet lengths so workbook is not 10MB in size. | Reduce size | No problem with amendment.
6 | F5 - Allocation to Tax Pools & F9 | Tax Pool Alloactions will need to be done on Totex net of Disposals, Theft & DRS8. Links on F9 will capture this. |  | No problem with amendment.

## Annex D - No NPg comments
Annex D - Secondary Deliverables
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | NPg comment
1 | Secondary Deliverables pack : Summary by Asset tab | Summary_by_Asset tab, cells H7:I8 updated. | The formulas in cells H7, H8, I7 and I8 are picking up the wrong columns | No problem with amendment.
2 | Secondary Deliverables pack | Tabs : HCT_LV, HCT_HV,HCT_EHV, HCT_132kV and HCT_Other Assets, in row 2 columns S:X and DD:DI "(before matieral changes)" has been removed. | Changed for clarity | No problem with amendment.
3 | Annex D: Secondary Deliverables | Impact of deterioration 2.33 and 2.48 amended in glossary. | Amended for clarity | No problem with amendment.

## Annex E - No NPg comments
Annex E - Reinforcement
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | NPg comment

## Annex F - x5 NPg comments
Annex F - Interruptions
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | NPg comment
1 | QoS Interruptions Data Reporting Pack | Revenue Link Table tab added from QoS Interuptions Reporting Pack.This is because it makes sense to keep this all in one place. Annex F guidance amended. | Finalised performance values should be/are being calculated in the Stage Data pack, should be in the same pack. | We can see that the formula is correct, however, the reasons for this change are not clear as we cannot see how Ofgem will use this data (i.e. what is the modelling purpose?). Until Ofgem provides DNOs with the directions for any severe weather exceptional event claims, or one-off exception claims (under Part F of special condition CRC 2D) then this data does not represent the final performance for IIS at the point of submission.
2 | QoS Interruptions Stage Data Reporting Pack | Tab 'Interruptions Sheet' - Updated formulae in cells D15:E20 to make sure they are picking up the correct values | Incorrect link/formula | No problem with amendment.
3 | QoS Interruptions Stage Data Reporting Pack - EE tab | EE impact tab - cells K48:P54 (other events) removed and R48:W45 (severe weather events) removed. Formulae in cells F49:G54 to reflect this change. | Duplicate table | The Formula looks correct but we are unsure how 'one off' events thresholds will be considered, or how 10% of CML is added back in for National Grid faults. We assume that 'unweighted' means that these factors have not been considered. We believe Ofgem needs to clarify these issues in order for the tables to be completed consistently.
4 | Annex F Interruptions - 1.8 | Add reference to QoS Interruptions 'Stage Data' Reporting Pack | Clarification | No problem with amendment.
5 | Annex F Interruptions - Clock Stopping, para 2.44 | Clock Stopping 2.44 in Annex F guidance changed. | Clarification | We believe that Ofgem has misinterpreted a previously offered amendment to this paragraph. We agree with the introduction of the new 'environmental factors' clock stop and Ofgem’s wording but this should be in addition to the 'customers' premises access' clock stop comments, not in place of them. We therefore recommend that two lack of access clock stops are defined in the RIGs; one covering the traditional lack of access to 'customers' premises' (re-introduce what was originally in the ED1 RIGS) and the second covering the new 'environmental factors'.
6 | Annex F Interruptions - 2.86 | 2.86 of annex F guidance - updated. | Changed for clarification. | No problem with amendment.
7 | QoS Interruptions Stage Data Reporting Pack | Headings updated from 18 to 12 hours. Tabs updated are: Interruptions Sheet, Any other connected syst, Distributed generators, 132kV non-damage, 132kV damage, EHV non-damage, EHV damage, HV non-damage, HV damage, LV non-damage, LV Overhead mains damage, LV Underground mains damage, LV All other Switchgear P&E, LV P&E link boxes only, LV services overhead, LV services underground | To reflect Guaranteed Standards times | Further changes required - The headings have been changed but the formula below the headings are still looking at 1080 minutes (18 hours) instead of 720 minutes (12 Hours)
NPg added | Annex F Interruptions guidance document – Guaranteed Standards (Regulation 5)paragraph 3.70 (page36) |  |  | Unfinished sentence. The following words need to be added to the end of the final sentence in this paragraph “…by the relevant operator before the contravention time may be treated as the taking by the relevant operator of the action required by the regulation and, where the action take includes a promise of further action, the relevant operator duly performs that promise.”

## Annex G - No NPg comments
Annex G - Connections
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | NPg comment
1 | Connections Reporting Pack Tab CR11 | Tab CR11 - Section 22 connections, 3 rows in table added to allow the value to be split by sole use, customer funded-reinforcement and DUoS funded-reinforcement. | To be in line with guidance | No problem with amendment.
2 | 2.148 of Annex G Connections | Sole Use Metered and Sole Use DG should separated into two bullet points | Formatting error | No problem with amendment.
3 | Connections Pack Tables CR4 Completed Summary and CR5 Mtd Conns Completed inc DG, RIG's Annex G wef Page 12 | Tab CR4 - Completed summary, 3 tables have been updated to include the following connections: LV metered DPCR4 Connection projects, HV metered DPCR4 Connection projects, EHV metered DPCR4 Connection projects, 132kV metered DPCR4 Connection projects | To be in line with guidance, DPCR4 projects to be reported. | No problem with amendment.
4 | SLC 12 and15 reporting pack. Tab SLC15 Final con & phased energy | Tab SLC15 Final con & phased energy - A51:A54 updated removing 'of HV'. Eg. 'Number of partial energisations of HV completed within timescale' now reads 'Number of partial energisations completed within timescale' | Titled incorrectly | No problem with amendment.
5 | SLC 12 and15 reporting pack. SLC15 Design Approval tab | Tab SLC Design Approval - cells B12:E12 changed from format percentage to value. | Should not be in % | No problem with amendment.
6 | SLC 12 and15 reporting pack. SLC15 Final Connection and Phased Energisation tab | Tab SLC Final con &phased energy - cells B10:E10, B19:E19, B37:E37 and B46:E46 changed from format percentage to general. | Should not be in % | No problem with amendment.
7 | SLC15 Annex G 'Connections' page 72 | Table of SLC 15 Standards updated. | Changed for clarity | No problem with amendment.
8 | 5.22 of the Annex G Connections RIGs | Change to annex to make the following into two separate points " • Technical details of any Customer owned equipment that is likely to cause disturbance to the electricity supply (ie large motors, welders etc). Any other information that the Electricity Distributor may reasonably request." | Formatting error | No problem with amendment.
9 | Connections Reporting Pack Tab CR2 | Cells amended in tab CR2, greyed out cells in columns AN-AP, rows 8-25. | Incorrect cells greyed out | No problem with amendment.

## Annex H - No NPg comments
Annex H - Customer service
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | NPg comment

## Annex J - x1 NPg comment
Annex J - Environment and Innovation
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | NPg comment
1 | Annex J Environment and Innocation Guidance - 2.45 | 2.45 amended to : This is to consider DNOs’ responsibility towards losses as a Scope 2 emission. DNOs should apply the most relevant DEFRA conversion factor for electricity generation to their reported losses levels to derive the associated emissions in terms of tCO2e. The Scope 3 conversion factor for Transmission and Distribution Losses should not be used. | This change is to clarify that DNOs should apply the relevant generation conversion factor to their specific reported losses levels and not use the conversion factor labelled ‘T&D losses’ as this already incorporates a factor associated with % losses levels. | No problem with amendment.
2 | Environment and Innocation reporting pack : E5 - Smart Metering | Cells M12:W12 greyed out | Data not to be input | No problem with amendment.
3 | Environment and Innocation reporting pack : E7 | E7 - LCTs, Tables for DPCR5 data greyed out. | Data not to be input | No problem with amendment.
4 | Environment and Innocation reporting pack : E6 - Innovative Solutions | E6 - Innovative Solutions, all tables in this tab have had the DPRC5 data ungreyed to yellow. | To allow DNOs to report | No problem with amendment.
NPg added | Paragraph 4.9 | Delete “be used to inform on potential savings and costs during the RIIO-ED2 price control period, as well as allowing” and replace with "allow" | See NPg comment | The Competition and Markets Authority (CMA) Final Determination in the Northern Powergrid Appeal noted that “We assume that the effect of our Order will be that …, where appropriate, any future changes to GEMA’s DPCR5 Regulatory Instructions and Guidance (RIGs) will be implemented to be consistent with our determination.” At a minimum the conclusions of the CMA on the smart grids ground of appeal strongly steer Ofgem to delete the statement in the innovative solutions section of annex J that the reported information will be “used to inform on potential savings and costs during the RIIO-ED2 price control period”. Ofgem should also take into account the findings of the CMA during any more substantive review in future of reporting on innovative solutions.