## Instructions
Instructions- Product Eligibility List Review
The Domestic Renewable Heat Incentive (Domestic RHI) is a British Government financial incentive to encourage a switch to renewable heating systems. Broadly speaking its for heating systems in single homes. If the owners join and comply with the scheme rules they'll receive quarterly payments for seven years. It's a way to help the UK reduce its carbon emissions
The owner of one of your products is wanting to apply for Domestic RHI, however their product is not listed as eligible on the Ofgem Product Eligibility List (PEL). As the Domestic RHI is open to customers who have already installed renewable heating system the list includes both current and historical products.
View the PEL here
As the applicant's installer you are their first point of contact for them and the company with whom they have a contract. Whilst you probably had the technical data at the time of installing we recognise you may not have retained it. However, you should have the necessary contacts with distributors or manufacturers so be able to help progress the matter of obtaining the missing technical information regarding the product you installed.
If you are a manufacturer or distributor who has noticed that one of your products is showing on the PEL as inconclusive you should use this form in the same way
Whilst the workbook assists us in assertaining eligibility we require evidence to substantiate decissions. For each of the products included in the workbook you must submit:
· The product data sheet.
· The installation instructions or manual (in English)
· Any accredited lab test report for each product.
The MCS Certified product number
The product manufacturer
The product type
The product name
The product model
The commissioning date
We would be very grateful if you could complete the questions and submit this workbook with supporting evidence to
domesticRHI@ofgem.gov.uk
If you are completing this at the request of a customer please send them an update and include their details in the subject box of the email.
We suggest you also update your certification body.
If you need help Telephone: 0300 003 0744 Email: Domestic RHI@ofgem.gov.uk
(Domestic RHI enquiry line open Monday to Friday 8am-7pm and 9am to 2pm on Saturdays

## Air Source Heat Pumps
For each of the products included in the attached workbook please also attach to your returning email:
· The product data sheet.
· The installation instructions or manual (in English)
· Any accredited lab test report for each product.
Manufacturer to complete
Product Reference :
Question number | Question
1 | Is this an air-source heat pump that is designed to be situated outside the building and which takes air with a fan at ambient temperature and extracts heat by cooling this air. This heat is then transferred into the building either as hot water or hot air. | Yes/No
2 | Please conform whether the heating medium within the property is WATER or AIR.
3 | If the answer to question 1 above is NO please explain why you believe your device has been categorised as an air source heat pump:
4 | Has the model been tested to EN 14511: Parts 1-4? | YES/NO
5 | State which edition of the standard was used. 2004, 2007, 2011 and 2013
6 | If the answer to question 4 is NO to what standard has this product been tested?
7 | Has the unit got an integral tank for the storage of sanitary hot water? | YES/NO
8 | What is the maximum kVA (or kW) rating of the electric motor that drives the heat pump compressor? | kVA or kW
9 | Can the unit modulate i.e. can the thermal output be varied by means of controlling the speed of the compressor? This conventionally uses complex power electronics. | YES/NO
10 | What is the minimum heat output under modulation with air at 7°C and water at 35°C? | kW
11 | What is the primary fuel? | GAS/ELECTRICITY
12 | Does the unit have an electric resistive heater built into the product? | YES/NO
13 | If the answer to question 12 is YES please list ALL the kW ratings available? | kW
14 | Does the unit have any other fossil fuel heater built into the product e.g. a gas/oil burner? | YES/NO
15 | If the answer to question 14 is YES please give details:
16 | Has the unit the ability to provide cooling? | YES/NO
17 | Does the unit have a defrost facility to prevent the build up of ice on the collector? | YES/NO
18 | If the answer to question 17 is YES please detail how the heat is provided to this defrost; for example:
| Electric resistive heater | YES/NO
| By recycling heat from the household side of the heat pump | YES/NO
Other: Please detail
For each of the products included in the attached workbook please also attach to your returning email:
· The product data sheet.
· The installation instructions or manual (in English)
· Any accredited lab test report for each product.

## Ground&Water Source Heat Pumps
For each of the products included in the attached workbook please also attach to your returning email:
· The product data sheet.
· The installation instructions or manual (in English)
· Any accredited lab test report for each product.
Manufacturer to complete
Product Reference:
Question number | Question
1 | Please confirm that this a ground-source or water-source heat pump that pumps a fluid via a coil or other pipes located in the ground and or water. The generated heat is then transferred into a building. | Yes/No
2 | Please conform whether the heating medium inside the property is WATER or AIR.
3 | If the answer to question 1 above is NO please explain why you believe your device has been categorised as a ground or water source heat pump
4 | Has the model been tested to EN 14511: Parts 1-4? | YES/NO
5 | State from which edition of the standard was used. 2004, 2007, 2011 and 2013
6 | If the answer to question 4 is NO to what standard has this product been tested?
7 | Has the unit got an integral tank for the storage of sanitary hot water? | YES/NO
8 | What is the maximum kVA (or kW) rating of the electric motor that drives the heat pump compressor? | kVA or kW
9 | Can the unit modulate i.e. can the thermal output be varied by means of controlling the speed of the compressor? This conventionally uses complex power electronics. | YES/NO
10 | What is the minimum heat output under modulation with air at 7°C and water at 35°C? | kW
11 | What is the primary fuel? | GAS/ELECTRICITY
12 | Does the unit have an electric resistive heater built into the product? | YES/NO
13 | If the answer to question 12 is YES please list ALL the kW ratings available? | kW
14 | Does the unit have any other fossil fuel heater built into the product e.g. a gas/oil burner? | YES/NO
15 | If the answer to question 14 is YES please give details:
For each of the products included in the attached workbook please also attach to your returning email:
· The product data sheet.
· The installation instructions or manual (in English)
· Any accredited lab test report for each product.

## Biomass
For each of the products included in the attached workbook please also attach to your returning email:
· The product data sheet.
· The installation instructions or manual (in English)
· Any accredited lab test report for each product.
Manufacturer to complete
Product Reference :
Question number | Question
1 | Please can you confirm to which of the following the product has been tested:
| Boiler not designed to emit heat room EN 303-5:1999 or EN 303-5:2012 | YES/NO
| Dry pellet stove designed to emit heat to room EN 14785:2006 | YES/NO
| Pellet stove with boiler EN 14785:2006 | YES/NO
| Free standing stove (for logs or coal) EN 13240:2001+A2:2004 | YES/NO
| Inset stove (for logs or coal) EN 13229:2001+A2:2004 | YES/NO
| Residential boiler (for logs or coal) EN 12809:2001+A1:2004 | YES/NO
| Residential cookers (for logs or coal) EN 12815:2001+A1:2004 | YES/NO
2 | If the answer to question 1 is NO to what standard has this product been tested?
3 | What is the maximum average rated output of this appliance (i.e. the maximum average heat output over 24 hours)? | kW
4 | What is the minimum average rated output of this appliance (i.e. the minimum average heat output over 24 hours)? | kW
5 | Has the unit got an integral tank for the storage of sanitary hot water? | YES/NO
6 | What are the primary fuels of the product?
| LOGS | YES/NO
| CHIP | YES/NO
| PELLET | YES/NO
| STRAW | YES/NO
Other biomass (Please detail):
| COAL | YES/NO
| ANTHRACITE | YES/NO
| SMOKELESS FUEL (e.g. Briquettes) | YES/NO
Other fuel (Please detail):
7 | Does the unit have an electric resistive heater built into the product? | YES/NO
8 | If the answer to question 7 is YES please list ALL the kW ratings available? | kW
9 | Does the unit have any other fossil fuel heater built into the product e.g. a gas/oil burner? | YES/NO
10 | If the answer to question 9 is YES please give details:
11 | Is it possible to burn lump coal on this product either directly or using a simple conversion kit? | YES/NO
12 | Does the unit have an appropriate RHI emissions certificate indicating the emissions of NOX and particulates issued by an appropriately certified laboratory as required under the RHI regulations? | YES/NO
13 | Does the unit have formal UK Smoke exemption as required under the clean air act, for installation within smoke controlled areas? | YES/NO
For each of the products included in the attached workbook please also attach to your returning email:
· The product data sheet.
· The installation instructions or manual (in English)
· Any accredited lab test report for each product.

## Solar Thermal
For each of the products included in the attached workbook please also attach to your returning email:
· The product data sheet.
· The installation instructions or manual (in English)
· Any accredited lab test report for each product.
Manufacturer to complete
Product Reference :
Question number | Question
1 | Please confirm that this is an evacuated tube or flat plate solar thermal panel collector, the heat from which is transferred into a sanitary hot water store. | YES/NO
2 | If the answer to question 1 above is NO please explain why you believe your device has been categorised as a solar thermal collector
3 | Is the solar collector liquid or air filled?
4 | Has the model been tested to:
| EN 12975-1:2006 and EN 12975-2:2006 | YES/NO
| EN 12975-1:2006+A1:2010 and EN 12975-2:2006 | YES/NO
| EN 12975-1:2006+A1:2010 and EN ISO 9806:2013 | YES/NO
| EN 12976-1:2006 and EN 12976-2:2006 | YES/NO
5 | If the answer to question 4 is NO to what standard has this product been tested?
6 | Has the unit got an integral tank for the storage of sanitary hot water? | YES/NO
7 | Is the unit only supplied with connections that enable it to be connected to a sanitary water store. | YES/NO
8 | Does the unit have an electric resistive heater built into the product? | YES/NO
9 | If the answer to question 8 is YES please list ALL the kW ratings available? | kW
10 | Does the unit have any other fossil fuel heater built into the product e.g. a gas/oil burner? | YES/NO
11 | If the answer to question 10 is YES please give details:
12 | Does the unit generate any electricity OTHER than for the operation of controls and instrumentation, or the distribution of heat between the solar panel and the hot water store? | YES/NO
13 | What is your panel efficiency?
14 | What is your first order heat loss? | W/m2K
15 | What is your second order heat loss? | W/m2/K2
For each of the products included in the attached workbook please also attach to your returning email:
· The product data sheet.
· The installation instructions or manual (in English)
· Any accredited lab test report for each product.