## SPEN
Question No. | Date | Criteria (if relevant) | Sub-criteria (if relevant) | Submission Section | Question | Answer (please type here for short response or reference to a Q&A template word document (limit of 600 words) | Where possible, please can you link your answer to the relevant part(s) of your submission.
SPEN-01 | 2016-04-07 | Understanding of Losses | Demonstrating understanding | 5 | Is the losses modelling for SPEN network only or are steps being considered to enable it to be applied to the wider network? | Our LDR submission aims at facilitating holistic methods of working to enable stakeholders (including other network operators) to work collectively to consider the whole-network impact of losses related decisions. The portfolio of submitted initiatives included within our LDR submission is balanced to match our overall needs and networks, recognising that a stakeholder and holistic approach is required when analysing and managing losses to achieve the maximum benefit. An overview of how this approach considers all voltage levels, network interfaces and stakeholder and customer engagement is provided in Section 6 of our submission and we have included as initiative 6 a whole-system network investigation whereby systems of holistic working with stakeholders are tested. We plan to engage in continuous knowledge and shared learning by open access reporting and seminars at the inception stage, interim stages and in concluding Tranche 1. Specific tools, models and data processing systems may be developed to work with our systems, networks and processes. We will collaborate with other DNOs and TOs to ensure the models are transferable and usable by other parties. All key findings, methods and models will be published and made available to the wider industry through the project. We remain open to shared initiatives with other DNOs and will facilitate where appropriate. As detailed within Appendix 6, SP Energy Networks established and now chair the Technical Losses Working Group within the ENA Electricity Networks and Futures Group. The main purpose of this group is to share best practice on measuring and reducing technical losses. A key focus of this group will be to ensure that all UK DNOs and TOs coordinate our approach and collectively share our findings - not only regarding what works, but also about challenges faced. |  | Status
SPEN-02 | 2016-04-07 | Understanding of Losses | Demonstrating understanding | 5 | Is the model already part of the losses strategy? How does it shift expectations of what the DNO is capable of doing to reduce losses? Where possible, please can you link this to the relevant part(s) of your submission. | The models proposed would be incremental to our Losses Strategy, as are all of the initiatives proposed in our LDR submission, and would enable a material step change in future capabilities and understanding. Losses on our networks are complex and challenging to quantify. A key activity for us is to develop tools and data processing systems to consider the value of loss reduction schemes. The future availability of Smart Meter Data has a key role in improving our understanding of the level and location of losses. Building on our Losses Strategy, our LDR submission includes ten initiatives (detailed within Section 4 of our submission) which are all in addition to our licence requirement. We view these LDR initiatives as promising candidates for enabling improved long term losses management. These initiatives focus on the four criteria of understanding losses, stakeholder engagement and sharing best practice, processes to manage losses, innovative approaches to losses management and incorporation into business as usual activities. Initiatives 1 to 5 relate to better understanding and providing a strong platform for improving network losses, including incorporating the use of Smart Meter Data to reduce both Technical and Non-technical losses. These exceed commitments in our strategy by using Smart Meter Data to build on fraud detection algorithms presently being employed by our parent company, by using smart meter data processing systems to develop/test software ahead of smart meter roll out and test how best to use incomplete data sets with co-joining of the Smart Meter Data with network monitoring to make more informed decisions on losses. Initiative 4 is an enabler project which will provide enhanced capabilities to quantify losses and business cases of interventions. The Losses Strategy sets out this project in general terms, LDR funding is sought to develop new and enhanced tools, preferably in combination with other network operators. Further to this, Initiative 3 and 5 considers a wider target of candidate networks to be considered for voltage optimisation/phase balance. Initiative 6 develops processes aimed at holistic working and we have already entered discussions about the requirements for work in this area with other DNOs. This is in addition to our Losses Strategy. Initiative 7 provides for revenue protection services to further address non-technical loss reduction and includes extending a trial already underway, thus giving a lengthy reporting period for the Tranche 3 review. The nature of customers demand and generation is the single largest variable factor affecting network losses. Initiative 8 looks to develop administrative, commercial and technical infrastructure for customers to participate in active network management. This type of initiative could not be funded within the Losses Strategy because the current value chain and arrangements do not present any of the total social benefits of motivating such improvement. Initiatives 9 and 10 are aimed at reducing substation losses by seeking to convert transformer heat (losses) to useful energy and by monitoring substation house load with a view to reducing our waste and moving toward self-sufficient substations. From our Strategy we intend to review our substation civil specifications to ensure low energy use, the innovations in initiatives 9 and 10 were not included in our Losses Strategy. Specifically, Section 3 of our submission outlines how we envisage the LDR initiatives as extending the boundaries of how we manage losses in future. Within Appendix 3 we have outlined details for each LDR initiative and any linkage with commitments outlined in our Losses Strategy, identifying additional work to be undertaken. For example, the LDR builds our Losses Strategy of Voltage Reduction and Optimisation by identifying a wider candidate of networks for optimisation beyond long rural networks. |  | Awaiting response
SPEN-03 | 2016-04-07 | Understanding of Losses | Consider network in holistic manner | 5 | How does the "[quantification of] upstream losses benefits of loss reduction in lower voltage networks" contribute to SPEN's consideration of the network in a holistic manner and help to understand how losses on SPEN's network affect others? Where possible, please can you link this to the relevant part(s) of your submission. | Traditionally the energy lost through losses on an LV network will have been provided via the HV network, the EHV network and the transmission network, resulting in increased losses across all those voltage levels as well. By reducing the current flowing at lower voltages, the power-flows through the higher voltage networks are also reduced. The quantification of the losses in this upstream network would help quantify the overall losses benefit through all voltage levels. This is an enabler to a holistic consideration of both our network and the impact at the interface points with the transmission network. The location of some large renewable distribution connected generators can increase losses on our own distribution networks, but may reduce overall GB wide network losses when considering both the transmission and distribution networks. Holistic considerations (facilitated by Initiative 6 detailed within Section 4) may, in future, affect intervention timing, or lead to the losses justification of more schemes. For example, as low carbon technology adoption rates increase, clustering may be expected to rapidly increase loading in areas of LV network. It will become increasingly important to understand optimal interventions which balance the changing requirements on our networks with our commitment to keep losses as low as reasonably possible. The nature of customers demand and generation is the single largest variable factor affecting network losses. Lowering demand and smoothing the use pattern of energy significantly reduces losses. Commercial and technical infrastructure for customers to participate in active network management (as supported by Initiative 8 detailed within Section 4) have the potential to significantly impact the power-flows at all voltage levels. We recognise that a long term, whole-system view should be taken to understand and optimise the efficiency of the overall GB electricity systems in the context of UK energy and carbon policies. We envisage that industry wide collaboration will be required to accurately achieve this, and standardisation in systems of working and reporting will need to be agreed. Initiative 6 is a whole-system network investigation whereby these systems, methods and processes of holistic working with stakeholders are tested. Throughout RIIO-ED1, a collaborative aim between the distribution and transmission network operators and Ofgem should be to agree an economically efficient target reduction in total GB losses to be achieved in successive periods. |  | Response received
SPEN-04 | 2016-04-14 | Effective engagement and sharing of best practice with stakeholders on losses |  |  | Do you plan to collaborate with other DNOs to initiate projects/work together to achieve the best outcome and to ensure best practice? Why is this collaboration beyond business as usual processes? | SPEN can confirm it is open to, and will collaborate with other DNOs to initiate projects where it is reasonable to do so. This is outlined in (Section 5 Engagement) of our LDR. Appendix 4 of the LDR also outlines that we are keen to share costs and activity with other DNO’s and outlines different management processes to facilitate this collaboration. In additional to this we proposed a subgroup to the ENA Electricity Network Futures Group to focus specifically on Losses. This was agreed amongst member company’s and the ENA Losses Working Group was created as a result. This demonstrates our commitment to industry collaboration. For this group, we drafted the Terms of Reference, chaired the first meeting and was subsequently accepted as the ongoing chair of the group by its members. One purpose of the subgroup is to ensure best technical practice is shared between ENA members including Distribution Network Operators, Transmission Operators and System Operators to satisfy our licence obligation. However, it also has the potential to deliver many more benefits beyond this in relation to LDR activities. Whilst the opening meeting was very positive and collaborative in agreeing terms of reference and potential priorities for the group, some other DNOs indicated that the scope of work of this group may be dictated by the outcome of the LDR tranche 1 and may need to be scaled back to simply satisfy their SLC 49 requirements. We consider this is beyond what might be expected as business as usual aswe have been fostering collaboration and open sharing within a competitive environment. |  | Closed
SPEN-05 | 2016-04-14 | Effective engagement and sharing of best practice with stakeholders on losses |  | 5 | It has been noted that you intend to chair a working group through the ENA. What outcomes do you hope to achieve from being part of this group? How will it push your work forward on losses? | The ENA Losses Working Group aims to consider, in detail, many of the technical issues surrounding losses, quantification, reporting and management. In addition we have ensured the deliverables of the WG are closely aligned to the criteria and sub-criteria detailed in tranche 1 of the LDR. For example, to support the understanding of network losses we will lead the development of good practice guides for use of smart meter data and methodologies to estimate and/or measure losses and the minimum technical standards for equipment. The Working Group will develop a paper based on research into international and national best processes to manage losses and deliver an engineering report into the assessment of Low Carbon Technology uptake on Distribution Technical Losses. To ensure effective stakeholder engagement, the group will publish a stakeholder orientated report of technical initiatives on the ENA website and will continually identify the requirements and opportunities for stakeholder engagement / co-ordination / and education on technical losses recognising that customer behaviours is one of the main drivers of technical losses. All of the above will accelerate industry understanding of losses and best practice methods to measure them which enable DNO’s to better implement advanced initiatives to manage losses beyond the boundary of what is technically and commercially possible at present.
SPEN-06 | 2016-04-14 | Effective engagement and sharing of best practice with stakeholders on losses |  | 5 | SPEN have flagged that for the various tranches in the LDR the stakeholders would vary from one tranche to the next. Page 18 of the submission states that you plan to hold discussions with 'interested parties'. Can SP specify who they intend to engage with at this stage and how they will identify the stakeholders interested for this tranche? How will this engagement develop relevant partnerships to help manage losses? | We plan, through the LDR initiatives, to extend the boundaries of how we manage losses. In Tranche 1, this will require improved tools, processes and systems which will include a diverse mix of stakeholders including other DNOs, National Grid, Smart Meter DSP, suppliers, community groups, academic partners, modelling agents. We have well established and embedded stakeholder engagement processes within SP Energy Networks that utilise to identify and prioritise which stakeholders to engage with and how to tailor engagement to best effect. We have carried out an initial stakeholder mapping exercise to identify the first level of relevant stakeholders and some examples are listed below. Following the LDR decision one of our early priorities will be to complete a further and deeper stakeholder mapping exercise and plan suitable engagement to ensure we are maintaining an inclusive approach to stakeholder engagement. Some examples of the engagement identified by our early level 1 analysis is set out below, please note that this is not comprehensive at this stage: Initiatives 1 and 2 make strong use of Smart Meter data and we would involve Suppliers and other industry parties. The other network companies in our parent company, Iberdrola, have relevant experience in this area. Our academic partners may also have views on how to garner the most from incomplete data sets. Initiatives 3, 4 and 5 involve improved modelling tools and optimisation of network, we would seek significant input from our academic and independent consulting partners. Initiative 6 considers holistic GB-wide impact on losses would require involvement from the other network operators, Suppliers, Elexon and customer groups. Initiative 7 would continue to engage with community organisations (police, housing association, emergency services) to help detect non-technical losses. Initiative 8 seeks to develop administrative, commercial and technical infrastructure for customers to participate in loss reduction. We see a wide stakeholder steering and monitoring group involved in this. Where there are innovative hardware implications (Initiatives 9 and 10) we intend to form partnerships with appropriate manufacturers / suppliers to better understand the opportunities. Regarding waste heat recovery, we would seek views from UK DNOs and National Grid who have been undertaking trials of waste heat recovery, as well as suppliers who provide heat recovery equipment. As part of Initiative 9, we plan to host a public expert industry conference on losses where we would seek contributions from stakeholders across the industry.
SPEN-07 | 2016-04-14 | Effective engagement and sharing of best practice with stakeholders on losses |  | 5 | SPEN to chair Technical Losses WG. As Chair do you expect this to mean that you are driving the agenda and outputs from this work? | As chair of this ENFG sub group, SPEN hold responsibility for ensuring the aims and objectives of the group are fulfilled in accordance with the Terms of Reference and will drive the agenda and work programme accordingly. We will facilitate an open forum to enable collective development of best practice, and that all contributors will recognise the value of their contribution. SPEN believe that this group has the potential to facilitate significant benefits for the UK customer base and we will seek to set an agenda and drive a work programme that recognises this. We must recognise that there is a risk that the level of engagement from members, and hence the output of this group, could be influenced by the level of LDR award ascribed to each DNO.
SPEN-08 | 2016-04-21 | Processes to manage losses | Have companies looked at best practice, both nationally and internationally, when considering processes and methods to manage losses on their networks? | 5 | What processes do you have (or expect to have) in place to ensure best practice in relation to losses management is continuously considered and incorporated? | SP EnergyNetworks (SPEN) is part of the Iberdrola Group which operates Distribution Networks in Scotland, England, Wales, Mexico, Brazil, the United States of America and Spain. Iberdrola’s networks businesses participate in an internal global working group focused on sharing best practice on loss reporting and loss reduction techniques. Continuing areas of work of the group include use of smart meter data and fraud detection methods. SPENs losses strategy and LDR have also been informed by our learnings from this benchmarking and also a review of GB DNO losses strategies and published ED1 plans. The ENA Losses Working group established and chaired by SPEN will enable a structured approach for members to identify and share their findings of losses best practice both in the UK and internationally and identify further benchmarking opportunities. This is a key enabler for our LDR activities. We will review our Losses Strategy periodically, taking into account the findings of the above groups and findings of NIC and NIA projects. Consideration of losses and innovative solutions are embedded within our normal technical and financial governance process for capital projects. This process will continue to be refined to reflect appropriate best practice identified.
SPEN-09 | 2016-04-28 | Understanding of Losses | Demonstrating understanding | 5 | What are the interactions between the network modelling tools you set out in your LDR submission and any network modelling tools funded through innovation projects (eg NIC/NIA)? It is the responsibility of each DNO to verify that any processes or actions listed in their submissions are not funded under the RIIO-ED1 price control or other innovation stimulation mechanisms. | Our LDR activities were developed specifically as incremental activities and as such are not funded under any other RIIO-ED1 or innovation stimulation mechanism. We presently do not have any NIC or NIA projects which are focused specifically on losses management. There are some learnings from NIC and NIA projects that will help inform the incremental LDR activities and avoid duplication of activity. In Appendix 5 of our submission we have included a statement as follows: The initiatives included within this submission have been developed specifically to further understand and manage network losses. The work to be undertaken has not be submitted for funding under existing reward mechanisms. We submitted a business case as part of its ED1 RIIO submission for funding to support the achievement of Smart Meter benefits, both financial and customer related, over the course of ED1, however as no losses related incentive existed at that point, achievement of benefits related to losses management was not included in these plans. Collaborative and stakeholder engagement actions identified within the LDR initiatives are not included within our existing Stakeholder Engagement Work Plans.
SPEN-10 | 2016-04-28 | Innovative approaches to losses management and actions taken to incorporate these approachs into business as usual activities |  |  | SPEN have stated that the iniatives included in the submission were developed to understand and manage network losses - the work to be undertaken has not been submitted for funding under existing reward mechanisms. For a couple of the iniatives we note that they are building on the findings from LCNF. For these projects, was losses management an original aim? Do you think that the iniatives set out in the LDR submission are beyond what was set out in LCNF projects? | The initiatives set out in SPEN’s LDR submission go beyond what was set out in LCNF projects. It is in customer interests that LDR projects build upon learnings from LCNF projects where appropriate. For example the aim of our LCNF Flexible Networks project is to release extra capacity from our distribution network and is not focused on losses reduction, indeed many of the solutions to free up additional capacity can result in increased network losses. We have aligned our LDR activities to build upon findings from our and other LCNF projects. For example:- Initiative 9 would build on findings in Flexible Networks relating to enhanced thermal rating of transformers and capacity release by investigating the recovery/reuse of transformer waste heat resulting from electrical losses. The scope of this work during the LCNF project was specifically capacity release which would result in increased electrical losses. Initiative 3 will build upon findings in LCNF projects, including Flexible Networks, relating to the relationship between voltage and demand reduction. In Flexible Networks the scope of these activities was capacity related and specifically to facilitate connection of more distributed generation by reduction of voltage set-points. Initiative 5 would develop a model to identify areas of rural HV network with high phase imbalance. Some imbalance measurements were taken on HV network as part of Flexible Networks. Where appropriate we will use this data to refine and improve our model. This may need to be supplemented by small scale measurement trials. The original focus of the Flexible Networks measurements was capacity orientated. All Initiatives have literature or other forms of review embedded into them. We will review prior work undertaken by ourselves, other DNOs and the wider industry. We will continue to use contacts through CIGRE and CIRED and making use of information available through our parent company Iberdrola. Initiative 9 includes a public expert event and seeks contributions from stakeholders all across the industry. Initiatives 1 and 7 build upon fraud detection algorithms developed by Iberdrola, Spain and are wholly independent from UK innovation projects.