## ENWL
Question No. | Date | Criteria (if relevant) | Sub-criteria (if relevant) | Submission Section | Question | Answer (please type here for short response or reference to a Q&A template word document (limit of 600 words) | Where possible, please can you link your answer to the relevant part(s) of your submission.
ENWL-01 | 2016-04-07 | Understanding of Losses | Demonstrating understanding | 2.1-2.3 | Is the FCH model for ENWL network only or are process steps being considered to enable it to be applied to the wider network? Where possible, please can you link this to the relevant part(s) of your submission. | Please see Q&A template 160413 ENWLQ1 LDR The Future Capacity Headroom Model (FCH) model has been developed over the past three years by Electricity North West and is used as part of business as usual to inform our secondary network load related investment programme. The FCH model was originally developed to provide a much more accurate assessment of the Electricity North West network than that provided by the Transform model1. The FCH model is based on the actual configuration and real loading of the network – as opposed to a limited number of ‘representative circuits’ and assumed loads used in the Transform model. The methodology for the current FCH model has previously been shared with other network operators through dissemination activities related to our Low Voltage Network Solutions project2. We also previously shared the underlying approach as part of the RIIO-ED1 load related investment methodology detailed in our well justified business plan. The FCH model is designed to allow a DNO to obtain a detailed understanding of the power flows on its secondary (HV and LV) networks. To achieve this the FCH needs two specific pieces of information; the connectivity or topology of the network right down to service termination level and the loading of the network. The required connectivity information can be obtained from the control room operational IT systems used by all DNOs and, where necessary, supplemented with information from DNO geographical information systems. The loading information is obtained from a combination of control room telemetry (or SCADA) and historic, available metering information. The FCH model uses highly specialised software to intelligently and accurately allocate load down through the network components. This allows for a detailed analysis of load flowing in each network component versus network capacity. The combined information (connectivity and network power flows) is then used to analyse where investments would offer best value. The load allocation and analysis software within the FCH model will now be further developed and refined to create new functionality specifically for the identification of losses reduction opportunities. While data in a consistent format is needed to populate the FCH model and allow this losses analysis, we believe that this data exists in all DNOs and at significant levels of maturity. The FCH model approach is completely transferrable to other network operators who will be able to input specific data to identify losses on their own networks. We believe therefore that the FCH model can be readily applied by other DNOs and we will advise and assist in this process should other network operators wish to do so. In Section 3 of our Losses Discretionary Reward submission, we confirm that we plan to share best practice with relevant stakeholders including other DNOs. In addition to a dedicated losses page on our website, we will offer biannual meetings with network operators to share learning and best practice, including development, implementation and operational experiences associated with the updated FCH model. | Section 2 and Section 3 | Status
ENWL-02 | 2016-04-07 | Understanding of Losses | Demonstrating understanding | 2.1-2.3 | Is the model already part of the losses strategy? How does it shift expectations of what the DNO is capable of doing to reduce losses? Where possible, please can you link this to the relevant part(s) of your submission. | Please see Q&A template 160413 ENWLQ2 LDR While the Future Capacity Headroom Model (FCH) model already exists and is used within Electricity North West to inform the secondary network (HV and LV) reinforcement programme, the existing functionality means that it is not currently part of our losses strategy. Its potential for adaptation for use on losses was recently identified following a root and branch review of options to reduce losses. The adaptation and application of the model will drive a shift in expectations of what can practicably be done by DNOs to reduce losses. This will be achieved by enabling network operators to more reliably assess how their network is operating, reliably evaluate secondary network power flows (including within the LV network) and hence determine specifically where there may be opportunities to reduce losses. Until now it has been envisaged that network operators would need to wait until sufficient numbers of smart meters have been installed to carry out this analysis. Use of the adapted FCH model will enable these loss reduction opportunities to be identified well ahead of the rollout of smart meters. There are significant smart meter programme delays and uncertainty over access to the data required to realise the losses reductions benefits predicted by smart meter rollout. The FCH model will enable these benefits to be realised earlier and hence deliver greater value for customers earlier. Following the rollout of smart meters, the adapted functionality of the FCH model will make use of the more detailed customer data available to allow even greater accuracy in modelling power flows and the associated network losses. | Section 2, Section 4 and Section 5 | Awaiting response
ENWL-03 | 2016-04-07 | Understanding of Losses | Consider network in holistic manner | 2.4 | How will ENWL "no longer simply consider the costs and benefits accruing to our own network and business… and develop more holistic solutions…"? Where possible, please can you link this to the relevant part(s) of your submission. | Please see Q&A template 160413 ENWLQ3 LDR An holistic approach to tackling losses is a core part of our plans, as we set out in Section 2.4 of our submission document. Through the use of our Real Options Cost Benefit Analysis (ROCBA) tool, we will develop network solutions which will fully recognise losses by identifying the optimum investment decision [reference submission section 5.2]. The ROCBA modelling is designed to take account of a wide range of potential costs and benefits through the application of a number of alternative future scenarios. This provides the opportunity to incorporate impacts to all stakeholders therefore supporting a more complete and holistic solution. For example, the reinforcement requirements at the transmission/ distribution system boundary may have potential solutions on either system. The ROCBA tool will allow direct financial comparison of the solutions recognising costs and losses on both systems. Similarly, optimised reinforcement investment decisions at the DNO/IDNO system boundary are facilitated by the ROCBA tool. At the connections boundary, the ROCBA tool will allow investment optimisation that recognises losses of varied connection reinforcement solutions; from traditional large scale reinforcement to innovative ’bite sized‘ solutions such as the use of demand side response. We also refer you to our answer to question four which sets out more detail on development of the supporting regulatory structures to underpin this whole system approach. We recognise that this broader view of network investment analysis will require a collaborative approach from all the key stakeholders coupled with effective stakeholder engagement and the development of partnership approaches which we outline in Section 3 of our submission document. | Sections 2, Section 3 and Section 5 | Response received
ENWL-04 | 2016-04-07 | Understanding of Losses | Consider network in holistic manner | 2.4 | How will ENWL "work with other stakeholders, including Ofgem, to identify and mitigate (or remove) any peverse incentives associated with a narrow, business-specific approach to the optimisation of losses"? Where possible, please can you link this to the relevant part(s) of your submission. | Please see Q&A template 160413 ENWLQ4 LDR The efficient management of network losses will become ever more important to managing costs to customers as power flows increase due to decarbonisation of heat, transport and generation. Developing ways to tackle distribution losses will enable us to reduce network operating costs for customers and achieve improved environmental and energy management performance. The regulatory environment under RIIO-ED1 supports this by setting out a number of important foundation elements to support medium to long-term losses management strategy development. However, any investment initiatives identified may require appropriate incentivisation and adjustments to allowance regimes if large scale rollout is to occur. In our view these do not yet exist in a sufficiently mature form and collaborative work incorporating stakeholders from the Authority through to customers will be required to design effective incentive mechanisms. Once in place these mechansims will drive a paradigm shift in how losses are measured and efficiently managed across all parts of the electricity network. As detailed in section 3 of our submission document [and specifically Section 3.3] , we will tailor our engagement with stakeholders and, through this process, initiate development of losses incentives. Electricity North West has a track record of leading the industry in the development of efficient regulation. For example, we chair the Distribution Code Review Panel, we represent all DNOs on the Grid Code Review Panel and have previously chaired the Smart Meter sub-group of the ENFG and the ENA regulation managers group. We will encourage debate, seek to establish concensus and, if there is a need, establish specialist working groups to provide sufficient focus to explore and develop the necessary regulatory mechanisms. | Sections 2, Section 3, Section 4 and Section 5 | Closed
ENWL-05 | 2016-04-14 | Effective engagement and sharing of best practice with stakeholders |  | 3.2 | Do you plan to collaborate with other DNOs to initiate projects/work together to achieve the best outcome and to ensure best practice? Why is this collaboration beyond business as usual processes? | Our approach to collaborate and share best practice with other DNOs and industry stakeholders is outlined in our submission. We strongly believe that more effective communication and coordination between stakeholders represents a huge opportunity to improve the overall management of network losses. Our view is that the current lack of alignment between parties represents one of the core problems associated with a reduction in total system losses. In addition to sharing the techniques and opportunities identified, central to the realisation of these benefits for customers will be the derivation of a suitable and efficient incentive or funding mechanism. This has hitherto proved difficult throughout the past several regulatory periods. The cornerstone of our engagement plan will see Electricity North West establish and chair a losses specific working group through the Energy Networks Association to build on our earlier leadership in this area under workstream 6 and finalise a suitable mechanism. ENW leadership, collaboration and contribution in such areas is beyond business as usual and will result in a common approach to a losses incentive mechanism to drive innovation for the reduction of losses. We envisage publication of a best practice guide to assist all DNOs in losses reduction in addition to the development of regulatory mechanisms for losses, as outputs of the proposed losses working groups. In addition to the above, we will seek like-minded DNOs with whom we can explore collaborative losses reduction projects and will encourage participation in such projects from outside the DNO community.
ENWL-06 | 2016-04-14 | Effective engagement and sharing of best practice with stakeholders |  | 3.3 | It has been noted that you intend be part of WGs through the ENA. What outcomes do you hope to achieve from being part of this group? How will it push your work forward on losses? | The losses discretionary reward provides the opportunity to bring about a more holistically focussed, whole-of-system, approach to the reduction of losses on the electricity system. To make the most of this opportunity and ensure maximum benefit is derived for all electricity customers, industry stakeholders will need to identify disincentives from organisational perspectives; and then work together, through ENA working groups, to achieve the development and implementation of appropriate regulatory mechanisms, analysis processes and supporting technical standards. These newly developed mechanisms and processes, which recognise the impacts of losses activities across stakeholder boundaries, will drive forward work on reducing losses. This will be done by providing the incentives and supporting framework to ensure all industry participants make decisions which consider losses investments in the context of the most cost effective solution across the entire electricity transmission and distribution system. We anticipate that the work through the ENA (and other industry groups – as set out in Section 3.3. of our submission) will enable us to lead the thinking required for the development of the most effective losses-reduction incentives. Without this collaborative ENA work we believe the whole system benefits of losses reductions for customers would be suboptimal. | All sections
ENWL-07 | 2016-04-14 | Effective engagement and sharing of best practice with stakeholders |  | 3.3 | You have said ENWL will include a dedicated area on your website. Why do you consider that this is above and beyond business as usual processes? How does this significantly shift expectations of how to inform on reduction of losses? | Electricity North West is committed, through our licence obligation, to undertake all reasonably practicable actions to reduce network losses with our business as usual processes and our Losses Strategy underpinning our approach. Going forward, we will actively pursue opportunities to engage more widely with industry stakeholders to encourage collaboration and to deliver a whole systems approach to the reduction of losses. To support this, we will make available all of our information on losses, including for example our line loss factors methodology, how we calculate and report on losses and also our approach to losses inclusive investment decisions. We will also publish notes and details from the ENA working groups and other stakeholder groups and initiatives (see our responses to Questions 5 and 6). This will be on a dedicated losses microsite, one click away from our corporate website for maximum accessibility. The website will be able to collect stakeholder thoughts, views, requests and ideas associated with better management of network losses, making it a two-way communication medium.It is envisaged that the losses microsite will bring together all losses information together in one dedicated location. Some of this will be existing information, possibly requied by the Licence, and some will be details of our latest work or thinking; for instance details of our Real Options Cost Benefit Analyis tool. This significantly shifts expectations of how to inform on reduction of losses by making it easier to identify where customers and stakeholders can; • Change their working practices to reduces losses for mutal benefit • Collaborate with ENWL to establish best practice • Understand and influence our plans and latest thinking This level of dissemination, presented in a cohesive manner, is beyond what is currently required by our business as usual obligations. | Section 3 and Section 4
ENWL-08 | 2016-04-21 | Processes to manage losses | Have companies looked at best practice, both nationally and internationally, when considering processes and methods to manage losses on their networks? | 4.1 | What processes do you have (or expect to have) in place to ensure best practice in relation to losses management is continuously considered and incorporated? | To ensure accountability for losses within the business, specific responsibility for technical losses is assigned to our Head of Engineering and for non-technical losses to our Operations Manager. It is their responsibility to ensure that best practice in losses management is fully considered and incorporated where justified. These responsible managers represent ENWL at national losses forums, for example, at the ENA Technical Losses Task Group – to share, debate and recognise best practices. Furthermore, ENWL operates a system of ‘Day After Reporting’ following attendance at any national forums/working groups and any losses-related items will continue to be documented, shared and appropriate actions placed on the responsible managers. ENWL has also engaged external consultants, Poyry, who uses its extensive internal expert network and global client reach to help us better understand international ‘best practice’ in losses management and how this can be applied in ENWL and, more generally, in GB. In addition, Pöyry continues to provide guidance on European Union (EU) Guidelines and Directives associated with electricity network losses and advises on how ENWL needs to respond. This also helps ENWL to understand future drivers for change which may affect the treatment of network losses. Appendix B of the ENWL LDR submission document provides a summary of our most recent review of national and international best practice on processes and methods to manage losses. This work also includes a comparison of the magnitude of electricity losses across different countries, as well as an examination of the different calculation methodologies used in the preparation and presentation of the losses performance. This work was supplemented by reference site visits to several European and American network operators during which we reviewed the use of smart meter-based and other losses reduction strategies. We have also undertaken a review of the losses strategies of DNOs in Finland through our group ownership associations. We are planning a reference visit to a number of progressive Australian utility operators later in 2016. We continue to explore ways in which this ongoing review of international experience can be improved and developed in order to ensure that losses management best practice continues to be considered and, where appropriate, incorporated within the ENWL business. As a minimum, ENWL reviews its Losses Strategy annually to ensure that it reflects ongoing best practice. | All sections
ENWL-09 | 2016-04-21 | Processes to manage losses | How are companies preparing to effectively use smart meter data to develop specific actions to manage losses | 4.3 | Please clarify the processes behind the work on potential regulatory incentives for ED2? What is the timetable and are specific resources committed? | Our ED1 workplan for our Strategy and Regulation team contains a specific workstream tasked with reviewing, developing and refining incentive mechanisms. We have long been recognised within the industry as a leader in this area and we recognise and accept our responsibility to assist Ofgem, other DNOs and indeed the TOs and the SO in this work. We also recognise that a number of these issues, including losses incentive structures, need to be developed in time for the TD2 review as many issues are ‘whole-of-system’ issues which require a coordinated and integrated approach. Development of a viable losses incentive has started within our regulation team and we will produce proposals for review by stakeholders in the first quarter of 2017. Our work covers both technical and non-technical losses and builds on part of our earlier work under Smart Grid Forum (SGF) Workstream 6. Responsibility for the development of each key incentive has been allocated to a named senior leader within our organisation and is being measured against a baseline delivery plan. In the case of losses, responsibility is allocated to our Head of Engineering. Progress against this plan is reviewed monthly by our operating board and overall responsibility for its delivery is assigned to our Networks Strategy and Technical Services Director. Core to any losses-based incentive is the ability to quantify losses pre and post intervention. It is for this reason that we now plan to expand the use of our Future Capacity Headroom (FCH) model to allow us to have visibility of the specific location and quantum of network losses ahead of smart meter rollout. Our Real Options model is the vehicle we will use to evaluate the relative merits of available intervention options, thereby ensuring best value for customers. Our work on incentives is central to this strategy as it will explore and define how the associated costs and benefits can be shared with customers. | Section 3 and Section 4
ENWL-10 | 2016-04-21 | Processes to manage losses | How are companies preparing to effectively use smart meter data to develop specific actions to manage losses | 4.2 | You have said that your WJBP details how you will use smart meter data in relation to losses. Do you consider any of the processes outlined in your WJBP shift expectations of what DNOs are capable of doing to reduce losses? | Our WJBP outlines a number of benefits associated with the rollout of smart meters. In respect of losses benefit, smart meters will provide much greater visibility of the power flows on the network. As the penetration of smart meters increases we believe that it will certainly shift expectations of the ability of DNOs to identify areas where, for example, non-technical losses can be reduced. Technical losses will increase with the forecast increase in demand [as set out in our WJBP], however, smart meter data will allow the optimisation of network planning and operation for losses, demand side response and security of supply. As detailed in our response to question ENWL-02 we recognise that there are, however, significant delays in the smart meter programme. There is also some uncertainty over obtaining access to the data required to realise many of the losses reduction benefits from those envisaged at the time of the WJBP. The magnitude of GB system losses, particularly on low voltage networks, is considerable and appears to be notably higher than some other comparative networks overseas. It is vital for customers that the level of losses on the GB distribution networks is reduced at the earliest opportunity and we should not allow delays in the smart meter delivery programme to affect this. Our Future Capacity Headroom (FCH) model will enable these reductions to be realised earlier and hence deliver greater value for customers ahead of the smart meter rollout. As smart meters are deployed, the adapted functionality of the FCH will provide increasingly accurate modelling of network losses by actively compensating for any ‘gaps’ in smart meter data – arising, for example, from low customer take-up. The network loading visibility provided by the FCH model, supplemented by smart meter data, will enable the DNOs to make significantly headway in the losses reduction challenge. | Section 4
ENWL-11 | 2016-04-28 | Understanding of Losses | Demonstrating understanding | 2.1-2.3 | What are the interactions between the network modelling tools you set out in your LDR submission and any network modelling tools funded through innovation projects (eg NIC/NIA)? It is the responsibility of each DNO to verify that any processes or actions listed in their submissions are not funded under the RIIO-ED1 price control or other innovation stimulation mechanisms. | The Future Capacity Headroom (FCH) model requires input from a network connectivity model and a load allocation methodology. The network connectivity model is derived from the network management system (NMS) and the load allocation from a stand-alone model. The new NMS system will provide superior network connectivity and load allocation models. The FCH does not currently include losses assessment as part of its methodologies. The FCH model was developed under an LCNF Tier 1 project, with the aim of helping to develop our Well Justified Business Plan (WJBP) load-related expenditure submission. This project was completed and its outputs delivered. Our new network management system and associated network modelling tools are funded from our RIIO-ED1 IT or operational IT allowances. As part of a current NIA project, we are producing an initial specification for further development of the original FCH using the improved network connectivity model and the improved load allocation methodology from the new network management system. However, these funded projects do not include the consideration of losses. The additional work described in our losses submission on building a new FCH and extending the new FCH model for losses functionality, with additional asset data and losses calculation algorithms specifically for identification of network losses, builds on funded projects but is not funded under NIC/NIA and does not form part for our IT/Op IT allowances. We plan to fund this work from efficiencies gained through the delivery of our WJBP. In our submission we describe a further model – the Real Options Cost benefit Analysis (ROCBA) model. This provides a financial decision-making tool that recognises and compares alternative solutions (and costs) associated with various network constraints under different scenarios of demand. Similarly, the development of the first phase of the ROCBA model and Excel tool was developed first under the IFI, and then as part of a NIA project. It is due to be completed in the next few months. The approved scope of the existing NIA project did not provide for the recognition of losses in the calculation, and the scope of the ROCBA was subsequently extended to include the value of network losses. The cost of the additional scope of work is separate from the NIA funding mechanism and is again provided separately through efficiencies arising through delivery of our WJBP. Furthermore the original IFI/NIA project developed the tool and methodology specifically to compare large reinforcement and post-fault demand-side response (DSR) projects on the grid and primary network. Significant work to extend the ROCBA approach to loss management associated with other network policies and investment decisions is also significantly beyond the scope of the original NIA project.
ENWL-12 | 2016-04-28 | Innovative approaches to losses management and actions taken to incorporate these approaches into business as usual activities |  | 5.3 | ENWL, section 5.3, noted that they believe that they are leading the industry in understanding and managing non-technical losses. What best practice activity and innovative thinking gives you the lead and separates you from other DNOs? How is this this above and beyond business as usual? | See attachment 160504 ENWLQ12 LDR.pdf The view that we are leading the way has come from discussions at various industry forums such as the UKRPA. Electricity North West (and our predecessor companies) has a long history of championing the management of theft and we are one of a few DNOs that still have a revenue protection service that we offer to suppliers. We also note that in Ofgem “RIIO-ED1: Final determinations for the slow-track electricity distribution companies Overview”, Ofgem stated that, “We have also allowed ENWL’s expenditure on electricity theft reduction initiatives as they are also well-justified.” and that there were no similar statements for the other DNOs. We believe this is because our activities are above and beyond the business as usual activities of other DNOs. Not all suppliers operating in our area choose to use our revenue protection service; four suppliers choose to use their own resources to investigate meter interference in our area. Even so, our revenue protection service dealt with 1 200 cases and identified 27 GWh of lost units last year, valued at £1.3m. We recognise that there are processes that we manage that can help combat theft and there are other agencies that we can share knowledge with to help minimise theft. For example we have implemented the following internal processes to uncover potential theft: • The identification of connections without associated addresses from our network diagrams, • The systematic investigation of new MPANs unregistered for more than nine months, • The investigation of cancelled connection projects, • The investigation of supplier and customer requests for new MPANs when a connection already exists, • Identification of addresses where there is no MPAN from customer enquiries to the helpdesk, and • Monitoring the receipt of meter readings received for disconnected MPANs. On our website we have an option available for the public to report suspicious circumstances that may be associated with the theft of electricity. This has uncovered a variety of theft situations, particularly illegal connections. It is clear to us that other network operators are not as vigilant as Electricity North West. We have known for many years that other agencies have significant knowledge of the theft of electricity so we have established close working relationships with the local police forces, fire authorities and Environmental Health within our footprint, as it is these agencies that are generally at the forefront of managing the consequences of electricity theft. We offer training to these agencies to help them identify cases of meter interference and participate in joint initiatives to tackle unlawful activities in specific areas. There are numerous examples in the local press and through our internal communications of Electricity North West working with these other agencies (see attached internal Yammer posts). In addition, we are the only DNO to issue a code of practice to meter operators, made available through the MOCOPA1 website, which contains information on service terminations and specifically what to look for (through the use of photographs) and how to contact Electricity North West. We believe that we are at the forefront in investigating cases of theft in conveyance. Last year we successfully closed 106 cases. Other DNOs appear reluctant to divulge what they are doing in this area but we understand that this is because it is minimal, mostly reactively responding to external reports of illegal connections. We have hosted colleagues from another network operator who were keen to learn what we do to tackle theft in conveyance. The recent RRP returns on electricity theft for the first year of RIIO should give an indication of the volumes of cases and units being dealt with by each DNO.
ENWL-13 | 2016-04-28 | Innovative approaches to losses management and actions taken to incorporate these approaches into business as usual activities |  | 5.2 | You have mentioned making changes/improving the CBA. What processes to you have (or expect to have) to collaborate with other DNOs to ensure consistency? | The Real Options Cost Benefit Analysis (ROCBA), in its latest phase, is part of a NIA project which we have now improved and significantly augmented to include consideration of losses. Although not part of the original scope of the project, we now plan to disseminate our learning and encourage collaboration on this losses element of the project – and to do this at the same time as engaging on the ROCBA model as a whole. As outlined in our answer to question ENWL-05, the cornerstone of our engagement plan will see us establish and chair a losses-specific working group – convened through the Energy Networks Association (ENA). This will build on our earlier leadership in this area under Smart Grid Forum (SGF) Workstream 6. We will use this platform to undertake a workshop (or series of workshops) with network operators across the transmission and distribution systems to challenge and debate our approach to the ROCBA model. We will then refine our methodology through the inclusion of recommendations agreed in the course of those discussions. As stated in our answer to question ENWL-05, we envisage publication of a best practice guide. This guide will include the ROCBA model methodology. We recognise that encouraging collaboration and co-ordination between stakeholders in this way represents a huge opportunity to improve the overall management of network losses and we are committed to continuing to lead and drive improvements in this area.