## Title
GB Power Market Scenario Results
March 2017
Contents of this workbook
This workbook has been provided in conjunction with the report "Transmission Charging Arrangements for Embedded Generation" by Frontier Economics and LCP, and should be viewed in this context. In particular, the limitations outlined in section 7 of the report equally apply to the results provided here.
The results contained in this workbook are produced by LCP's EnVision model of the GB power market. It contains projections from 2017 to 2034 under scenarios based on assumptions prvoided by Ofgem or obtained from publicly available sources where possible.
Interpretation and Limitations
The results presented in this workbook are dependent on the assumptions used and the modelling methodology applied. In particular, long term forecasts are subject to significant uncertainty and actual market outcomes may differ materially from the forecasts presented. Frontier Economics and LCP can therefore accept no liability for losses suffered, direct or consequential, arising out of any reliance on the results presented.
In particular:
• The scenarios presented do not take into account all changes that could potentially occur in the power market. More extreme market outcomes than those presened are therefore possible.
• The relationship between the cost of generation and prevailing market prices has been assessed based on historical data and current forward power prices. To the extent that this relationship changes over time results could vary.
• The modelling results are based on all market participants having a common view on future market outcomes. To the extent that views vary between market participants the results could be considerably different to those presented in this report.
• The modelling makes use of a power plant database maintained by LCP. Assumptions on individual plant characteristics have been estimated where required.
• We do not take into account the effect that future changes to the market structure may have on the behaviour of market participants. For example we do not assume any change in wholesale market behaviour as a result the Capacity Market reforms.

## ScenarioDetails
Note | The levels of the demand TNUoS residual (£/kW, 2016 real) under each scenario are listed below
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Status Quo | 36.52 | 45.33 | 45.3 | 50.46 | 54.3 | 65.96 | 65.96 | 65.96 | 65.96 | 65.96 | 65.96 | 65.96 | 65.96 | 65.96 | 65.96 | 65.96 | 65.96 | 65.96 | 65.96
Scenario 1 | 36.52 | 45.33 | 45.3 | 46.17 | 46.67 | 47.18 | 47.68 | 48.2 | 48.72 | 49.24 | 49.77 | 50.31 | 50.85 | 51.4 | 51.96 | 52.52 | 53.08 | 53.66 | 54.23
Scenario 2 | 36.52 | 45.33 | 45.3 | 20.5 | 20.72 | 20.94 | 21.17 | 21.39 | 21.62 | 21.86 | 22.09 | 22.33 | 22.57 | 22.82 | 23.06 | 23.31 | 23.56 | 23.82 | 24.07
Scenario 3 | 36.52 | 45.33 | 45.3 | 1.65 | 1.67 | 1.69 | 1.7 | 1.72 | 1.74 | 1.76 | 1.78 | 1.8 | 1.82 | 1.84 | 1.86 | 1.88 | 1.9 | 1.92 | 1.94
Generator residual | 36.52 | 45.33 | 45.3 | 3.25 | 5.05 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94
Scenario 3 phased | 36.52 | 45.33 | 45.3 | 30.76 | 16.22 | 1.69 | 1.7 | 1.72 | 1.74 | 1.76 | 1.78 | 1.8 | 1.82 | 1.84 | 1.86 | 1.88 | 1.9 | 1.92 | 1.94
Scenario 2 phased | 36.52 | 45.33 | 45.3 | 37.18 | 29.06 | 20.94 | 21.17 | 21.39 | 21.62 | 21.86 | 22.09 | 22.33 | 22.57 | 22.82 | 23.06 | 23.31 | 23.56 | 23.82 | 24.07
Scenario 1 phased | 36.52 | 45.33 | 45.3 | 45.93 | 46.55 | 47.18 | 47.68 | 48.2 | 48.72 | 49.24 | 49.77 | 50.31 | 50.85 | 51.4 | 51.96 | 52.52 | 53.08 | 53.66 | 54.23
Generator residual phased | 36.52 | 45.33 | 45.3 | 33.18 | 21.06 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94 | 8.94

## ConsumerCosts
Note | All values represent the change in £m (2016 real) when moving from the Status Quo
All NPV values are calculated using a discount rate of 3.5%
Scenario 1
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
CM Payments | 0 | 0 | 0 | 0 | -1 | 0 | 63 | 39 | -112 | 3 | 2 | -221 | 24 | -47 | -126 | -101 | -83 | -52 | -41 | -4 | -160 | -390
Wholesale cost | 0 | 0 | 0 | 1 | 8 | 18 | -18 | 55 | 5 | -10 | 12 | 183 | 47 | -43 | 71 | 52 | 34 | -84 | -173 | 54 | 180 | 135
CFD cost | 0 | 0 | 0 | -2 | -4 | -32 | -28 | -36 | -31 | -33 | -40 | -76 | -48 | -19 | -42 | -58 | -52 | -4 | 28 | -103 | -246 | -321
EEU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 10 | 1 | 1 | 9 | -7 | 0 | -5 | -1 | 0 | 6 | 3
Additional Triad Avoidance cost | 0 | 0 | 0 | 30 | 52 | 176 | 204 | 216 | 226 | 239 | 249 | 266 | 287 | 286 | 303 | 291 | 287 | 283 | 278 | 702 | 1578 | 2384
Total | 0 | 0 | 0 | 29 | 55 | 162 | 221 | 274 | 88 | 199 | 219 | 162 | 311 | 178 | 214 | 177 | 186 | 138 | 91 | 650 | 1357 | 1811
Scenario 1 phased
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
CM Payments | 0 | 0 | 0 | 0 | -1 | 0 | 63 | 39 | -112 | 3 | 2 | -221 | 24 | -47 | -126 | -101 | -83 | -52 | -41 | -4 | -160 | -390
Wholesale cost | 0 | 0 | 0 | 1 | 8 | 18 | -18 | 55 | 5 | -10 | 12 | 183 | 47 | -43 | 71 | 52 | 34 | -84 | -173 | 54 | 179 | 135
CFD cost | 0 | 0 | 0 | -2 | -4 | -32 | -28 | -36 | -31 | -33 | -40 | -76 | -48 | -19 | -42 | -58 | -52 | -4 | 28 | -103 | -246 | -321
EEU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 10 | 1 | 1 | 9 | -7 | 0 | -5 | -1 | 0 | 6 | 3
Additional Triad Avoidance cost | 0 | 0 | 0 | 31 | 52 | 176 | 204 | 216 | 226 | 239 | 249 | 266 | 287 | 286 | 303 | 291 | 287 | 283 | 278 | 704 | 1580 | 2386
Total | 0 | 0 | 0 | 31 | 55 | 162 | 221 | 274 | 88 | 199 | 219 | 162 | 311 | 178 | 214 | 177 | 186 | 138 | 91 | 652 | 1359 | 1813
Scenario 2
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
CM Payments | 0 | 0 | 0 | 0 | 2 | 0 | -215 | -218 | -268 | -266 | -85 | -404 | -127 | -442 | -321 | -261 | -194 | -156 | -125 | -530 | -1398 | -1997
Wholesale cost | 0 | 0 | 0 | -31 | -36 | -14 | 152 | 179 | 171 | 283 | 328 | 560 | 326 | 301 | 201 | 208 | 171 | -93 | -150 | 312 | 1503 | 1709
CFD cost | 0 | 0 | 0 | -9 | -13 | -71 | -85 | -94 | -96 | -143 | -173 | -235 | -193 | -190 | -167 | -188 | -194 | -83 | -93 | -285 | -902 | -1311
EEU | 0 | 0 | 0 | 0 | 0 | 0 | 6 | -5 | -4 | 4 | -5 | 0 | -17 | -1 | 5 | -5 | -3 | -8 | -4 | -2 | -13 | -21
Additional Triad Avoidance cost | 0 | 0 | 0 | 208 | 227 | 421 | 511 | 560 | 614 | 674 | 705 | 756 | 800 | 826 | 855 | 837 | 854 | 874 | 875 | 1992 | 4474 | 6869
Total | 0 | 0 | 0 | 167 | 181 | 336 | 369 | 422 | 417 | 552 | 770 | 677 | 789 | 494 | 573 | 591 | 634 | 534 | 503 | 1488 | 3664 | 5249
Scenario 2 phased
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
CM Payments | 0 | 0 | 0 | 0 | 8 | 0 | -215 | -218 | -271 | -267 | -85 | -404 | -127 | -442 | -321 | -262 | -194 | -156 | -125 | -526 | -1395 | -1995
Wholesale cost | 0 | 0 | 0 | -2 | -144 | -14 | 152 | 179 | 171 | 283 | 328 | 560 | 326 | 301 | 201 | 208 | 171 | -93 | -150 | 247 | 1437 | 1644
CFD cost | 0 | 0 | 0 | -4 | -2 | -71 | -85 | -94 | -96 | -143 | -173 | -235 | -193 | -190 | -167 | -188 | -194 | -83 | -93 | -272 | -888 | -1297
EEU | 0 | 0 | 0 | 0 | 0 | 0 | 6 | -5 | -4 | 4 | -5 | 0 | -17 | -1 | 5 | -5 | -3 | -8 | -4 | -2 | -13 | -21
Additional Triad Avoidance cost | 0 | 0 | 0 | 92 | 171 | 421 | 511 | 560 | 614 | 674 | 705 | 756 | 800 | 826 | 855 | 837 | 854 | 874 | 875 | 1844 | 4326 | 6721
Total | 0 | 0 | 0 | 86 | 33 | 336 | 369 | 422 | 415 | 551 | 770 | 677 | 789 | 494 | 573 | 591 | 634 | 533 | 503 | 1291 | 3467 | 5051
Scenario 3
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
CM Payments | 0 | 0 | 0 | 1 | -2 | 5 | -327 | -369 | -376 | -462 | -130 | -407 | -231 | -329 | -427 | -305 | -255 | -204 | -169 | -810 | -1847 | -2618
Wholesale cost | 0 | 0 | 0 | -15 | 18 | -92 | 229 | 345 | 438 | 402 | 469 | 672 | 516 | 413 | 421 | 351 | 83 | -79 | -165 | 691 | 2326 | 2698
CFD cost | 0 | 0 | 0 | -17 | -25 | -98 | -129 | -161 | -191 | -216 | -253 | -315 | -303 | -291 | -315 | -316 | -231 | -178 | -179 | -478 | -1386 | -2074
EEU | 0 | 0 | 0 | 0 | 0 | -7 | -8 | -1 | -5 | 1 | 1 | -3 | -5 | -21 | -9 | -4 | 0 | -8 | -9 | -16 | -33 | -50
Additional Triad Avoidance cost | 0 | 0 | 0 | 339 | 356 | 601 | 720 | 784 | 846 | 924 | 959 | 1026 | 1080 | 1115 | 1149 | 1136 | 1166 | 1192 | 1197 | 2865 | 6235 | 9491
Total | 0 | 0 | 0 | 308 | 348 | 408 | 485 | 598 | 713 | 649 | 1046 | 972 | 1056 | 887 | 820 | 862 | 763 | 723 | 676 | 2252 | 5294 | 7447
Scenario 3 phased
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
CM Payments | 0 | 0 | 0 | 0 | 1 | 5 | -327 | -369 | -377 | -448 | -129 | -407 | -231 | -329 | -426 | -304 | -254 | -204 | -168 | -809 | -1835 | -2604
Wholesale cost | 0 | 0 | 0 | 0 | -25 | -92 | 229 | 345 | 438 | 402 | 469 | 672 | 516 | 413 | 421 | 351 | 83 | -79 | -165 | 667 | 2303 | 2674
CFD cost | 0 | 0 | 0 | -7 | -15 | -98 | -129 | -161 | -191 | -216 | -253 | -315 | -303 | -291 | -315 | -316 | -231 | -178 | -179 | -462 | -1370 | -2058
EEU | 0 | 0 | 0 | 0 | 0 | -7 | -8 | -1 | -5 | 1 | 1 | -3 | -5 | -21 | -9 | -4 | 0 | -8 | -9 | -16 | -33 | -50
Additional Triad Avoidance cost | 0 | 0 | 0 | 137 | 258 | 601 | 720 | 784 | 846 | 924 | 959 | 1026 | 1080 | 1115 | 1149 | 1136 | 1166 | 1192 | 1197 | 2606 | 5976 | 9232
Total | 0 | 0 | 0 | 130 | 218 | 408 | 485 | 598 | 712 | 663 | 1047 | 972 | 1056 | 887 | 820 | 862 | 764 | 724 | 676 | 1987 | 5040 | 7194
Generator residual
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
CM Payments | 0 | 0 | 0 | 1 | -1 | 5 | -421 | -30 | -264 | -344 | -109 | -496 | -241 | -352 | -432 | -307 | -249 | -201 | -136 | -544 | -1561 | -2313
Wholesale cost | 0 | 0 | 0 | -2 | 17 | -53 | 426 | 367 | 499 | 423 | 446 | 654 | 519 | 438 | 386 | 353 | 83 | -95 | -122 | 949 | 2590 | 2956
CFD cost | 0 | 0 | 0 | -17 | -23 | -89 | -131 | -146 | -185 | -204 | -229 | -296 | -280 | -275 | -273 | -295 | -199 | -137 | -162 | -456 | -1302 | -1904
EEU | 0 | 0 | 0 | 0 | 0 | -7 | 25 | 6 | 2 | 3 | 2 | 2 | 0 | -14 | -4 | -1 | -4 | -4 | -5 | 20 | 16 | 6
Additional Triad Avoidance cost | 0 | 0 | 0 | 328 | 334 | 533 | 645 | 710 | 771 | 846 | 881 | 946 | 1000 | 1034 | 1068 | 1055 | 1082 | 1105 | 1112 | 2612 | 5719 | 8741
Total | 0 | 0 | 0 | 309 | 327 | 388 | 544 | 907 | 824 | 724 | 992 | 810 | 999 | 832 | 745 | 805 | 713 | 668 | 687 | 2581 | 5462 | 7486
Generator residual phased
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
CM Payments | 0 | 0 | 0 | 0 | 2 | 5 | -421 | -30 | -265 | -328 | -96 | -517 | -69 | -341 | -420 | -297 | -221 | -191 | -126 | -543 | -1438 | -2151
Wholesale cost | 0 | 0 | 0 | 2 | -36 | -53 | 426 | 367 | 499 | 421 | 444 | 750 | 522 | 427 | 371 | 371 | 83 | -81 | -107 | 908 | 2605 | 2987
CFD cost | 0 | 0 | 0 | -6 | -12 | -89 | -131 | -146 | -185 | -204 | -230 | -317 | -280 | -273 | -264 | -299 | -201 | -137 | -168 | -438 | -1297 | -1900
EEU | 0 | 0 | 0 | 0 | 0 | -7 | 25 | 6 | 2 | 3 | -11 | 4 | 0 | -14 | -4 | -1 | -4 | -4 | -5 | 20 | 9 | -1
Additional Triad Avoidance cost | 0 | 0 | 0 | 120 | 225 | 533 | 645 | 710 | 771 | 846 | 881 | 946 | 1000 | 1034 | 1068 | 1055 | 1082 | 1105 | 1112 | 2340 | 5447 | 8469
Total | 0 | 0 | 0 | 116 | 179 | 388 | 544 | 907 | 823 | 737 | 989 | 866 | 1173 | 834 | 751 | 829 | 740 | 692 | 706 | 2287 | 5325 | 7404

## SystemCosts
Note | All values represent the change in £m (2016 real) when moving from the Status Quo
All NPV values are calculated using a social discount rate of 3.5%
Scenario 1
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
Fuel | 0 | 0 | 0 | -1 | -1 | 28 | 4 | 9 | 12 | 22 | 30 | 58 | 94 | 70 | 59 | 40 | 38 | 44 | 27 | 40 | 218 | 335
Opex | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 3 | -3 | 2 | -1 | 1 | 0 | -1 | 10 | 3 | -2 | -2 | 4
Carbon | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 6 | 9 | 8 | 12 | 8 | 9 | 10 | 11 | 1 | 17 | 46
Capex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | -22 | -10 | -10 | -29 | 57 | 57 | 17 | 21 | 0 | -21 | 46
EEU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 10 | 1 | 1 | 9 | -7 | 0 | -5 | -1 | 0 | 6 | 3
Total | 0 | 0 | 0 | -1 | -1 | 29 | 3 | 8 | 12 | 22 | 41 | 49 | 96 | 68 | 52 | 98 | 102 | 76 | 60 | 39 | 218 | 434
Scenario 1 phased
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
Fuel | 0 | 0 | 0 | -1 | -1 | 28 | 4 | 9 | 12 | 22 | 30 | 58 | 94 | 70 | 59 | 40 | 38 | 44 | 27 | 40 | 218 | 335
Opex | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 3 | -3 | 2 | -1 | 1 | 0 | -1 | 10 | 3 | -2 | -2 | 4
Carbon | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 6 | 9 | 8 | 12 | 8 | 9 | 10 | 11 | 1 | 17 | 46
Capex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | -22 | -10 | -10 | -29 | 57 | 57 | 17 | 21 | 0 | -21 | 46
EEU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 10 | 1 | 1 | 9 | -7 | 0 | -5 | -1 | 0 | 6 | 3
Total | 0 | 0 | 0 | -1 | -1 | 29 | 3 | 8 | 12 | 22 | 41 | 49 | 96 | 68 | 52 | 98 | 102 | 76 | 60 | 39 | 218 | 434
Scenario 2
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
Fuel | 0 | 0 | 0 | 7 | 8 | 38 | 61 | 92 | 160 | 204 | 225 | 274 | 303 | 208 | 149 | 129 | 127 | 128 | 149 | 279 | 1080 | 1461
Opex | 0 | 0 | 0 | -1 | -1 | 0 | -3 | 2 | 3 | 1 | 6 | 7 | 13 | 3 | 6 | 8 | 12 | 23 | 22 | 0 | 20 | 59
Carbon | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 5 | 10 | 13 | 16 | 24 | 29 | 28 | 31 | 28 | 29 | 31 | 35 | 16 | 88 | 174
Capex | 0 | 0 | 0 | 0 | 0 | 0 | -19 | -6 | -15 | -37 | -16 | -38 | -17 | -41 | -56 | -12 | -12 | -52 | -86 | -30 | -128 | -248
EEU | 0 | 0 | 0 | 0 | 0 | 0 | 6 | -5 | -4 | 4 | -5 | 0 | -17 | -1 | 5 | -5 | -3 | -8 | -4 | -2 | -13 | -21
Total | 0 | 0 | 0 | 6 | 7 | 39 | 51 | 88 | 155 | 185 | 226 | 267 | 312 | 196 | 136 | 147 | 153 | 121 | 116 | 263 | 1047 | 1424
Scenario 2 phased
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
Fuel | 0 | 0 | 0 | -2 | 6 | 38 | 61 | 92 | 160 | 204 | 225 | 274 | 303 | 208 | 149 | 129 | 127 | 128 | 149 | 269 | 1071 | 1451
Opex | 0 | 0 | 0 | 0 | -1 | 0 | -3 | 2 | 3 | 1 | 6 | 7 | 13 | 3 | 6 | 8 | 12 | 23 | 22 | 0 | 21 | 59
Carbon | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 5 | 10 | 13 | 16 | 24 | 29 | 28 | 31 | 28 | 29 | 31 | 35 | 16 | 88 | 173
Capex | 0 | 0 | 0 | 0 | 0 | 0 | -19 | -6 | -15 | -37 | -16 | -38 | -17 | -41 | -56 | -12 | -12 | -52 | -86 | -30 | -128 | -248
EEU | 0 | 0 | 0 | 0 | 0 | 0 | 6 | -5 | -4 | 4 | -5 | 0 | -17 | -1 | 5 | -5 | -3 | -8 | -4 | -2 | -13 | -21
Total | 0 | 0 | 0 | -2 | 5 | 39 | 51 | 88 | 155 | 185 | 226 | 267 | 312 | 196 | 136 | 147 | 153 | 121 | 116 | 254 | 1038 | 1415
Scenario 3
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
Fuel | 0 | 0 | 0 | 25 | 25 | 65 | 114 | 169 | 205 | 251 | 267 | 333 | 362 | 267 | 201 | 186 | 175 | 177 | 195 | 464 | 1441 | 1963
Opex | 0 | 0 | 0 | 0 | 0 | 8 | 4 | 2 | 3 | 2 | 3 | 8 | 10 | 12 | 15 | 4 | 5 | 17 | 27 | 13 | 35 | 72
Carbon | 0 | 0 | 0 | 0 | 0 | 1 | 11 | 12 | 16 | 20 | 23 | 34 | 40 | 40 | 42 | 39 | 40 | 43 | 47 | 30 | 133 | 251
Capex | 0 | 0 | 0 | 0 | 0 | 0 | -8 | -23 | -24 | -38 | -17 | -18 | -24 | -3 | -17 | 26 | 26 | -13 | -87 | -41 | -109 | -142
EEU | 0 | 0 | 0 | 0 | 0 | -7 | -8 | -1 | -5 | 1 | 1 | -3 | -5 | -21 | -9 | -4 | 0 | -8 | -9 | -16 | -33 | -50
Total | 0 | 0 | 0 | 26 | 25 | 67 | 113 | 159 | 194 | 235 | 277 | 354 | 383 | 295 | 232 | 251 | 246 | 216 | 173 | 450 | 1467 | 2094
Scenario 3 phased
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
Fuel | 0 | 0 | 0 | 1 | 8 | 65 | 114 | 169 | 205 | 251 | 267 | 333 | 362 | 267 | 201 | 186 | 175 | 177 | 195 | 429 | 1405 | 1927
Opex | 0 | 0 | 0 | 0 | -1 | 8 | 4 | 2 | 3 | 2 | 3 | 8 | 10 | 12 | 15 | 4 | 5 | 17 | 27 | 12 | 34 | 72
Carbon | 0 | 0 | 0 | 0 | 0 | 1 | 11 | 12 | 16 | 20 | 23 | 34 | 40 | 40 | 42 | 39 | 40 | 43 | 47 | 30 | 133 | 251
Capex | 0 | 0 | 0 | 0 | 0 | 0 | -8 | -23 | -24 | -38 | -17 | -18 | -24 | -3 | -17 | 26 | 26 | -13 | -87 | -41 | -109 | -142
EEU | 0 | 0 | 0 | 0 | 0 | -7 | -8 | -1 | -5 | 1 | 1 | -3 | -5 | -21 | -9 | -4 | 0 | -8 | -9 | -16 | -33 | -50
Total | 0 | 0 | 0 | 1 | 7 | 67 | 113 | 159 | 194 | 235 | 277 | 354 | 383 | 295 | 232 | 251 | 246 | 216 | 173 | 413 | 1431 | 2058
Generator residual
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
Fuel | 0 | 0 | 0 | 24 | 24 | 59 | 117 | 163 | 199 | 242 | 264 | 327 | 358 | 255 | 189 | 178 | 167 | 168 | 186 | 451 | 1406 | 1902
Opex | 0 | 0 | 0 | 0 | 0 | 8 | -14 | -2 | 0 | 1 | 1 | 5 | 7 | 10 | 12 | 1 | 10 | 15 | 24 | -6 | 8 | 42
Carbon | 0 | 0 | 0 | 1 | 0 | 1 | 12 | 11 | 15 | 19 | 22 | 33 | 39 | 38 | 40 | 38 | 38 | 41 | 45 | 30 | 129 | 241
Capex | 0 | 0 | 0 | 0 | 0 | 0 | -77 | -40 | -41 | -50 | -29 | -34 | -40 | -19 | -33 | 10 | 10 | -29 | -103 | -122 | -236 | -314
EEU | 0 | 0 | 0 | 0 | 0 | -7 | 25 | 6 | 2 | 3 | 2 | 2 | 0 | -14 | -4 | -1 | -4 | -4 | -5 | 20 | 16 | 6
Total | 0 | 0 | 0 | 25 | 24 | 61 | 62 | 138 | 175 | 215 | 260 | 333 | 364 | 270 | 204 | 227 | 221 | 191 | 147 | 373 | 1323 | 1878
Generator residual phased
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | NPV to 2024 | NPV to 2029 | NPV to 2034
Fuel | 0 | 0 | 0 | 1 | 8 | 59 | 117 | 163 | 199 | 243 | 263 | 328 | 359 | 256 | 190 | 179 | 167 | 169 | 185 | 417 | 1374 | 1871
Opex | 0 | 0 | 0 | 0 | -1 | 8 | -14 | -2 | 0 | 1 | 13 | 9 | 7 | 9 | 12 | 1 | 10 | 15 | 24 | -7 | 18 | 53
Carbon | 0 | 0 | 0 | 0 | 0 | 1 | 12 | 11 | 15 | 19 | 22 | 33 | 39 | 38 | 40 | 38 | 39 | 41 | 45 | 29 | 129 | 241
Capex | 0 | 0 | 0 | 0 | 0 | 0 | -77 | -40 | -41 | -49 | -28 | -72 | -39 | -17 | -32 | 11 | 11 | -28 | -102 | -122 | -259 | -333
EEU | 0 | 0 | 0 | 0 | 0 | -7 | 25 | 6 | 2 | 3 | -11 | 4 | 0 | -14 | -4 | -1 | -4 | -4 | -5 | 20 | 9 | -1
Total | 0 | 0 | 0 | 1 | 7 | 61 | 62 | 138 | 175 | 216 | 260 | 302 | 366 | 272 | 206 | 229 | 224 | 193 | 148 | 338 | 1271 | 1831

## LOLE
Note | All values are given in hours
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Status quo | 0.47 | 1.03 | 0.86 | 1.05 | 0.66 | 1.81 | 1.57 | 1.48 | 1.59 | 0.89 | 1.72 | 1.5 | 1.51 | 1.38 | 0.93 | 1.15 | 0.88 | 0.99
Scenario 1 | 0.47 | 1.03 | 0.86 | 1.05 | 0.66 | 1.81 | 1.57 | 1.48 | 1.59 | 1.01 | 1.33 | 1.47 | 1.48 | 1.06 | 1.19 | 1.16 | 1.06 | 1.03
Scenario 1 phased | 0.47 | 1.03 | 0.86 | 1.05 | 0.66 | 1.81 | 1.57 | 1.48 | 1.59 | 1.01 | 1.33 | 1.47 | 1.48 | 1.06 | 1.19 | 1.16 | 1.06 | 1.03
Scenario 2 | 0.47 | 1.03 | 0.86 | 1.05 | 0.66 | 1.56 | 1.75 | 1.62 | 1.41 | 1.08 | 1.69 | 2.06 | 1.54 | 1.17 | 1.1 | 1.24 | 1.16 | 1.11
Scenario 2 phased | 0.47 | 1.03 | 0.86 | 1.05 | 0.66 | 1.56 | 1.75 | 1.62 | 1.41 | 1.08 | 1.69 | 2.06 | 1.54 | 1.17 | 1.1 | 1.24 | 1.16 | 1.11
Scenario 3 | 0.47 | 1.03 | 0.86 | 1.05 | 0.98 | 2.11 | 1.58 | 1.66 | 1.54 | 0.85 | 1.8 | 1.65 | 2.19 | 1.67 | 1.06 | 1.13 | 1.13 | 1.27
Scenario 3 phased | 0.47 | 1.03 | 0.86 | 1.05 | 0.98 | 2.11 | 1.58 | 1.66 | 1.54 | 0.85 | 1.8 | 1.65 | 2.19 | 1.67 | 1.06 | 1.13 | 1.13 | 1.27
Generator residual | 0.47 | 1.03 | 0.86 | 1.05 | 0.98 | 0.76 | 1.3 | 1.38 | 1.45 | 0.8 | 1.61 | 1.47 | 1.96 | 1.49 | 0.94 | 1.26 | 1 | 1
Generator residual phased | 0.47 | 1.03 | 0.86 | 1.05 | 0.98 | 0.76 | 1.3 | 1.38 | 1.45 | 1.29 | 1.55 | 1.47 | 1.96 | 1.49 | 0.94 | 1.26 | 1 | 1

## TriadChasingHours
Note | All values are given in hours
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Status quo | 48 | 60 | 65 | 63 | 77 | 121 | 133 | 145 | 168 | 180 | 208 | 268 | 318 | 378 | 358 | 418 | 428 | 388
Scenario 1 | 48 | 60 | 65 | 63 | 77 | 121 | 133 | 145 | 168 | 180 | 194 | 222 | 258 | 278 | 278 | 318 | 318 | 278
Scenario 1 phased | 48 | 60 | 65 | 63 | 77 | 121 | 133 | 145 | 168 | 180 | 194 | 222 | 258 | 278 | 278 | 318 | 318 | 278
Scenario 2 | 48 | 60 | 65 | 63 | 77 | 101 | 121 | 131 | 133 | 133 | 135 | 145 | 146 | 150 | 150 | 180 | 158 | 150
Scenario 2 phased | 48 | 60 | 65 | 63 | 77 | 101 | 121 | 131 | 133 | 133 | 135 | 145 | 146 | 150 | 150 | 180 | 158 | 150
Scenario 3 | 48 | 60 | 65 | 63 | 77 | 78 | 100 | 100 | 110 | 110 | 121 | 121 | 121 | 121 | 131 | 133 | 133 | 121
Scenario 3 phased | 48 | 60 | 65 | 63 | 77 | 78 | 100 | 100 | 110 | 110 | 121 | 121 | 121 | 121 | 131 | 133 | 133 | 121
Generator residual | 48 | 60 | 65 | 63 | 77 | 90 | 100 | 100 | 110 | 121 | 121 | 121 | 121 | 131 | 131 | 133 | 133 | 131
Generator residual phased | 48 | 60 | 65 | 63 | 77 | 90 | 100 | 100 | 110 | 121 | 121 | 121 | 121 | 131 | 131 | 133 | 133 | 131

## ReciprocatingEngineEconomics
Note | All values are NPV (£/kW per annum, 2016 real) calculations to 2034 using a discount rate of 7.5%
Status quo
| Reciprocating gas engine | Reciprocating diesel engine
Capex | 39 | 29
Fixed Costs | 11 | 11
Variable Costs | 28 | 26
Wholesale Income | -24 | -10
Triad Income | -55 | -55
Other ancillary income | -18 | -10
Required Payment | -19 | -9
Scenario 1
| Reciprocating gas engine | Reciprocating diesel engine
Capex | 39 | 29
Fixed Costs | 11 | 11
Variable Costs | 27 | 24
Wholesale Income | -24 | -9
Triad Income | -42 | -42
Other ancillary income | -18 | -10
Required Payment | -7 | 2
Scenario 1 phased
| Reciprocating gas engine | Reciprocating diesel engine
Capex | 39 | 29
Fixed Costs | 11 | 11
Variable Costs | 27 | 24
Wholesale Income | -24 | -9
Triad Income | -42 | -42
Other ancillary income | -18 | -10
Required Payment | -7 | 2
Scenario 2
| Reciprocating gas engine | Reciprocating diesel engine
Capex | 39 | 29
Fixed Costs | 11 | 11
Variable Costs | 26 | 18
Wholesale Income | -23 | -7
Triad Income | -19 | -16
Other ancillary income | -18 | -10
Required Payment | 17 | 24
Scenario 2 phased
| Reciprocating gas engine | Reciprocating diesel engine
Capex | 39 | 29
Fixed Costs | 11 | 11
Variable Costs | 27 | 18
Wholesale Income | -23 | -7
Triad Income | -22 | -19
Other ancillary income | -18 | -10
Required Payment | 14 | 21
Scenario 3
| Reciprocating gas engine | Reciprocating diesel engine
Capex | 39 | 29
Fixed Costs | 11 | 11
Variable Costs | 24 | 0
Wholesale Income | -22 | -1
Triad Income | -1 | 0
Other ancillary income | -18 | -7
Required Payment | 33 | 32
Scenario 3 phased
| Reciprocating gas engine | Reciprocating diesel engine
Capex | 39 | 29
Fixed Costs | 11 | 11
Variable Costs | 25 | 3
Wholesale Income | -22 | -2
Triad Income | -7 | -6
Other ancillary income | -18 | -8
Required Payment | 28 | 28
Generator residual
| Reciprocating gas engine | Reciprocating diesel engine
Capex | 39 | 29
Fixed Costs | 11 | 11
Variable Costs | 29 | 1
Wholesale Income | -25 | -1
Triad Income | -7 | 0
Other ancillary income | -18 | -7
Required Payment | 30 | 32
Generator residual phased
| Reciprocating gas engine | Reciprocating diesel engine
Capex | 39 | 29
Fixed Costs | 11 | 11
Variable Costs | 29 | 3
Wholesale Income | -25 | -2
Triad Income | -12 | -6
Other ancillary income | -18 | -8
Required Payment | 24 | 27

## LoadFactors
Note | These values are the modelled load factors of archetypal existing plants
Status quo
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 42.3% | 40.4% | 33.3% | 28.7% | 27.9% | 27% | 22.5% | 20.2% | 16.8% | 12.9% | 13.8% | 7.1% | 5.5% | 2.7% | 1.8% | 0.9% | 0.8% | 0%
Reciprocating Engine Diesel | 1% | 1.2% | 1.3% | 1.2% | 2.7% | 1.7% | 1.8% | 1.8% | 2.2% | 2.1% | 2.4% | 2.6% | 1.5% | 0.2% | 0% | 0% | 0% | 0%
Reciprocating Engine Gas | 3.5% | 3.4% | 3.4% | 3.3% | 4.1% | 5.7% | 6% | 6.4% | 6.4% | 6.2% | 6.5% | 7.9% | 7.5% | 7.2% | 7% | 7.1% | 6.9% | 6.7%
Scenario 1
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 42.3% | 40.4% | 33.3% | 28.6% | 27.4% | 27% | 21.4% | 20.4% | 16.6% | 13% | 11.9% | 6.3% | 4.4% | 2.6% | 1.7% | 0.9% | 0.7% | 0%
Reciprocating Engine Diesel | 1% | 1.2% | 1.3% | 1.2% | 1.2% | 1.7% | 1.7% | 1.7% | 1.8% | 1.7% | 1.9% | 1.8% | 1.1% | 0.2% | 0% | 0% | 0% | 0%
Reciprocating Engine Gas | 3.5% | 3.4% | 3.4% | 3.3% | 3.7% | 5.7% | 6% | 6.2% | 6% | 5.9% | 6.5% | 6.8% | 6.5% | 6.1% | 6.2% | 6.2% | 6.2% | 5.8%
Scenario 1 phased
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 42.3% | 40.4% | 33.3% | 28.6% | 27.4% | 27% | 21.4% | 20.4% | 16.6% | 13% | 11.9% | 6.3% | 4.4% | 2.6% | 1.7% | 0.9% | 0.7% | 0%
Reciprocating Engine Diesel | 1% | 1.2% | 1.3% | 1.2% | 1.2% | 1.7% | 1.7% | 1.7% | 1.8% | 1.7% | 1.9% | 1.8% | 1.1% | 0.2% | 0% | 0% | 0% | 0%
Reciprocating Engine Gas | 3.5% | 3.4% | 3.4% | 3.3% | 3.7% | 5.7% | 6% | 6.2% | 6% | 5.9% | 6.5% | 6.8% | 6.5% | 6.1% | 6.2% | 6.2% | 6.2% | 5.8%
Scenario 2
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 42.3% | 40.4% | 33.2% | 28.9% | 27.5% | 23.5% | 19.3% | 14.9% | 10.7% | 8.4% | 7.4% | 3.3% | 2.6% | 1% | 0.4% | 0.3% | 0% | 0%
Reciprocating Engine Diesel | 1% | 1.2% | 0.9% | 0.8% | 0.9% | 1.1% | 0.9% | 0.1% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Reciprocating Engine Gas | 3.5% | 3.4% | 3% | 3% | 3.5% | 4.2% | 4.5% | 5% | 4.7% | 4.5% | 4.6% | 4.5% | 4.3% | 3.6% | 3.5% | 3.6% | 3.4% | 3.2%
Scenario 2 phased
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 42.3% | 40.4% | 33.3% | 28.5% | 27.5% | 23.5% | 19.3% | 14.9% | 10.7% | 8.4% | 7.4% | 3.3% | 2.6% | 1% | 0.4% | 0.3% | 0% | 0%
Reciprocating Engine Diesel | 1% | 1.2% | 1.4% | 0.9% | 0.9% | 1.1% | 0.9% | 0.1% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Reciprocating Engine Gas | 3.5% | 3.4% | 3.4% | 3.1% | 3.5% | 4.2% | 4.5% | 5% | 4.7% | 4.5% | 4.6% | 4.5% | 4.3% | 3.6% | 3.5% | 3.6% | 3.4% | 3.2%
Scenario 3
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 42.3% | 40.4% | 33.3% | 28.6% | 27.9% | 20.8% | 14.1% | 10.9% | 8.6% | 5.9% | 5.2% | 2.1% | 1.6% | 0.4% | 0.3% | 0.2% | 0.1% | 0%
Reciprocating Engine Diesel | 1% | 1.2% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Reciprocating Engine Gas | 3.5% | 3.4% | 1.8% | 1.8% | 1.8% | 1.7% | 1.6% | 1.6% | 1.7% | 1.6% | 1.5% | 1.3% | 1.1% | 0.9% | 0.8% | 0.8% | 0.8% | 0.8%
Scenario 3 phased
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 42.3% | 40.4% | 33.3% | 28.8% | 27.9% | 20.8% | 14.1% | 10.9% | 8.6% | 5.9% | 5.2% | 2.1% | 1.6% | 0.4% | 0.3% | 0.2% | 0.1% | 0%
Reciprocating Engine Diesel | 1% | 1.2% | 1.4% | 0.7% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Reciprocating Engine Gas | 3.5% | 3.4% | 3.3% | 3% | 1.8% | 1.7% | 1.6% | 1.6% | 1.7% | 1.6% | 1.5% | 1.3% | 1.1% | 0.9% | 0.8% | 0.8% | 0.8% | 0.8%
Generator residual
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 42.3% | 40.4% | 33.4% | 28.6% | 27.6% | 18% | 13.5% | 10.6% | 8.6% | 6% | 5.2% | 1.9% | 1.7% | 0.6% | 0.3% | 0.2% | 0.1% | 0%
Reciprocating Engine Diesel | 1% | 1.2% | 0% | 0% | 0.1% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Reciprocating Engine Gas | 3.5% | 3.4% | 1.9% | 2.2% | 3.5% | 3.6% | 3.1% | 2.8% | 2.6% | 2.6% | 2.6% | 2.3% | 2.2% | 2% | 1.8% | 1.8% | 1.7% | 1.6%
Generator residual phased
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 42.3% | 40.4% | 33.3% | 28.9% | 27.6% | 18% | 13.5% | 10.6% | 8.5% | 5.9% | 4.5% | 1.9% | 1.7% | 0.6% | 0.3% | 0.2% | 0.1% | 0%
Reciprocating Engine Diesel | 1% | 1.2% | 1.4% | 0.8% | 0.1% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Reciprocating Engine Gas | 3.5% | 3.4% | 3.3% | 3% | 3.5% | 3.6% | 3.1% | 2.8% | 2.5% | 2.6% | 2.5% | 2.2% | 2.1% | 2% | 1.8% | 1.8% | 1.7% | 1.6%

## CMBuild
Note | These values are the modelled quantities (in derated MW) of new build capacity cleared in the capacity mechanism for each delivery year
Status quo
Year | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 801 | 1602 | 801 | 801 | - | 801 | 1602 | 801 | - | 4005 | 4005 | 1602 | 801
OCGT | - | - | - | - | - | - | - | - | - | - | - | - | -
Reciprocating Engine Diesel | 936 | 468 | 468 | 468 | - | 468 | 374 | - | - | - | - | - | -
Reciprocating Engine Gas | 936 | 468 | 468 | 468 | 468 | 468 | 468 | 468 | 468 | - | - | - | 94
Scenario 1
Year | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 801 | 1602 | 801 | 801 | - | 1602 | 1602 | 801 | 801 | 2403 | 4005 | 2403 | 801
OCGT | - | - | - | - | - | - | - | - | - | - | - | - | -
Reciprocating Engine Diesel | 936 | 468 | 468 | 468 | - | 281 | - | - | - | - | - | - | -
Reciprocating Engine Gas | 936 | 468 | 468 | 468 | 281 | 468 | 468 | 468 | 94 | - | - | - | -
Scenario 1 phased
Year | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 801 | 1602 | 801 | 801 | - | 1602 | 1602 | 801 | 801 | 2403 | 4005 | 2403 | 801
OCGT | - | - | - | - | - | - | - | - | - | - | - | - | -
Reciprocating Engine Diesel | 936 | 468 | 468 | 468 | - | 281 | - | - | - | - | - | - | -
Reciprocating Engine Gas | 936 | 468 | 468 | 468 | 281 | 468 | 468 | 468 | 94 | - | - | - | -
Scenario 2
Year | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 1602 | 1602 | 1602 | 1602 | - | 1602 | 1602 | 1602 | 801 | 3204 | 4005 | 2403 | 1602
OCGT | - | - | - | - | - | - | - | - | - | - | - | - | -
Reciprocating Engine Diesel | 374 | 94 | - | - | - | - | - | - | - | - | - | - | -
Reciprocating Engine Gas | 936 | 468 | 187 | 468 | - | 468 | 281 | 187 | - | - | - | - | -
Scenario 2 phased
Year | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 1602 | 1602 | 1602 | 1602 | - | 1602 | 1602 | 1602 | 801 | 3204 | 4005 | 2403 | 1602
OCGT | - | - | - | - | - | - | - | - | - | - | - | - | -
Reciprocating Engine Diesel | 374 | 94 | - | - | - | - | - | - | - | - | - | - | -
Reciprocating Engine Gas | 936 | 468 | 187 | 468 | - | 468 | 281 | 187 | - | - | - | - | -
Scenario 3
Year | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 2403 | 2403 | 1602 | 1602 | - | 1602 | 2403 | 801 | 801 | 3204 | 4005 | 2403 | 2403
OCGT | - | - | - | - | - | - | - | - | - | - | - | - | -
Reciprocating Engine Diesel | - | 281 | - | 281 | - | - | - | - | - | - | - | - | -
Reciprocating Engine Gas | 94 | 94 | - | 94 | - | - | - | - | - | - | - | - | -
Scenario 3 phased
Year | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 2403 | 2403 | 1602 | 1602 | - | 1602 | 2403 | 801 | 801 | 3204 | 4005 | 2403 | 2403
OCGT | - | - | - | - | - | - | - | - | - | - | - | - | -
Reciprocating Engine Diesel | - | 281 | - | 281 | - | - | - | - | - | - | - | - | -
Reciprocating Engine Gas | 94 | 94 | - | 94 | - | - | - | - | - | - | - | - | -
Generator residual
Year | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 3204 | 1602 | 1602 | 1602 | - | 1602 | 2403 | 801 | 801 | 3204 | 4005 | 2403 | 2403
OCGT | - | - | - | - | - | - | - | - | - | - | - | - | -
Reciprocating Engine Diesel | 94 | - | - | - | - | - | - | - | - | - | - | - | -
Reciprocating Engine Gas | 655 | - | - | 187 | - | 94 | - | - | - | - | - | - | -
Generator residual phased
Year | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
CCGT | 3204 | 1602 | 1602 | 1602 | - | 2403 | 1602 | 801 | 801 | 3204 | 4005 | 2403 | 2403
OCGT | - | - | - | - | - | - | - | - | - | - | - | - | -
Reciprocating Engine Diesel | 94 | - | - | 94 | - | - | - | - | - | - | - | - | -
Reciprocating Engine Gas | 655 | - | - | 94 | - | 94 | - | - | - | - | - | - | -

## CMClearingPrices
Note | These values show the modelled CM clearing price (£/kW pa, 2016 real) in each delivery year
Year | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Status quo | 26.19 | 28.74 | 18.52 | 29.08 | 7.98 | 24.64 | 29.55 | 21.22 | 10.32 | 5.54 | 5.47 | 3.09 | 3.3
Scenario 1 | 24.82 | 27.9 | 21.46 | 29.03 | 7.98 | 30.35 | 28.36 | 22.35 | 14.15 | 8.65 | 7.95 | 4.11 | 3.57
Scenario 1 phased | 24.82 | 27.9 | 21.46 | 29.03 | 7.98 | 30.35 | 28.36 | 22.35 | 14.15 | 8.65 | 7.95 | 4.11 | 3.57
Scenario 2 | 30.71 | 33.67 | 24.7 | 34.9 | 8.95 | 34.21 | 31.6 | 33.13 | 18.19 | 11.35 | 8.7 | 4.34 | 2.49
Scenario 2 phased | 30.71 | 33.67 | 24.76 | 34.92 | 8.95 | 34.21 | 31.6 | 33.13 | 18.2 | 11.35 | 8.7 | 4.34 | 2.49
Scenario 3 | 33.44 | 36.84 | 26.91 | 39.49 | 9.29 | 33.48 | 33.44 | 28.9 | 21.76 | 12.46 | 10.75 | 6.09 | 4.12
Scenario 3 phased | 33.44 | 36.84 | 26.94 | 39.14 | 9.29 | 33.48 | 33.44 | 28.9 | 21.76 | 12.46 | 10.75 | 6.09 | 4.12
Generator residual | 34.41 | 28.52 | 24.22 | 36.82 | 9.27 | 36.39 | 34.09 | 30.01 | 22.28 | 12.86 | 11.02 | 6.32 | 2.54
Generator residual phased | 34.41 | 28.52 | 24.24 | 36.42 | 9.12 | 36.93 | 28.75 | 29.86 | 22.08 | 12.76 | 10.09 | 6.32 | 2.55

## CO2Emissions
Note | All values are gCO2/kWh
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Status quo | 272 | 258 | 240 | 225 | 194 | 148 | 120 | 120 | 121 | 108 | 117 | 102 | 101 | 83 | 80 | 69 | 66 | 64
Scenario 1 | 272 | 258 | 240 | 225 | 194 | 148 | 120 | 120 | 121 | 107 | 115 | 101 | 100 | 81 | 79 | 68 | 65 | 63
Scenario 1 phased | 272 | 258 | 240 | 225 | 194 | 148 | 120 | 120 | 121 | 107 | 115 | 101 | 100 | 81 | 79 | 68 | 65 | 63
Scenario 2 | 272 | 258 | 240 | 225 | 194 | 147 | 118 | 118 | 118 | 104 | 112 | 97 | 97 | 79 | 76 | 65 | 63 | 60
Scenario 2 phased | 272 | 258 | 240 | 225 | 194 | 147 | 118 | 118 | 118 | 104 | 112 | 97 | 97 | 79 | 76 | 65 | 63 | 60
Scenario 3 | 272 | 258 | 240 | 225 | 194 | 145 | 116 | 116 | 116 | 103 | 110 | 95 | 95 | 77 | 75 | 64 | 62 | 59
Scenario 3 phased | 272 | 258 | 240 | 225 | 194 | 145 | 116 | 116 | 116 | 103 | 110 | 95 | 95 | 77 | 75 | 64 | 62 | 59
Generator residual | 272 | 258 | 240 | 225 | 194 | 144 | 117 | 116 | 116 | 103 | 110 | 96 | 95 | 77 | 75 | 64 | 62 | 59
Generator residual phased | 272 | 258 | 240 | 225 | 194 | 144 | 117 | 116 | 116 | 103 | 110 | 96 | 95 | 77 | 75 | 64 | 62 | 59

## WholesalePrices
Note | All values are in £/MWh (2016 real)
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Status quo | 47.3 | 47.4 | 47.7 | 48.6 | 49.4 | 51 | 51.5 | 52.3 | 53.7 | 54.2 | 56 | 53.7 | 54.1 | 50.4 | 50.1 | 44.7 | 45.9 | 45.6
Scenario 1 | 47.3 | 47.4 | 47.7 | 48.6 | 49.4 | 51 | 51.4 | 52.3 | 53.7 | 54.1 | 55.5 | 53.5 | 54.2 | 50.2 | 50 | 44.7 | 46.1 | 46.1
Scenario 1 phased | 47.3 | 47.4 | 47.7 | 48.6 | 49.4 | 51 | 51.4 | 52.3 | 53.7 | 54.1 | 55.5 | 53.5 | 54.2 | 50.2 | 50 | 44.7 | 46.1 | 46.1
Scenario 2 | 47.3 | 47.4 | 47.8 | 48.7 | 49.4 | 50.7 | 51.1 | 51.8 | 52.9 | 53.2 | 54.3 | 52.7 | 53.2 | 49.8 | 49.4 | 44.2 | 46.1 | 45.9
Scenario 2 phased | 47.3 | 47.4 | 47.7 | 48.9 | 49.4 | 50.7 | 51.1 | 51.8 | 52.9 | 53.2 | 54.3 | 52.7 | 53.2 | 49.8 | 49.4 | 44.2 | 46.1 | 45.9
Scenario 3 | 47.3 | 47.4 | 47.8 | 48.6 | 49.6 | 50.4 | 50.5 | 51 | 52.5 | 52.7 | 54 | 52.1 | 52.8 | 49.1 | 48.9 | 44.4 | 46 | 45.9
Scenario 3 phased | 47.3 | 47.4 | 47.7 | 48.7 | 49.6 | 50.4 | 50.5 | 51 | 52.5 | 52.7 | 54 | 52.1 | 52.8 | 49.1 | 48.9 | 44.4 | 46 | 45.9
Generator residual | 47.3 | 47.4 | 47.7 | 48.6 | 49.5 | 49.9 | 50.5 | 50.9 | 52.4 | 52.8 | 54.1 | 52.1 | 52.7 | 49.2 | 48.9 | 44.5 | 46.1 | 45.8
Generator residual phased | 47.3 | 47.4 | 47.7 | 48.7 | 49.5 | 49.9 | 50.5 | 50.9 | 52.5 | 52.8 | 53.8 | 52.1 | 52.8 | 49.3 | 48.9 | 44.4 | 46.1 | 45.8

## BSUoSCharges
Note | All values are in £/MWh (2016 real)
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Status quo | 1.44 | 1.47 | 1.52 | 1.58 | 1.69 | 1.82 | 2.03 | 2.08 | 2.5 | 2.75 | 3.23 | 3.3 | 3.73 | 3.73 | 3.71 | 3.62 | 3.4 | 3.62
Scenario 1 | 1.44 | 1.47 | 1.52 | 1.58 | 1.69 | 1.82 | 2.03 | 2.08 | 2.51 | 2.76 | 3.21 | 3.2 | 3.62 | 3.59 | 3.62 | 3.58 | 3.38 | 3.56
Scenario 1 phased | 1.44 | 1.47 | 1.52 | 1.58 | 1.69 | 1.82 | 2.03 | 2.08 | 2.51 | 2.76 | 3.21 | 3.2 | 3.62 | 3.59 | 3.62 | 3.58 | 3.38 | 3.56
Scenario 2 | 1.44 | 1.47 | 1.52 | 1.58 | 1.69 | 1.83 | 2.04 | 2.08 | 2.51 | 2.75 | 3.12 | 3.06 | 3.33 | 3.33 | 3.38 | 3.4 | 3.3 | 3.49
Scenario 2 phased | 1.44 | 1.47 | 1.52 | 1.58 | 1.69 | 1.83 | 2.04 | 2.08 | 2.51 | 2.75 | 3.12 | 3.06 | 3.33 | 3.33 | 3.38 | 3.4 | 3.3 | 3.49
Scenario 3 | 1.44 | 1.47 | 1.53 | 1.58 | 1.7 | 1.83 | 2.03 | 2.08 | 2.5 | 2.74 | 3.06 | 2.96 | 3.25 | 3.28 | 3.3 | 3.32 | 3.28 | 3.47
Scenario 3 phased | 1.44 | 1.47 | 1.52 | 1.58 | 1.7 | 1.83 | 2.03 | 2.08 | 2.5 | 2.74 | 3.06 | 2.96 | 3.25 | 3.28 | 3.3 | 3.32 | 3.28 | 3.47
Generator residual | 1.44 | 1.47 | 1.52 | 1.58 | 1.7 | 1.82 | 2.03 | 2.08 | 2.5 | 2.74 | 3.06 | 2.97 | 3.24 | 3.28 | 3.3 | 3.34 | 3.29 | 3.48
Generator residual phased | 1.44 | 1.47 | 1.52 | 1.58 | 1.7 | 1.82 | 2.03 | 2.08 | 2.5 | 2.76 | 3.08 | 2.97 | 3.25 | 3.28 | 3.3 | 3.34 | 3.29 | 3.48

## ReserveCosts
Note | All values are given in £millions (2016 real)
Year | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Status quo | 67 | 53 | 44 | 30 | 28 | 30 | 52 | 65 | 179 | 252 | 420 | 457 | 579 | 648 | 643 | 650 | 558 | 633
Scenario 1 | 67 | 53 | 44 | 30 | 28 | 30 | 52 | 65 | 180 | 253 | 410 | 415 | 536 | 588 | 606 | 633 | 550 | 609
Scenario 1 phased | 67 | 53 | 44 | 30 | 28 | 30 | 52 | 65 | 180 | 253 | 410 | 415 | 536 | 588 | 606 | 633 | 550 | 609
Scenario 2 | 67 | 53 | 44 | 30 | 28 | 35 | 57 | 65 | 181 | 251 | 376 | 359 | 423 | 483 | 507 | 558 | 514 | 580
Scenario 2 phased | 67 | 53 | 44 | 30 | 28 | 35 | 57 | 65 | 181 | 251 | 376 | 359 | 423 | 483 | 507 | 558 | 514 | 580
Scenario 3 | 67 | 53 | 45 | 31 | 30 | 33 | 55 | 64 | 176 | 247 | 353 | 320 | 388 | 463 | 474 | 523 | 506 | 573
Scenario 3 phased | 67 | 53 | 44 | 30 | 30 | 33 | 55 | 64 | 176 | 247 | 353 | 320 | 388 | 463 | 474 | 523 | 506 | 573
Generator residual | 67 | 53 | 45 | 31 | 30 | 30 | 55 | 63 | 176 | 248 | 351 | 322 | 387 | 461 | 475 | 531 | 510 | 575
Generator residual phased | 67 | 53 | 44 | 30 | 30 | 30 | 55 | 63 | 176 | 254 | 360 | 322 | 389 | 462 | 475 | 531 | 510 | 576

## InstalledCapacity
Note | All capacities are in MW
Status quo
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Storage | 2744 | 2944 | 2944 | 2994 | 3064 | 3064 | 3065 | 3066 | 3067 | 3250 | 3253 | 3257 | 3413 | 3570 | 3579 | 3591 | 4717 | 4733 | 4751
Biomass | 2533 | 2533 | 2533 | 2923 | 2923 | 3208 | 3208 | 3208 | 3208 | 3208 | 3208 | 3014 | 2979 | 2979 | 2979 | 2979 | 2979 | 2937 | 2937
CHP | 5577 | 5755 | 5922 | 5990 | 6143 | 6217 | 6285 | 6327 | 6378 | 6224 | 6137 | 6169 | 6199 | 4878 | 4945 | 4976 | 5011 | 5051 | 5129
Coal | 11831 | 10577 | 8399 | 6944 | 5904 | 1926 | - | - | - | - | - | - | - | - | - | - | - | - | -
Hydro and marine | 1640 | 1647 | 1653 | 1659 | 1676 | 1692 | 1708 | 1723 | 2084 | 2120 | 2211 | 2379 | 2504 | 2559 | 2583 | 3147 | 3671 | 4184 | 4198
Interconnectors | 4150 | 4150 | 4150 | 4150 | 4150 | 5150 | 6155 | 6155 | 7555 | 9955 | 9955 | 9955 | 11355 | 11355 | 11355 | 11355 | 11355 | 12755 | 13955
Nuclear | 8985 | 8985 | 8985 | 8985 | 8985 | 8985 | 8038 | 7126 | 4715 | 4715 | 3512 | 4912 | 3832 | 5686 | 5686 | 7356 | 7356 | 7356 | 7356
Wind | 14655 | 16089 | 18357 | 19138 | 19962 | 21648 | 24593 | 25993 | 29221 | 32350 | 34113 | 34948 | 35588 | 37677 | 38307 | 38862 | 39449 | 40036 | 40618
Solar | 11934 | 13364 | 14106 | 14413 | 14876 | 15383 | 16048 | 16734 | 17694 | 18803 | 20031 | 21375 | 22634 | 23607 | 24494 | 25292 | 26002 | 26674 | 27456
Other Renewable | 2140 | 2217 | 2296 | 2344 | 2373 | 2399 | 2500 | 2525 | 2550 | 2576 | 2605 | 2621 | 2645 | 2678 | 2733 | 2796 | 2835 | 2867 | 2906
CCGT | 29947 | 31360 | 30752 | 30349 | 30349 | 29650 | 29544 | 30209 | 29889 | 30089 | 29358 | 28720 | 26523 | 25801 | 23332 | 24209 | 21903 | 22017 | 21152
OCGT | 1375 | 1303 | 1303 | 1304 | 1304 | 1043 | 958 | 958 | 958 | 958 | 413 | 413 | 413 | 413 | 413 | 413 | 413 | 305 | 305
Recip Engine - Diesel | 438 | 469 | 1103 | 1774 | 1488 | 1823 | 2823 | 3323 | 3823 | 4323 | 4323 | 4823 | 5223 | 5223 | 5223 | 4897 | 4897 | 4883 | 4381
Recip Engine - Gas | 87 | 93 | 418 | 704 | 672 | 1972 | 2972 | 3472 | 3972 | 4472 | 4972 | 5472 | 5972 | 6472 | 6972 | 6972 | 6972 | 6972 | 7072
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Transmission capacity | 74684 | 75939 | 75319 | 74609 | 74400 | 72340 | 73054 | 74029 | 76192 | 81660 | 80780 | 82241 | 81079 | 82942 | 80973 | 84570 | 83818 | 86224 | 87059
Distribution capacity | 23352 | 25547 | 27602 | 29062 | 29469 | 31820 | 34843 | 36790 | 38922 | 41383 | 43311 | 45817 | 48201 | 49956 | 51628 | 52275 | 53742 | 54546 | 55157
Scenario 1
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Storage | 2744 | 2944 | 2944 | 2994 | 3064 | 3064 | 3065 | 3066 | 3067 | 3250 | 3253 | 3257 | 3413 | 3570 | 3579 | 3591 | 4717 | 4733 | 4751
Biomass | 2533 | 2533 | 2533 | 2923 | 2923 | 3208 | 3208 | 3208 | 3208 | 3208 | 3208 | 3014 | 2979 | 2979 | 2979 | 2979 | 2979 | 2937 | 2937
CHP | 5577 | 5755 | 5922 | 5990 | 6143 | 6217 | 6285 | 6327 | 6378 | 6224 | 6137 | 6169 | 6199 | 4878 | 4945 | 4976 | 5011 | 5051 | 5129
Coal | 11831 | 10577 | 8399 | 6944 | 5904 | 1926 | - | - | - | - | - | - | - | - | - | - | - | - | -
Hydro and marine | 1640 | 1647 | 1653 | 1659 | 1676 | 1692 | 1708 | 1723 | 2084 | 2120 | 2211 | 2379 | 2504 | 2559 | 2583 | 3147 | 3671 | 4184 | 4198
Interconnectors | 4150 | 4150 | 4150 | 4150 | 4150 | 5150 | 6155 | 6155 | 7555 | 9955 | 9955 | 9955 | 11355 | 11355 | 11355 | 11355 | 11355 | 12755 | 13955
Nuclear | 8985 | 8985 | 8985 | 8985 | 8985 | 8985 | 8038 | 7126 | 4715 | 4715 | 3512 | 4912 | 3832 | 5686 | 5686 | 7356 | 7356 | 7356 | 7356
Wind | 14655 | 16090 | 18357 | 19138 | 19963 | 21649 | 24593 | 25993 | 29221 | 32350 | 34114 | 34948 | 35589 | 37677 | 38308 | 38862 | 39449 | 40036 | 40619
Solar | 11934 | 13364 | 14106 | 14413 | 14876 | 15383 | 16048 | 16734 | 17694 | 18803 | 20031 | 21375 | 22634 | 23607 | 24494 | 25292 | 26002 | 26674 | 27456
Other Renewable | 2140 | 2217 | 2296 | 2344 | 2373 | 2399 | 2500 | 2525 | 2550 | 2576 | 2605 | 2621 | 2645 | 2678 | 2733 | 2796 | 2835 | 2867 | 2906
CCGT | 29947 | 31360 | 30752 | 30349 | 30349 | 29650 | 29544 | 30209 | 29889 | 30089 | 29358 | 29620 | 27423 | 26701 | 25132 | 25065 | 23172 | 22917 | 22482
OCGT | 1375 | 1303 | 1303 | 1304 | 1304 | 1043 | 958 | 958 | 958 | 958 | 413 | 413 | 413 | 413 | 413 | 413 | 413 | 355 | 305
Recip Engine - Diesel | 438 | 469 | 1103 | 1774 | 1488 | 1823 | 2823 | 3323 | 3823 | 4323 | 4323 | 4623 | 4623 | 4623 | 4623 | 4297 | 4297 | 4283 | 3781
Recip Engine - Gas | 87 | 93 | 418 | 704 | 672 | 1972 | 2972 | 3472 | 3972 | 4472 | 4772 | 5272 | 5772 | 6272 | 6372 | 6372 | 6372 | 6372 | 6372
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Transmission capacity | 74684 | 75939 | 75319 | 74609 | 74400 | 72340 | 73054 | 74029 | 76192 | 81660 | 80780 | 83141 | 81979 | 83842 | 82773 | 85426 | 85087 | 87174 | 88389
Distribution capacity | 23351 | 25548 | 27602 | 29064 | 29470 | 31821 | 34843 | 36789 | 38921 | 41383 | 43111 | 45417 | 47402 | 49155 | 50428 | 51075 | 52541 | 53346 | 53856
Scenario 1 phased
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Storage | 2744 | 2944 | 2944 | 2994 | 3064 | 3064 | 3065 | 3066 | 3067 | 3250 | 3253 | 3257 | 3413 | 3570 | 3579 | 3591 | 4717 | 4733 | 4751
Biomass | 2533 | 2533 | 2533 | 2923 | 2923 | 3208 | 3208 | 3208 | 3208 | 3208 | 3208 | 3014 | 2979 | 2979 | 2979 | 2979 | 2979 | 2937 | 2937
CHP | 5577 | 5755 | 5922 | 5990 | 6143 | 6217 | 6285 | 6327 | 6378 | 6224 | 6137 | 6169 | 6199 | 4878 | 4945 | 4976 | 5011 | 5051 | 5129
Coal | 11831 | 10577 | 8399 | 6944 | 5904 | 1926 | - | - | - | - | - | - | - | - | - | - | - | - | -
Hydro and marine | 1640 | 1647 | 1653 | 1659 | 1676 | 1692 | 1708 | 1723 | 2084 | 2120 | 2211 | 2379 | 2504 | 2559 | 2583 | 3147 | 3671 | 4184 | 4198
Interconnectors | 4150 | 4150 | 4150 | 4150 | 4150 | 5150 | 6155 | 6155 | 7555 | 9955 | 9955 | 9955 | 11355 | 11355 | 11355 | 11355 | 11355 | 12755 | 13955
Nuclear | 8985 | 8985 | 8985 | 8985 | 8985 | 8985 | 8038 | 7126 | 4715 | 4715 | 3512 | 4912 | 3832 | 5686 | 5686 | 7356 | 7356 | 7356 | 7356
Wind | 14655 | 16090 | 18357 | 19138 | 19963 | 21649 | 24593 | 25993 | 29221 | 32350 | 34114 | 34948 | 35589 | 37677 | 38308 | 38862 | 39449 | 40036 | 40619
Solar | 11934 | 13364 | 14106 | 14413 | 14876 | 15383 | 16048 | 16734 | 17694 | 18803 | 20031 | 21375 | 22634 | 23607 | 24494 | 25292 | 26002 | 26674 | 27456
Other Renewable | 2140 | 2217 | 2296 | 2344 | 2373 | 2399 | 2500 | 2525 | 2550 | 2576 | 2605 | 2621 | 2645 | 2678 | 2733 | 2796 | 2835 | 2867 | 2906
CCGT | 29947 | 31360 | 30752 | 30349 | 30349 | 29650 | 29544 | 30209 | 29889 | 30089 | 29358 | 29620 | 27423 | 26701 | 25132 | 25065 | 23172 | 22917 | 22482
OCGT | 1375 | 1303 | 1303 | 1304 | 1304 | 1043 | 958 | 958 | 958 | 958 | 413 | 413 | 413 | 413 | 413 | 413 | 413 | 355 | 305
Recip Engine - Diesel | 438 | 469 | 1103 | 1774 | 1488 | 1823 | 2823 | 3323 | 3823 | 4323 | 4323 | 4623 | 4623 | 4623 | 4623 | 4297 | 4297 | 4283 | 3781
Recip Engine - Gas | 87 | 93 | 418 | 704 | 672 | 1972 | 2972 | 3472 | 3972 | 4472 | 4772 | 5272 | 5772 | 6272 | 6372 | 6372 | 6372 | 6372 | 6372
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Transmission capacity | 74684 | 75939 | 75319 | 74609 | 74400 | 72340 | 73054 | 74029 | 76192 | 81660 | 80780 | 83141 | 81979 | 83842 | 82773 | 85426 | 85087 | 87174 | 88389
Distribution capacity | 23351 | 25548 | 27602 | 29064 | 29470 | 31821 | 34843 | 36789 | 38921 | 41383 | 43111 | 45417 | 47402 | 49155 | 50428 | 51075 | 52541 | 53346 | 53856
Scenario 2
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Storage | 2744 | 2944 | 2944 | 2994 | 3064 | 3064 | 3065 | 3066 | 3067 | 3250 | 3253 | 3257 | 3413 | 3570 | 3579 | 3591 | 4717 | 4733 | 4751
Biomass | 2533 | 2533 | 2533 | 2923 | 2923 | 3208 | 3208 | 3208 | 3208 | 3208 | 3208 | 3014 | 2979 | 2979 | 2979 | 2979 | 2979 | 2937 | 2937
CHP | 5577 | 5755 | 5922 | 5990 | 6143 | 6217 | 6285 | 6327 | 6378 | 6224 | 6137 | 6169 | 6199 | 4878 | 4945 | 4976 | 5011 | 5051 | 5129
Coal | 11831 | 10577 | 8399 | 6944 | 5904 | 1926 | - | - | - | - | - | - | - | - | - | - | - | - | -
Hydro and marine | 1640 | 1647 | 1653 | 1659 | 1676 | 1692 | 1708 | 1723 | 2084 | 2120 | 2211 | 2379 | 2504 | 2559 | 2583 | 3147 | 3671 | 4184 | 4198
Interconnectors | 4150 | 4150 | 4150 | 4150 | 4150 | 5150 | 6155 | 6155 | 7555 | 9955 | 9955 | 9955 | 11355 | 11355 | 11355 | 11355 | 11355 | 12755 | 13955
Nuclear | 8985 | 8985 | 8985 | 8985 | 8985 | 8985 | 8038 | 7126 | 4715 | 4715 | 3512 | 4912 | 3832 | 5686 | 5686 | 7356 | 7356 | 7356 | 7356
Wind | 14655 | 16090 | 18357 | 19138 | 19963 | 21649 | 24593 | 25993 | 29221 | 32350 | 34114 | 34948 | 35589 | 37677 | 38308 | 38862 | 39449 | 40036 | 40619
Solar | 11934 | 13364 | 14106 | 14413 | 14876 | 15383 | 16048 | 16734 | 17694 | 18803 | 20031 | 21375 | 22634 | 23607 | 24494 | 25292 | 26002 | 26674 | 27456
Other Renewable | 2140 | 2217 | 2296 | 2344 | 2373 | 2399 | 2500 | 2525 | 2550 | 2576 | 2605 | 2621 | 2645 | 2678 | 2733 | 2796 | 2835 | 2867 | 2906
CCGT | 29947 | 31360 | 30752 | 30349 | 30349 | 29650 | 30444 | 31109 | 31689 | 32789 | 32058 | 32320 | 30123 | 30301 | 28732 | 28685 | 26507 | 26512 | 26122
OCGT | 1375 | 1303 | 1303 | 1304 | 1304 | 1043 | 958 | 958 | 958 | 958 | 413 | 413 | 413 | 413 | 413 | 413 | 413 | 355 | 305
Recip Engine - Diesel | 438 | 469 | 1103 | 1774 | 1488 | 1823 | 2223 | 2323 | 2323 | 2323 | 2323 | 2323 | 2323 | 2323 | 2323 | 2323 | 2323 | 1983 | 1481
Recip Engine - Gas | 87 | 93 | 418 | 704 | 672 | 1972 | 2972 | 3472 | 3672 | 4172 | 4172 | 4672 | 4972 | 5172 | 5172 | 5172 | 5172 | 5172 | 5172
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Transmission capacity | 74684 | 75939 | 75319 | 74609 | 74400 | 72340 | 73954 | 74929 | 77992 | 84360 | 83480 | 85841 | 84679 | 87442 | 86373 | 89046 | 88422 | 90769 | 92029
Distribution capacity | 23351 | 25548 | 27602 | 29064 | 29470 | 31821 | 34243 | 35789 | 37121 | 39083 | 40511 | 42517 | 44302 | 45755 | 46928 | 47901 | 49367 | 49846 | 50356
Scenario 2 phased
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Storage | 2744 | 2944 | 2944 | 2994 | 3064 | 3064 | 3065 | 3066 | 3067 | 3250 | 3253 | 3257 | 3413 | 3570 | 3579 | 3591 | 4717 | 4733 | 4751
Biomass | 2533 | 2533 | 2533 | 2923 | 2923 | 3208 | 3208 | 3208 | 3208 | 3208 | 3208 | 3014 | 2979 | 2979 | 2979 | 2979 | 2979 | 2937 | 2937
CHP | 5577 | 5755 | 5922 | 5990 | 6143 | 6217 | 6285 | 6327 | 6378 | 6224 | 6137 | 6169 | 6199 | 4878 | 4945 | 4976 | 5011 | 5051 | 5129
Coal | 11831 | 10577 | 8399 | 6944 | 5904 | 1926 | - | - | - | - | - | - | - | - | - | - | - | - | -
Hydro and marine | 1640 | 1647 | 1653 | 1659 | 1676 | 1692 | 1708 | 1723 | 2084 | 2120 | 2211 | 2379 | 2504 | 2559 | 2583 | 3147 | 3671 | 4184 | 4198
Interconnectors | 4150 | 4150 | 4150 | 4150 | 4150 | 5150 | 6155 | 6155 | 7555 | 9955 | 9955 | 9955 | 11355 | 11355 | 11355 | 11355 | 11355 | 12755 | 13955
Nuclear | 8985 | 8985 | 8985 | 8985 | 8985 | 8985 | 8038 | 7126 | 4715 | 4715 | 3512 | 4912 | 3832 | 5686 | 5686 | 7356 | 7356 | 7356 | 7356
Wind | 14655 | 16090 | 18357 | 19138 | 19963 | 21649 | 24593 | 25993 | 29221 | 32350 | 34114 | 34948 | 35589 | 37677 | 38308 | 38862 | 39449 | 40036 | 40619
Solar | 11934 | 13364 | 14106 | 14413 | 14876 | 15383 | 16048 | 16734 | 17694 | 18803 | 20031 | 21375 | 22634 | 23607 | 24494 | 25292 | 26002 | 26674 | 27456
Other Renewable | 2140 | 2217 | 2296 | 2344 | 2373 | 2399 | 2500 | 2525 | 2550 | 2576 | 2605 | 2621 | 2645 | 2678 | 2733 | 2796 | 2835 | 2867 | 2906
CCGT | 29947 | 31360 | 30752 | 30349 | 30349 | 29650 | 30444 | 31109 | 31689 | 32789 | 32058 | 32320 | 30123 | 30301 | 28732 | 28685 | 26507 | 26512 | 26122
OCGT | 1375 | 1303 | 1303 | 1304 | 1304 | 1043 | 958 | 958 | 958 | 958 | 413 | 413 | 413 | 413 | 413 | 413 | 413 | 355 | 305
Recip Engine - Diesel | 438 | 469 | 1103 | 1774 | 1488 | 1823 | 2223 | 2323 | 2323 | 2323 | 2323 | 2323 | 2323 | 2323 | 2323 | 2323 | 2323 | 1983 | 1481
Recip Engine - Gas | 87 | 93 | 418 | 704 | 672 | 1972 | 2972 | 3472 | 3672 | 4172 | 4172 | 4672 | 4972 | 5172 | 5172 | 5172 | 5172 | 5172 | 5172
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Transmission capacity | 74684 | 75939 | 75319 | 74609 | 74400 | 72340 | 73954 | 74929 | 77992 | 84360 | 83480 | 85841 | 84679 | 87442 | 86373 | 89046 | 88422 | 90769 | 92029
Distribution capacity | 23351 | 25548 | 27602 | 29064 | 29470 | 31821 | 34243 | 35789 | 37121 | 39083 | 40511 | 42517 | 44302 | 45755 | 46928 | 47901 | 49367 | 49846 | 50356
Scenario 3
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Storage | 2744 | 2944 | 2944 | 2994 | 3064 | 3064 | 3065 | 3066 | 3067 | 3250 | 3253 | 3257 | 3413 | 3570 | 3579 | 3591 | 4717 | 4733 | 4751
Biomass | 2533 | 2533 | 2533 | 2923 | 2923 | 3208 | 3208 | 3208 | 3208 | 3208 | 3208 | 3014 | 2979 | 2979 | 2979 | 2979 | 2979 | 2937 | 2937
CHP | 5577 | 5755 | 5922 | 5990 | 6143 | 6217 | 6285 | 6327 | 6378 | 6224 | 6137 | 6169 | 6199 | 4878 | 4945 | 4976 | 5011 | 5051 | 5129
Coal | 11831 | 10577 | 8399 | 6944 | 5904 | 1926 | - | - | - | - | - | - | - | - | - | - | - | - | -
Hydro and marine | 1640 | 1647 | 1653 | 1659 | 1676 | 1692 | 1708 | 1723 | 2084 | 2120 | 2211 | 2379 | 2504 | 2559 | 2583 | 3147 | 3671 | 4184 | 4198
Interconnectors | 4150 | 4150 | 4150 | 4150 | 4150 | 5150 | 6155 | 6155 | 7555 | 9955 | 9955 | 9955 | 11355 | 11355 | 11355 | 11355 | 11355 | 12755 | 13955
Nuclear | 8985 | 8985 | 8985 | 8985 | 8985 | 8985 | 8038 | 7126 | 4715 | 4715 | 3512 | 4912 | 3832 | 5686 | 5686 | 7356 | 7356 | 7356 | 7356
Wind | 14655 | 16089 | 18357 | 19138 | 19962 | 21648 | 24593 | 25993 | 29221 | 32350 | 34113 | 34948 | 35588 | 37677 | 38307 | 38862 | 39449 | 40036 | 40618
Solar | 11934 | 13364 | 14106 | 14413 | 14876 | 15383 | 16048 | 16734 | 17694 | 18803 | 20031 | 21375 | 22634 | 23607 | 24494 | 25292 | 26002 | 26674 | 27456
Other Renewable | 2140 | 2217 | 2296 | 2344 | 2373 | 2399 | 2500 | 2525 | 2550 | 2576 | 2605 | 2621 | 2645 | 2678 | 2733 | 2796 | 2835 | 2867 | 2906
CCGT | 29947 | 31360 | 30752 | 30349 | 30349 | 29050 | 31344 | 32909 | 33489 | 34589 | 33858 | 34120 | 32823 | 32101 | 30532 | 31264 | 29157 | 29217 | 28822
OCGT | 1375 | 1303 | 1303 | 1304 | 1304 | 1043 | 958 | 958 | 958 | 958 | 958 | 958 | 926 | 926 | 926 | 926 | 926 | 355 | 355
Recip Engine - Diesel | 438 | 469 | 1103 | 1774 | 1488 | 1823 | 1823 | 2123 | 2123 | 2423 | 2423 | 2423 | 2423 | 2423 | 2423 | 2423 | 2423 | 2423 | 1581
Recip Engine - Gas | 87 | 93 | 418 | 704 | 672 | 1972 | 2072 | 2172 | 2172 | 2272 | 2272 | 2272 | 2272 | 2272 | 2272 | 2272 | 2272 | 2272 | 2272
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Transmission capacity | 74684 | 75939 | 75319 | 74609 | 74400 | 71740 | 74854 | 76729 | 79792 | 86160 | 85825 | 88186 | 87892 | 89755 | 88686 | 92138 | 91585 | 93474 | 94779
Distribution capacity | 23352 | 25547 | 27602 | 29062 | 29469 | 31820 | 32943 | 34290 | 35422 | 37283 | 38711 | 40217 | 41701 | 42956 | 44128 | 45101 | 46568 | 47386 | 47557
Scenario 3 phased
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Storage | 2744 | 2944 | 2944 | 2994 | 3064 | 3064 | 3065 | 3066 | 3067 | 3250 | 3253 | 3257 | 3413 | 3570 | 3579 | 3591 | 4717 | 4733 | 4751
Biomass | 2533 | 2533 | 2533 | 2923 | 2923 | 3208 | 3208 | 3208 | 3208 | 3208 | 3208 | 3014 | 2979 | 2979 | 2979 | 2979 | 2979 | 2937 | 2937
CHP | 5577 | 5755 | 5922 | 5990 | 6143 | 6217 | 6285 | 6327 | 6378 | 6224 | 6137 | 6169 | 6199 | 4878 | 4945 | 4976 | 5011 | 5051 | 5129
Coal | 11831 | 10577 | 8399 | 6944 | 5904 | 1926 | - | - | - | - | - | - | - | - | - | - | - | - | -
Hydro and marine | 1640 | 1647 | 1653 | 1659 | 1676 | 1692 | 1708 | 1723 | 2084 | 2120 | 2211 | 2379 | 2504 | 2559 | 2583 | 3147 | 3671 | 4184 | 4198
Interconnectors | 4150 | 4150 | 4150 | 4150 | 4150 | 5150 | 6155 | 6155 | 7555 | 9955 | 9955 | 9955 | 11355 | 11355 | 11355 | 11355 | 11355 | 12755 | 13955
Nuclear | 8985 | 8985 | 8985 | 8985 | 8985 | 8985 | 8038 | 7126 | 4715 | 4715 | 3512 | 4912 | 3832 | 5686 | 5686 | 7356 | 7356 | 7356 | 7356
Wind | 14655 | 16090 | 18357 | 19138 | 19963 | 21649 | 24593 | 25993 | 29221 | 32350 | 34114 | 34948 | 35589 | 37677 | 38308 | 38862 | 39449 | 40036 | 40619
Solar | 11934 | 13364 | 14106 | 14413 | 14876 | 15383 | 16048 | 16734 | 17694 | 18803 | 20031 | 21375 | 22634 | 23607 | 24494 | 25292 | 26002 | 26674 | 27456
Other Renewable | 2140 | 2217 | 2296 | 2344 | 2373 | 2399 | 2500 | 2525 | 2550 | 2576 | 2605 | 2621 | 2645 | 2678 | 2733 | 2796 | 2835 | 2867 | 2906
CCGT | 29947 | 31360 | 30752 | 30349 | 30349 | 29050 | 31344 | 32909 | 33489 | 34589 | 33858 | 34120 | 32823 | 32101 | 30532 | 31264 | 29157 | 29217 | 28822
OCGT | 1375 | 1303 | 1303 | 1304 | 1304 | 1043 | 958 | 958 | 958 | 958 | 958 | 958 | 926 | 926 | 926 | 926 | 926 | 355 | 355
Recip Engine - Diesel | 438 | 469 | 1103 | 1774 | 1488 | 1823 | 1823 | 2123 | 2123 | 2423 | 2423 | 2423 | 2423 | 2423 | 2423 | 2423 | 2423 | 2423 | 1581
Recip Engine - Gas | 87 | 93 | 418 | 704 | 672 | 1972 | 2072 | 2172 | 2172 | 2272 | 2272 | 2272 | 2272 | 2272 | 2272 | 2272 | 2272 | 2272 | 2272
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Transmission capacity | 74684 | 75939 | 75319 | 74609 | 74400 | 71740 | 74854 | 76729 | 79792 | 86160 | 85825 | 88186 | 87892 | 89755 | 88686 | 92138 | 91585 | 93474 | 94779
Distribution capacity | 23351 | 25548 | 27602 | 29064 | 29470 | 31821 | 32943 | 34289 | 35421 | 37283 | 38711 | 40217 | 41702 | 42955 | 44128 | 45101 | 46567 | 47386 | 47556
Generator residual
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Storage | 2744 | 2944 | 2944 | 2994 | 3064 | 3064 | 3065 | 3066 | 3067 | 3250 | 3253 | 3257 | 3413 | 3570 | 3579 | 3591 | 4717 | 4733 | 4751
Biomass | 2533 | 2533 | 2533 | 2923 | 2923 | 3208 | 3208 | 3208 | 3208 | 3208 | 3208 | 3014 | 2979 | 2979 | 2979 | 2979 | 2979 | 2937 | 2937
CHP | 5577 | 5755 | 5922 | 5990 | 6143 | 6217 | 6285 | 6327 | 6378 | 6224 | 6137 | 6169 | 6199 | 4878 | 4945 | 4976 | 5011 | 5051 | 5129
Coal | 11831 | 10577 | 8399 | 6944 | 5904 | 1926 | - | - | - | - | - | - | - | - | - | - | - | - | -
Hydro and marine | 1640 | 1647 | 1653 | 1659 | 1676 | 1692 | 1708 | 1723 | 2084 | 2120 | 2211 | 2379 | 2504 | 2559 | 2583 | 3147 | 3671 | 4184 | 4198
Interconnectors | 4150 | 4150 | 4150 | 4150 | 4150 | 5150 | 6155 | 6155 | 7555 | 9955 | 9955 | 9955 | 11355 | 11355 | 11355 | 11355 | 11355 | 12755 | 13955
Nuclear | 8985 | 8985 | 8985 | 8985 | 8985 | 8985 | 8038 | 7126 | 4715 | 4715 | 3512 | 4912 | 3832 | 5686 | 5686 | 7356 | 7356 | 7356 | 7356
Wind | 14655 | 16090 | 18357 | 19138 | 19963 | 21649 | 24593 | 25993 | 29221 | 32350 | 34114 | 34948 | 35589 | 37677 | 38308 | 38862 | 39449 | 40036 | 40619
Solar | 11934 | 13364 | 14106 | 14413 | 14876 | 15383 | 16048 | 16734 | 17694 | 18803 | 20031 | 21375 | 22634 | 23607 | 24494 | 25292 | 26002 | 26674 | 27456
Other Renewable | 2140 | 2217 | 2296 | 2344 | 2373 | 2399 | 2500 | 2525 | 2550 | 2576 | 2605 | 2621 | 2645 | 2678 | 2733 | 2796 | 2835 | 2867 | 2906
CCGT | 29947 | 31360 | 30752 | 30349 | 30349 | 29050 | 32244 | 32909 | 33489 | 34589 | 33858 | 34120 | 32823 | 32101 | 30532 | 31264 | 28732 | 29217 | 28822
OCGT | 1375 | 1303 | 1303 | 1304 | 1304 | 1043 | 958 | 958 | 958 | 958 | 958 | 958 | 926 | 926 | 926 | 926 | 926 | 355 | 355
Recip Engine - Diesel | 438 | 469 | 1103 | 1774 | 1488 | 1823 | 1923 | 1923 | 1923 | 1923 | 1923 | 1923 | 1923 | 1923 | 1923 | 1923 | 1923 | 1923 | 1081
Recip Engine - Gas | 87 | 93 | 418 | 704 | 672 | 1972 | 2672 | 2672 | 2672 | 2872 | 2872 | 2972 | 2972 | 2972 | 2972 | 2972 | 2972 | 2972 | 2972
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Transmission capacity | 74684 | 75939 | 75319 | 74609 | 74400 | 71740 | 75754 | 76729 | 79792 | 86160 | 85825 | 88186 | 87892 | 89755 | 88686 | 92138 | 91160 | 93474 | 94779
Distribution capacity | 23351 | 25548 | 27602 | 29064 | 29470 | 31821 | 33643 | 34589 | 35721 | 37383 | 38811 | 40417 | 41902 | 43155 | 44328 | 45301 | 46767 | 47586 | 47756
Generator residual phased
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Storage | 2744 | 2944 | 2944 | 2994 | 3064 | 3064 | 3065 | 3066 | 3067 | 3250 | 3253 | 3257 | 3413 | 3570 | 3579 | 3591 | 4717 | 4733 | 4751
Biomass | 2533 | 2533 | 2533 | 2923 | 2923 | 3208 | 3208 | 3208 | 3208 | 3208 | 3208 | 3014 | 2979 | 2979 | 2979 | 2979 | 2979 | 2937 | 2937
CHP | 5577 | 5755 | 5922 | 5990 | 6143 | 6217 | 6285 | 6327 | 6378 | 6224 | 6137 | 6169 | 6199 | 4878 | 4945 | 4976 | 5011 | 5051 | 5129
Coal | 11831 | 10577 | 8399 | 6944 | 5904 | 1926 | - | - | - | - | - | - | - | - | - | - | - | - | -
Hydro and marine | 1640 | 1647 | 1653 | 1659 | 1676 | 1692 | 1708 | 1723 | 2084 | 2120 | 2211 | 2379 | 2504 | 2559 | 2583 | 3147 | 3671 | 4184 | 4198
Interconnectors | 4150 | 4150 | 4150 | 4150 | 4150 | 5150 | 6155 | 6155 | 7555 | 9955 | 9955 | 9955 | 11355 | 11355 | 11355 | 11355 | 11355 | 12755 | 13955
Nuclear | 8985 | 8985 | 8985 | 8985 | 8985 | 8985 | 8038 | 7126 | 4715 | 4715 | 3512 | 4912 | 3832 | 5686 | 5686 | 7356 | 7356 | 7356 | 7356
Wind | 14655 | 16090 | 18357 | 19138 | 19963 | 21649 | 24593 | 25993 | 29221 | 32350 | 34114 | 34948 | 35589 | 37677 | 38308 | 38862 | 39449 | 40036 | 40619
Solar | 11934 | 13364 | 14106 | 14413 | 14876 | 15383 | 16048 | 16734 | 17694 | 18803 | 20031 | 21375 | 22634 | 23607 | 24494 | 25292 | 26002 | 26674 | 27456
Other Renewable | 2140 | 2217 | 2296 | 2344 | 2373 | 2399 | 2500 | 2525 | 2550 | 2576 | 2605 | 2621 | 2645 | 2678 | 2733 | 2796 | 2835 | 2867 | 2906
CCGT | 29947 | 31360 | 30752 | 30349 | 30349 | 29050 | 32244 | 32909 | 33489 | 34589 | 33033 | 34195 | 32823 | 32101 | 30532 | 31264 | 28732 | 29217 | 28822
OCGT | 1375 | 1303 | 1303 | 1304 | 1304 | 1043 | 958 | 958 | 958 | 958 | 958 | 958 | 926 | 926 | 926 | 926 | 926 | 355 | 355
Recip Engine - Diesel | 438 | 469 | 1103 | 1774 | 1488 | 1823 | 1923 | 1923 | 1923 | 2023 | 2023 | 2023 | 2023 | 2023 | 2023 | 2023 | 2023 | 2023 | 1181
Recip Engine - Gas | 87 | 93 | 418 | 704 | 672 | 1972 | 2672 | 2672 | 2672 | 2772 | 2772 | 2872 | 2872 | 2872 | 2872 | 2872 | 2872 | 2872 | 2872
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Transmission capacity | 74684 | 75939 | 75319 | 74609 | 74400 | 71740 | 75754 | 76729 | 79792 | 86160 | 85000 | 88261 | 87892 | 89755 | 88686 | 92138 | 91160 | 93474 | 94779
Distribution capacity | 23351 | 25548 | 27602 | 29064 | 29470 | 31821 | 33643 | 34589 | 35721 | 37383 | 38811 | 40417 | 41902 | 43155 | 44328 | 45301 | 46767 | 47586 | 47756

## AnnexB
Fuel prices (NG base case, FES 2016)
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Coal ($/tonne) | 54.88 | 59.57 | 61.78 | 63.41 | 65.75 | 66.82 | 67.99 | 68.39 | 69.54 | 70.16 | 70.44 | 70.06 | 70.66 | 71.64 | 72.54 | 73.24 | 73.64 | 74.02 | 74.36
Gas (£/therm) | 0.4091 | 0.4196 | 0.4299 | 0.442 | 0.454 | 0.4676 | 0.4863 | 0.5002 | 0.5136 | 0.5298 | 0.5477 | 0.5562 | 0.5601 | 0.5663 | 0.5673 | 0.5687 | 0.5699 | 0.5715 | 0.574
UK Carbon (£/tonne) | 24.53 | 25.24 | 25.43 | 25.8 | 25.89 | 25.97 | 26.22 | 26.48 | 26.93 | 28.02 | 28.64 | 29.55 | 30.54 | 31.45 | 32.25 | 33.05 | 33.86 | 34.76 | 35.46
Brent Oil ($/bbl) | 57.72 | 64.83 | 73.35 | 77.87 | 79.88 | 81.39 | 82.89 | 83.9 | 85.4 | 86.91 | 88.91 | 90.92 | 92.02 | 92.93 | 93.43 | 93.93 | 94.69 | 95.44 | 96.19
Non-CM Installed Capacity (NG "Slow Progression", FES 2016)
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Offshore Wind (MW) | 4871.4 | 5471 | 6830 | 7490 | 8227 | 9812 | 11876 | 12620 | 15150 | 17132 | 18432 | 19182 | 19682 | 21682 | 22182 | 22682 | 23182 | 23682 | 24182
Onshore Wind (MW) | 9783.2028 | 10618 | 11527 | 11648 | 11735 | 11836 | 12717 | 13373 | 14071 | 15218 | 15681 | 15766 | 15906 | 15995 | 16125 | 16180 | 16267 | 16354 | 16436
Solar (MW) | 11934 | 13364 | 14106 | 14413 | 14876 | 15383 | 16048 | 16734 | 17694 | 18803 | 20031 | 21375 | 22634 | 23607 | 24494 | 25292 | 26002 | 26674 | 27456
Nuclear (MW) | 8985 | 8985 | 8985 | 8985 | 8985 | 8985 | 8038 | 7126 | 4715 | 4715 | 3512 | 4912 | 3832 | 5686 | 5686 | 7356 | 7356 | 7356 | 7356
Interconnection (MW) | 4150 | 4150 | 4150 | 4150 | 4150 | 5150 | 6155 | 6155 | 7555 | 9955 | 9955 | 9955 | 11355 | 11355 | 11355 | 11355 | 11355 | 12755 | 13955
Demand (NG "Slow Progression", FES 2016)
Year | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Demand (TWh) | 330.182 | 327.796 | 326.699 | 325.351 | 323.785 | 322.197 | 320.162 | 319.749 | 319.463 | 319.098 | 318.606 | 318.193 | 318.192 | 318.307 | 318.494 | 319.278 | 320.473 | 321.65 | 322.626